Metadata correction for GLOBEC Database.  The 1 m2 Mocness net volume filtered data were corrected for the following net tows:

2001 	No corrections.  MOC-1 net volume filtered values were used to calculate abundance/m3 for all net tows.  No OPC volume filtered values were available for 2001.

- OPC volume filtered was used to calculate abundance/m3 for all MOC-1 net tows, except casts 11 and 16 which used the MOC-1 volume filtered values.  The decision to use OPC values was determined by plotting all OPC volume filtered numbers versus MOC-1 flow meter data (see below).  MOC-1 flow meter data were consistently lower and had a lower R2 regression for volume filtered versus length of tow (time).  Meng Zhou and Yiwi Zhu, who conducted the MOC-1 net tows, noted on the haul sheets that there were problems with the MOC-1 flow meters and that they often were not responsive or worked intermittently. Thus, it was decided that the OPC flow meter data provided a more consistent measure of net flow volume for 2002 net tows.  The OPC mouth opening for flow meter data was corrected to the MOC-1 net mouth opening by multiplying the OPC flow data by 200.  The two casts that used MOC-1 flow meter data were cases where the OPC flow meter data appeared to underestimate the flow.