- LMG02_01A

- Cruise Data Report

February 6  – March 3, 2002

# Table of Contents

Table of Contents	c

Introduction	1

Archive Data Extraction	2

Distribution Contents	3

ADCP	3

CTD	3

Cruise Track	3

PUV – GUV (not collected on every cruise-remove if not present)	3

Isobar Charts	4

Data and Science Report	4

LMG JGOFS Data Products	4

RVDAS	5

Data File Names and Structures	6

XBT	11

Processing Notes	11

LMG02_01 Sensors	13

Shipboard Sensors	13

LMG02_01 CTD Sensors:	13

Acquisition Problems and Events	13

Calibration Data	14

# Introduction

The LMG data acquisition systems continuously log data from a suite of instrumentation throughout the cruise.  This document describes the format of that data and its location on the distribution CDs.  It also contains important information which may affect how this data is processed such as instrument failures or other known problems with acquisition.

The data collected during this cruise is distributed on a CD-ROM written in ISO9660 level-1 format.  This data format has very strict requirements on filenames and organization.  However, it is readable by virtually every computing platform.

All of the data has been compressed using Unix “gzip” compression.  Gzipped files have a “.gz” extension.  Tools are available on all platforms for uncompressing and de-archiving these formats.  On Macintosh, Stuffit Expander with DropStuff will open a tar archive and uncompress gzipped and Unix compressed files.  For Windows9X, WinZip, a shareware utility included on this CD (remember, it is shareware) will open these files.

IMPORTANT:  Read the last section in this document, Acquisition Problems and Events, for important information that may affect the processing of this data.

# Archive Data Extraction

It is often useful to know exactly how an archive was produced when expanding its contents.  Tar files were created using the following commands:

tar cvLf archive-file files-to-be-archived

To create a list of the files in the archive:

tar tvf  archive-file  > contents.list

To extract the files from the archive:

tar xvf  archive-file file(s)-to-extract

G-zipped files will have a “.gz” extension on the filename. These files can be decompressed after de-archiving, using:

gunzip filename.gz

The directories in the archive are structured in the following manner:

| ADCP /LMG02_01A /Pingdata Cal/ Ctd /Process /Process2 /Process3 /Raw Isobars/ JGOF/ lmgjgof.tar LMG02-1A-Cruise-Report LMG02-1A-cruise-track LMG02-1A-CTD LMG02-1A-depth-survey LMG02-1a-met Map/ Pics/ QC_Plots/ Report/ .doc, .html, .txt | rvdas/ lmguw.tar lmgnav.tar Salts/ Utility/ Winzip Aladdin Mac XBT/ XCTD/ Instrument.coeff |
| --- | --- |

# Distribution Contents

## ADCP

- Adcp/

The ADCP data set is broken up into files representing 24 hours of data collection.  The files are named pingdata.xxx (xxx representing a day number).  Note that these extensions do NOT represent Julian day numbers.  Please refer to the file’s creation date.

Some ADCP data is also transmitted to RVDAS.  East and North vectors for ship’s speed relative to the reference layer and ship’s heading are archived in the navigational data section of RVDAS.

## CTD

- Ctd/

| Process/ preliminary process results Process2/ first revision files Process3/ final revision files Raw/ unprocessed data |  |
| --- | --- |

For more information and updated software visit the web site at www.seabird.com.

## Cruise Track

PostScript and JPG cruise track plots have been produced for this cruise: LTER_Map.ps and LTER_Map.jpg.

## PUV – GUV

Not used this cruise.

## Isobar Charts

- Isobars/

Analysis of mean sea level pressure from the National Center for Environmental Prediction's Medium Range Forecast Model.  Updated every 12 hours.

Satellite Images processed for this cruise were organized into three folders cwifs, ice and wx for the different types of teraScan products.  Files were named in the following convetion:

YYJJJ.HH.gif where:

YY = year

JJJ = Julian day

HH = UTC time of report

## Data and Science Report

- Report/

Copies of this report in MS Word, HTML, and text formats.  The weekly science reports in text format may be included upon request of the Principal Investigator.

## LMG JGOFS Data Products

- JGOF/

The JGOFS data set consists of a single file produced each day named jg<julian_day>.dat.gz where <julian_day> is the day the data was acquired. The “.gz” extension indicates that the individual files are compressed before archiving. The daily file consists of 22 separate columnar fields in text format, which are described below. The JGOFS data set is obtained primarily by applying calibrations to raw data and decimating to whole minute intervals.  However, several fields are derived measurements from more than a single raw input.  Note: Null, unused, or unknown fields are filled with 9’s in the JGOFS data.

Additionally, 3 separate QC plots are generated daily by the ET using the JGOFS data set.  These plots include TSG and Bathymetry data, meteorological data, and navigation data.  The files are called ocean<julian_day>.ps, met<julian_day>.ps, and nav<julian_day>.ps respectively.

| Field | Data | Units |
| --- | --- | --- |
| 01 | GMT date | dd/mm/yy |
| 02 | GMT time | hh:mm:ss |
| 03 | PCOD latitude (negative is South) | Ddd.dddd |
| 04 | PCOD longitude (negative is West) | Ddd.dddd |
| 05 | Ships speed | Knots |
| 06 | GPS HDOP | - |
| 07 | Gyro Heading | Degrees (azimuth) |
| 08 | Course over ground | Degrees (azimuth) |
| 09 | Mast PAR | Einsteins/meters2 sec |
| 10 | Sea surface temperature | C |
| 11 | Not used | - |
| 12 | Sea surface salinity | PSU |
| 13 | Sea depth (uncorrected, calc. sw sound vel. 1500 m/s) | meters |
| 14 | True wind speed (port windbird) | meters/sec |
| 15 | True wind direction (port windbird) | degrees (azimuth) |
| 16 | Ambient air temperature | C |
| 17 | Relative humidity | % |
| 18 | Barometric pressure | mBars |
| 19 | Sea surface fluorometry | volts (0-5 FSO) |
| 20 | Not used | - |
| 21 | PSP | W/m2 |
| 22 | PIR | W/m2 |

## RVDAS

rvdas/

RVDAS (Research Vessel Data Acquisition System) was developed at Lamont-Doherty Earth Observatory of Columbia University and has been used on the R/V Maurice Ewing for several years.  It was adapted for use on the Nathaniel B. Palmer and her sister ship, the R/V Laurence M. Gould.

Below you will find detailed information on the data included. Be sure to read the “Significant Acquisition Events” section below for important information about data acquisition during this cruise.

#### Meteorological and Light Data

| Measurement | File ID | Collect. Status | Rate | Instrument |
| --- | --- | --- | --- | --- |
| Air Temperature | lmet | continuous | 1 sec | R. M. young 41372VC |
| Relative Humidity | lmet | continuous | 1 sec | R. M. young 41372VC |
| Wind Speed/Direction | lmet | continuous | 1 sec | R. M. young 5106 |
| PIR (LW radiation) | lmet | continuous | 1 sec | Eppley PIR |
| PSP (SW radiation) | lmet | continuous | 1 sec | Eppley PSP |
| Photosynthetically- Available Radiation | lmet | continuous | 1 sec | BSI QSR-240 |
| Barometer | lmet | continuous | 1 sec | R. M. young 61201 |

#### Navigational Data

| Measurement | File ID | Collect. Status | Rate | Instrument |
| --- | --- | --- | --- | --- |
| Attitude GPS | lash | continuous | 1 sec | Ashtec ADU-2 |
| P-Code GPS | lpcd | continuous | 1 sec | Trimble 20636-00SM |
| Gyro | lgyr | continuous | 0.2 sec | Yokohama Gyro |
| Trimble GPS | tgps | continuous | 1 sec | NT200 |

#### Geophysical Data

| Measurement | File ID | Collect. Status | Rate | Instrument |
| --- | --- | --- | --- | --- |
| Bathymetry | lknu | variable | Varies | Knudsen 320B/R |

#### Oceanographic Data

| Measurement | File ID | Collect. Status | Rate | Instrument |
| --- | --- | --- | --- | --- |
| Salinity | ltsg | continuous | 15 sec | SeaBird 21 |
| Sea S Temperature | ltsg | continuous | 15 sec | SeaBird 3-01/S |
| Fluorometry (analog) | ltsg | continuous | 15 sec | Turner 10-AU-005 |
| ADCP | ladc | continuous | 1 sec | RD Instruments |

### Data File Names and Structures

RVDAS data is divided into two broad categories, Underway and Navigation.  The groups are abbreviated “uw” and “nav”. Thus, these two tar files, lmguw.tar and lmgnav.tar exist under the top-level rvdas directory. The instruments are broken down as shown. Each data file is g-zipped to save space on the distribution.  Not all data types are collected everyday or on every cruise.

RVDAS data files are named following the convention: LMG[FileID].dDDD.

- The FileID is a 4-character code representing the system being logged, for example: lmet (for meteorology)

- DDD is the Julian day of the data collection

| Underway Data | File ID |  | Navigation Data | File ID |
| --- | --- | --- | --- | --- |
| Meteorolical | lmet |  | Gyro Compass | lgyr |
| Knudsen | lknu |  | P-CODE GPS | lpcd |
| Thermosalinograph | ltsg |  | Ashtech ADU2 GPS | lash |
| ADCP | ladc |  | Trimble NT2100 GPS | tgps |
| Sound Velocity Probe | lsvp |  |  |  |

Data is received by the RVDAS system via RS-232 serial connections. The data files that comprise the rvdas data set are described below. A time tag is added to each line of data received and the data is written to disk.

YY+DDD:HH:MM:SS.SSS [data stream from instrument]

Where, YY: two-digit year, DDD: Julian Day, HH: 2 digit hours, MM: 2 digit minutes SS.SSS: seconds.  All times are UTC.

The delimiters used to separate fields in the raw data files are usually spaces and commas, but other delimiters are used (::, =, @) and occasionally there is no delimiter.  Care should be taken when reprocessing the data that the fields separations are clearly understood.  An example data

#### lknu

99+099:00:18:19.775 hf,305.2,lf,304.3

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag |  |
| 2 | hf – high frequency flag (12 kHz) |  |
| 3 | high fequency depth | meters |
| 4 | lf – low frequency flag (3.5 kHz) |  |
| 5 | low frequency depth | meters |

#### lmet

- 00+040:00:00:00.928 16-10-97 00:01:19 005.53 005.53 005.69 145 141 005.15 005.12 005.15

- 146 148 004.4 004.4 004.4 94.07 94.06 94.07 0981.40 -0.023 00.292 00.315

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag |  |
| 2 | Instrument date | dd-mm-yy |
| 3 | Instrument time | hh:mm:ss |
| 4 | Port wind speed (10 second running average) | m/s |
| 5 | Port wind speed (min for 24 hour cycle) | m/s |
| 6 | Port wind speed (max for 24 hour cycle) | m/s |
| 7 | Port wind direction | degrees |
| 8 | Port wind direction (standard deviation) | degrees |
| 9 | Starboard wind speed (10 second running average) | m/s |
| 10 | Starboard wind speed (min for 24 hour cycle) | m/s |
| 11 | Starboard wind speed (max for 24 hour cycle) | m/s |
| 12 | Starboard wind direction | degrees |
| 13 | Starboard wind direction (standard deviation) | degrees |
| 14 | Temperature | C |
| 15 | Temperature (min for 24 hour cycle) | C |
| 16 | Temperature (max for 24 hour cycle) | C |
| 17 | Relative humidity | % |
| 18 | Relative humidity (min for 24 hour cycle) | % |
| 19 | Relative humidity (max for 24 hour cycle) | % |
| 20 | Barometric pressure | millibars |
| 21 | PSP (long wave radiometer) | Volts |
| 22 | PIR (short wave radiometer) | Volts |
| 23 | PAR (photo-synthetically available radiation, 400 - 700 nm) | Volts |

#### svp1

00+348:01:59:52.128  1539.40

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag |  |
| 2 | Sound velocity | m/s |

#### ltsg

00+040:00:00:06.153 6926 15.8827 0.2010 2.9218 3.239 4.334e-01

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag |  |
| 2 | Scan number |  |
| 3 | Internal water temperature | C |
| 4 | Salinity | PSU |
| 5 | External water temperature | C |
| 6 | Transmissometer signal | Volts |
| 7 | Fluorometer signal (analog) | Volts |

#### ladc

00+019:23:59:59.099 $PUHAW,UVH,-1.48,-0.51,250.6

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag |  |
| 2 | $PUHAW |  |
| 3 | UVH (E-W, N-S, Heading) |  |
| 4 | Ship Speed relative to reference layer1 velocity2, East vector | knots |
| 5 | Ship Speed relative to reference layer1 velocity2, North vector | knots |
| 6 | Ship heading | degrees |

1The reference layer is an average velocity measured in a number of depth “bins”. On the LMG, the bins are eight meters deep and bins 3-10 define the reference layer. Hence, the reference layer is the water column from 16-80 meters beneath the ship.

2The speed ouput is water velocity relative to the ship’s hull and is therefore opposite of the actual

movement of the ship. For example, if the ship’s heading is due north, the North/South reference layer

velocity is likely to be negative (southerly).

#### lash

##### ATTD: Attitude Data

01+081:00:00:00.806 $PASHR,ATT,345605.0,165.03,+001.86,-01.96,0.0018,0.0173,0*22

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $PASHR |  |
| 2 | ATT |  |
| 3 | GPS Time sec. of the week | seconds |
| 4 | heading (rel. to true North) | degrees |
| 5 | pitch | degrees |
| 6 | roll | degrees |
| 7 | Measuremnet RMS error | meters |
| 8 | Baseline RMS error | meters |
| 9 | attitude reset flag |  |

##### GGA: GPS Position Fix – Geoid/Ellipsoid

01+081:00:00:00.966 $GPGGA,235952.00,6051.7937,S,06030.2175,W,1,08,01.0,+00068,M,,M,,*79

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPGGA |  |
| 2 | UTC time at position | hhmmss.ss |
| 3 | Latitude | ddmm.mmm |
| 4 | North (N) or South (S) |  |
| 5 | Longitude | ddmm.mmm |
| 6 | East (E) or West (W) |  |
| 7 | GPS quality (1=GPS 2=DGPS) |  |
| 8 | Number of GPS satellites used |  |
| 9 | HDOP |  |
| 10 | Antenna Height | meters |
| 11 | M for Meters |  |
| 12 | Geoidal height | meters |
| 13 | M for meters |  |
| 14 | age of diff. GPS data |  |
| 15 | differential reference station ID |  |

#### lgyr

01+083:00:00:02.493 $PASVW,05.5,A*1C

01+083:00:00:02.713 $IIVHW,246.4,T,,M,,N,,K*7F

01+083:00:00:03.274 $HCHDT,,T*07

##### HDT: True Heading

01+083:00:00:02.893 $HEHDT,246.3,T*2C

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $HEHDT |  |
| 2 | Heading XXXXX = ddd.d | degrees |
| 3 | T flag for true heading, checksum |  |

##### ROT: Rate of Turn

01+083:00:00:03.093 $HEROT,-006.3,A*03

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $HEROT |  |
| 2 | Rate of turn | degrees/min |
| 3 | Status: A = data valid, checksum |  |

#### tgps

##### GGA: Global Positioning Fix Data

00+040:00:00:00.985 $GPGGA,000003,6139.961,S,05949.422,W,1,6,001.64,-00036,M,00000,M,,

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPGGA |  |
| 2 | Latitude in degrees with decimal minutes | ddmm.mmm |
| 3 | North (N) or South (S) |  |
| 4 | Longitude in degrees with decimal minutes | ddmm.mmm |
| 5 | East (E) or West (W) |  |
| 6 | GPS quality (1=GPS 2=DGPS) |  |
| 7 | Number of GPS satellites used |  |
| 8 | Horizontal dilution of precision (HDOP) |  |
| 9 | Antenna height above/below mean-sea-level (geoid) | meters |
| 10 | Units for antenna height (M = Meters) |  |
| 11 | Geoidal Separation1 |  |
| 12 | Units for Geoidal Separation (M = Meters) | meters |
| 13 | Age of differential GPS data, number of seconds since last SC104 Type 1 or 9 |  |
| 14 | Differental reference station ID |  |

1Geoidal Separation: the difference between the WGS-84 earth ellipsoid and mean-sea-level (geoid). A negative value represents mean-sea-level below ellipsoid.

##### GLL: Geographic Position – Latitiude/Logitude

00+040:00:00:00.065 $GPGLL,6139.96,S,05949.42,W,000002,A

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPGLL |  |
| 2 | Latitude | ddmm.mmm |
| 3 | North (N) or South (S) |  |
| 4 | Logitude | ddmm.mmm |
| 5 | East (E) or West (W) |  |
| 6 | UTC of position | hhmmss.ss |
| 7 | Status: A = Data Valid |  |

##### VTG: Track Made Good and Speed over Ground

00+040:00:00:00.213 $GPVTG,161,T,149,M,009.6,N,017.8,K

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPVTG |  |
| 2 | Track, degrees true | degrees |
| 3 | T flag for True |  |
| 4 | Track, degrees magnetic | degrees |
| 5 | M flag for Magnetic |  |
| 6 | Speed over Ground | knots |
| 7 | N flag for Knots |  |
| 8 | Speed over Ground | kmhr |
| 9 | K flag for km/hr |  |

##### VHW: Speed Through Water and Heading

00+040:00:00:00.212 $GPVHW,246,T,234,M,012.3,N,022.8,K

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPVHW |  |
| 2 | Heading, degrees True | degrees |
| 3 | T flag for True |  |
| 4 | Heading, degrees Magnetic | degrees |
| 5 | M flag for Magnetic |  |
| 6 | Speed through water | knots |
| 7 | N flag for Knots |  |
| 8 | Speed through water | km/hr |
| 9 | K flag for km/hr |  |

##### ZDA: Time and Date

00+040:00:00:00.285 $GPZDA,000002,09,02,2000,00,00

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPZDA |  |
| 2 | UTC time | hhmmss.ss |
| 3 | Day: 01 – 31 | dd |
| 4 | Month: 01 – 12 | mm |
| 5 | Year | yyy |
| 6 | Local time zone description1, 00 +/-13 hrs |  |
| 7 | Local time zone minutes description, same sign as local hours |  |

1Zone description is the number of whole hours added to local time to obtain GMT, values are negative for East longitudes.

##### BWC: Bearing and Distance to Waypoint

00+040:00:00:00.865 $GPBWC,000003,6209.70,S,05824.00,W,127.2,T,115.3,M,050.1,N,014

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPBWC |  |
| 2 | UTC of bearing | hhmmss.ss |
| 3 | Destination waypoint latitude in degrees, decimal minutes | ddmm.mmm |
| 4 | Hemisphere Flag: N or S |  |
| 5 | Destination waypoint longitude in degrees, decimal minutes | ddmm.mmm |
| 6 | Hemisphere Flag: E or W |  |
| 7 | Bearing, degrees true | degrees |
| 8 | T flag for True |  |
| 9 | Bearing, degrees magnetic | degrees |
| 10 | M flag for Magnetic |  |
| 11 | Distance to waypoint in nautical miles | nm |
| 12 | N flag for Nautical Miles |  |
| 13 | Waypoint ID |  |

#### lpcd

##### GGA: GPS Position Fix – Geoid/Ellipsoid

00+019:23:59:59.301 $GPGGA,235958.409,6849.6944,S,13712.8472,W,1,06,1.2,092.4,M,047.3,M,,*67

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPGGA |  |
| 2 | UTC time at position | hhmmss.sss |
| 3 | Latitude | ddmm.mmm |
| 4 | North (N) or South (S) |  |
| 5 | Longitude | ddmm.mmm |
| 6 | East (E) or West (W) |  |
| 7 | GPS quality (1=GPS 2=DGPS 3=P-CODE) |  |
| 8 | Number of GPS satellites used |  |
| 9 | HDOP |  |
| 10 | Antenna Height | meters |
| 11 | M for Meters |  |
| 12 | Geoidal height | meters |
| 13 | M for meters |  |
| 14 | Null field |  |
| 15 | Checksum |  |

##### GLL: GPS Latitude/Longitude

00+019:23:59:59.381 $GPGLL,6849.6944,S,13712.8472,W,235958.409,A*35

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPGLL |  |
| 2 | Latitude | degrees |
| 3 | North or South |  |
| 4 | Longitude | degrees |
| 5 | East or West |  |
| 6 | UTC of position | hhmmss.sss |
| 7 | staus of data (A = valid) |  |
| 8 | Checksum |  |

##### VTG: GPS Track and Ground Speed

00+019:23:59:59.382 $GPVTG,238.7,T,182.3,M,001.8,N,003.3,K*41

| Field | Data | Units |
| --- | --- | --- |
| 1 | RVDAS Time Tag $GPVTG |  |
| 2 | Heading | degrees |
| 3 | degrees True (T) |  |
| 4 | Heading | degrees |
| 5 | degrees magnetic (M) |  |
| 6 | Ship speed | knots |
| 7 | N = knots |  |
| 8 | Speed | km/hr |
| 9 | Checksum |  |

## XBT

- XBT/

During the cruise Expendable Bathythermographs were used to obtain water column temperature profiles.  The data files from these launches are included.

## XCTD

XCTD/

In addition to Expendable Bathythermographs, expendable CTD probes were used at selected points to obtain water column temperature and salinity profiles.  The data files from these launches are included.

## Processing Notes

Refer to the instrument.coeff file, included in the root level of the data distribution, for information on how the RVDAS data was processed.

# LMG02_01 Sensors

## Shipboard Sensors

| Sensor | Description | Serial # | Cal. Date | Status |
| --- | --- | --- | --- | --- |
| Port Anemometer | R.M. Young 105106 | VM35061 | 04/15/01 | collect |
| Stbd Anemometer | R.M. Young 105106 | VM28394 | 04/15/01 | collect |
| Barometer | R.M. Young 61201 | BP01150 | 11/07/01 | collect |
| Humidity/Wet Temp | R.M. Young 41372VC | 6133 | 06/01/01 | collect |
| Mast PAR | BSI QSR-240 | 6394 | 06/05/01 | collect |
| Pyranometer | Eppley PSP | 31701F3 | 06/01/01 | collect |
| Pyrgeometer | Eppley PIR | 32031F3 | 06/01/01 | collect |
| GUV | Biospherical GUV-511 |  |  | Not Used |
| TSG | SeaBird SBE21 | 219209-1577 | 11/10/01 | collect |
| TSG Remote Temp | SeaBird 3-01/S | 1619 | 06/02/01 | collect |
| Fluorometer | Turner 10-AU-005 Lamp: daylight 10-045, reference filter: 10-052, emission filter: 10-051, excitation filter: 10-050. | 6046RTD |  | collect |
| Transmissometer | WET Labs C-Star | CST-168DR | 02/20/01 | collect |
| P-Code GPS | Trimble 20636-00 (SM) | 220035265 |  | PCD/CIV |
| Bathymetry | Knudsen 320B/R |  |  | collect |

## LMG02_01 CTD Sensors:

| Sensor | Description | Serial # | Cal. Date | Status |
| --- | --- | --- | --- | --- |
| CTD Fish | Sea-Bird 9Plus-3400m | 91480 | 06/23/01 | collect |
| CTD Deck Unit | Sea-Bird 11Plus | 11P8908-0288 |  | collect |
| Prim. Temp. Sensor | Sea-Bird 3-02/F | 1542 | 07/26/01 | collect |
| Sec. Temp. Sensor | Sea-Bird 3-02/F | 1529 | 11/13/01 | collect |
| Prim. Cond. Sensor | Sea-Bird 4-01/O | 692 | 07/26/01 | collect |
| Sec. Cond. Sensor | Sea-Bird 4-01/O | 350 | 11/14/01 | collect |
| Diss. Oxygen Sensor | Sea-Bird 13-02-B | 130412 | 07/26/01 | collect |
| Fluorometer | Chelsea model Mk III Aquatracka | 088015 | 04/24/01 | collect |
| Pressure | DigiQuartz 410K-105 | 53952 | 06/23/01 | collect |
| Transmissometer | WET Labs C-Star | CST-406DR | 02/28/01 | collect |

# Acquisition Problems and Events

This section lists all known problems with acquisition during this cruise including instrument failures, data acquisition system failures and any other factor affecting this data set. The format is jjj:hh:mm (jjj is julian day, hh is hour, and mm is minute).  All times are in GMT.

| Date(Julian) | Time(GMT) | Event | Location |
| --- | --- | --- | --- |
| 037 | 20:25 | Start DAS & SONAR | Leaving PA Dock |
| 038 | 00:14 | Start PIR | Fixed data stream problem |
| 038 | 03:45 | Stop DAS | Update TSG Trans. in inst.coeff file |
| 038 | 04:03 | Start DAS |  |
| 038 | 04:10 | Start ADCP | 68W |
| 038 | 04:15 | Start TSG | 68W |
| 041 | 18:52 | Stop TSG | Arrive Palmer Station |
| 041 | 20:02 | Stop SONAR | Arrive Palmer Station |
| 042 | 16:54 | Change ADCP pulse length to 8 | Palmer Dock |
| 042 | 18:16 | Change Sonar Sound speed to 1456 from 1500 | Palmer Dock |
| 042 | 19:06 | Start SONAR | Leave Palmer Station |
| 042 | 19:07 | Start TSG | Leave Palmer Station |
| 043 | 08:50 | Reboot DAS – swap file error |  |
| 049 | 14:21 | Stop Met system for 15 min. | System check |
| 050 | 14:13 | Reset ASHTECH | Serial error |
| 056 | 01:35 | Restart TSG pump | Pump overloaded (rough seas) - off 8 hrs. |
| 057 | 11:00 | Stop TSG | Arrive Palmer Station |
| 057 | 11:05 | Stop SONAR | Arrive Palmer Station |
| 057 | 12:02 | Change ADCP pulse length back to 16 | Palmer Dock |
| 057 | 12:05 | Change Sonar Sound speed back to 1500 | Palmer Dock |
| 058 | 13:45 | Start SONAR | Leave Palmer Station |
| 058 | 13:46 | Start TSG | Leave Palmer Station |
| 060 | 00:10 | DAS Crashed | Memory error in bank S4 |
| 060 | 00:48 | Restart DAS |  |
| 062 | 02:18 | Stop TSG | 68W |
| 062 | 02:30 | Stop ADCP | 68W |
| 062 | 02:45 | TAR DAS FILES | End data collection |

# Calibration Data

- Cal/

- All relevant calibration sheets are scanned and saved as jpeg format in this section