Shortened Reagent Prep. list for Nutrient Analysis.		Aug 01

1. ANALYSIS OF  NO2- + NO3- / NO2-

Sulfanilamide: 10gm Sulf. dissolved and diluted to 1000ml in 10%HCl. Store at room temp.

NEDA (N-1-Napthylethylene-diamine dihydrochloride): 1.0 gm NEDA dissolved and diluted to 1000ml in DIW.  Store in amber bottle at room temp. for short term or refrigerate if long term.

Imidazole Buffer: 13.6gm Imidazole dissolved in approx. 3800ml DIW. Add 60ml of prepared NH4Cl-CuSO4 stock solution (stir for ~ 10 min.).  Dropwise, add 10% HCL to a final pH: 7.8-7.85.  Dilute to 4000ml with DIW.  Store at room temperature.

Copper Sulfate stock: 20gm CuSO4 dissolved and diluted to 1000ml in DIW. Store at room temp.

Ammonium Chloride-Copper Sulfate stock (NH4Cl-CuSO4):  250gm NH4Cl dissolved in approx. 950ml DIW.  Add 60 drops (~2.8ml) of CuSO4 stock and then dilute to 1000ml in DIW.  Store at room temperature.

2. ANALYSIS OF SiO44-

Ammonium Molybdate: 10.8gm NH4Molyb. dissolved in approx. 900ml DIW. Add 2.8ml conc. H2SO4 and then dilute to 1000ml in DIW.  Store in amber bottle at room temperature for short term, otherwise refrigerate if long term.  Label as Ammonium Molybdate for Silicate analysis.

Tartaric Acid:  200gm Tart. dissolved and diluted to 1000ml in DIW.  Store at room temperature.

Stannous Chloride stock (SnCl2):  10gm SnCl2 dissolved and diluted to 20cc in 50% HCl. Dissolves faster if freshly made warm 50% HCl is used.  Store in freezer.

Stannous Chloride Working:  1ml of stock SnCl2 diluted to 50ml in 10%HCl.

3. ANALYSIS of PO43-

Hydrazine Sulfate:  5.0gm Hydrazine Sulf. dissolved and diluted to 500ml in DIW.  Store at room temperature for short term, otherwise refrigerate if long term.

Ammonium Molybdate:  27.25gm NH4Molyb. dissolved and diluted to 250ml in DIW.  Add cooled H2SO4 stock solution.  Label as Ammonium Molybdate for Phosphate analysis.

Sulfuric Acid stock (H2SO4):  Slowly add 320ml conc. H2SO4 to 405ml DIW while stirring.  Caution: This solution gets HOT!  Place DIW in ice bath prior to addition of H2SO4.

4. ANALYSIS of NH44+

Complex Reagent:  140gm Sodium Citrate dissolved to approx. 950ml in DIW.  Adjust pH to 7.0 w/ 10%HCl  Bring to final volume of 1000ml with DIW.

Phenol:  Add 60ml of 10N NaOH to approx. 700ml DIW.  Add 12ml of liquefied phenol (88%).  Dilute to 1000ml with DIW. 10N NaOH:  400gm Sodium Hydroxide dissolved and diluted to 1000ml in DIW  (HOT!!!).

Sodium Nitroferricyanide:  .5gm NFeCN dissolved and diluted to 1000ml in DIW.

Sodium Hypochlorite:  Add 2.5ml of 5.25% NaOCl (household bleach, eg. CLOROX) to 75ml of DIW and dilute to 100ml with DIW.  If using extra-strength, dilute 2ml of NaOCl to 100 ml DIW.