## G020330
* Sea-Bird | SBE 9 Raw Data | File:
* FileName | #NAME? | AW\G020330 | .DAT
* Software | Version 4.242
* Temperatu | re SN = 2470
* Conductiv | ity SN = 2247
* Number of | Bytes Per Sca | n = 30
* Number of | Voltage Words | 4
* Number of | Scans Average | d by the D | eck Unit = 1
* System Up | Load Time = Ma | y 08 2002 | 20:04
* NMEA Lati | tude = 67 48.0 | 9 S
* NMEA Long | itude = 068 49 | .35 W
* NMEA UTC | (Time) = 20:03 | :13
Bottle | Date | Sal00 | Sal11 | OxML/L | Potemp090 | Sigma-é00 | Sigma-é11 | Pr | DepS | T090 | T190 | OxPS | OxML/L | V2 | V4 | V5 | V6 | Nbf
Position | Time
1 | May 08 2002 | 34.3883 | 34.3879 | 5.0755 | 0.5372 | 27.5825 | 27.5822 | 263.808 | 261.005 | 0.5482 | 0.5482 | 63.748 | 5.0759 | 1.1296 | 0.1432 | 4.5134 | 0.5136 | 1 (avg)
| 20:14 | [6 empty] | 0.182 | 0.18 | 0.0001 | 0.0002 | 0.01673 | 0.00133 | 0.0085 | 0.0011 | 0.0047 | 0.0044 | 0 (sdev)
2 | May 08 2002 | 34.3883 | 34.3879 | 5.0749 | 0.5372 | 27.5825 | 27.5821 | 264.115 | 261.309 | 0.5482 | 0.5483 | 63.7345 | 5.0749 | 1.1473 | 0.1427 | 4.512 | 0.5167 | 2 (avg)
| 20:14 | [6 empty] | 0.077 | 0.076 | 0.0001 | 0.0001 | 0.01661 | 0.00132 | 0.0056 | 0.0004 | 0.0065 | 0.0032 | 0 (sdev)
3 | May 08 2002 | 34.3726 | 34.3725 | 5.1451 | 0.5234 | 27.5707 | 27.5705 | 204.185 | 202.045 | 0.5317 | 0.5318 | 64.615 | 5.1478 | 1.1366 | 0.1438 | 4.5256 | 0.5135 | 3 (avg)
| 20:17 | [6 empty] | 0.153 | 0.151 | 0.0002 | 0.0003 | 0.03301 | 0.00262 | 0.0065 | 0.0018 | 0.0013 | 0.0026 | 0 (sdev)
4 | May 08 2002 | 34.3728 | 34.3724 | 5.1444 | 0.5234 | 27.5708 | 27.5705 | 204.331 | 202.19 | 0.5318 | 0.5318 | 64.5175 | 5.14 | 1.1446 | 0.1425 | 4.5258 | 0.5112 | 4 (avg)
| 20:17 | [6 empty] | 0.071 | 0.071 | 0.0002 | 0.0002 | 0.05699 | 0.00452 | 0.0088 | 0.0011 | 0.0036 | 0.002 | 0 (sdev)
5 | May 08 2002 | 34.284 | 34.2838 | 5.466 | 0.3882 | 27.5071 | 27.5069 | 155.058 | 153.451 | 0.3943 | 0.3945 | 68.3379 | 5.4674 | 1.1384 | 0.1423 | 4.5428 | 0.5007 | 5 (avg)
| 20:19 | [6 empty] | 0.037 | 0.036 | 0.0002 | 0.0002 | 0.03543 | 0.00284 | 0.0052 | 0.0011 | 0.0022 | 0.0047 | 0 (sdev)
6 | May 08 2002 | 34.2842 | 34.2835 | 5.4645 | 0.3887 | 27.5073 | 27.5067 | 155.068 | 153.461 | 0.3948 | 0.3945 | 68.3042 | 5.4646 | 1.147 | 0.1427 | 4.5444 | 0.5034 | 6 (avg)
| 20:19 | [6 empty] | 0.037 | 0.036 | 0.0002 | 0.0002 | 0.01377 | 0.0011 | 0.0114 | 0.0006 | 0.0017 | 0.0035 | 0 (sdev)
7 | May 08 2002 | 34.1275 | 34.1277 | 5.9672 | 0.1295 | 27.3951 | 27.3952 | 115.266 | 114.082 | 0.1337 | 0.1351 | 74.0526 | 5.9719 | 1.1633 | 0.143 | 4.5526 | 0.4968 | 7 (avg)
| 20:21 | [6 empty] | 0.036 | 0.036 | 0.0004 | 0.0004 | 0.03229 | 0.00265 | 0.0039 | 0.0004 | 0.0014 | 0.0023 | 0 (sdev)
8 | May 08 2002 | 34.1279 | 34.127 | 5.9722 | 0.131 | 27.3954 | 27.3947 | 115.476 | 114.29 | 0.1352 | 0.1346 | 74.0729 | 5.9733 | 1.1762 | 0.1431 | 4.5531 | 0.493 | 8 (avg)
| 20:21 | [6 empty] | 0.107 | 0.106 | 0.0012 | 0.0002 | 0.03649 | 0.00292 | 0.0055 | 0.0006 | 0.001 | 0.0046 | 0 (sdev)
9 | May 08 2002 | 33.8449 | 33.8472 | 6.8528 | -0.3097 | 27.1887 | 27.1905 | 92.883 | 91.935 | -0.3068 | -0.3067 | 83.7996 | 6.851 | 1.1992 | 0.1428 | 4.5564 | 0.4684 | 9 (avg)
| 20:23 | [6 empty] | 0.062 | 0.061 | 0.0003 | 0.0003 | 0.15362 | 0.0126 | 0.0031 | 0.0006 | 0.0022 | 0.0034 | 0 (sdev)
10 | May 08 2002 | 33.8468 | 33.8463 | 6.8919 | -0.3093 | 27.1902 | 27.1898 | 92.907 | 91.958 | -0.3063 | -0.3064 | 84.3473 | 6.8956 | 1.2012 | 0.1428 | 4.5572 | 0.4693 | 10 (avg)
| 20:23 | [6 empty] | 0.075 | 0.075 | 0.0006 | 0.0003 | 0.12898 | 0.01043 | 0.0034 | 0.0003 | 0.0016 | 0.0037 | 0 (sdev)
11 | May 08 2002 | 33.7493 | 33.7488 | 7.0796 | -0.5074 | 27.1201 | 27.1197 | 79.55 | 78.74 | -0.505 | -0.5045 | 86.0861 | 7.08 | 1.2106 | 0.143 | 4.5599 | 0.4704 | 11 (avg)
| 20:25 | [6 empty] | 0.052 | 0.051 | 0.0034 | 0.0039 | 0.04836 | 0.00436 | 0.0105 | 0.0004 | 0.0012 | 0.0022 | 0 (sdev)
12 | May 08 2002 | 33.748 | 33.7476 | 7.0966 | -0.5026 | 27.119 | 27.1186 | 79.398 | 78.59 | -0.5002 | -0.5001 | 86.3227 | 7.0986 | 1.207 | 0.143 | 4.5582 | 0.4664 | 12 (avg)
| 20:25 | [6 empty] | 0.081 | 0.08 | 0.0042 | 0.0021 | 0.07422 | 0.00598 | 0.0072 | 0.0006 | 0.0028 | 0.0039 | 0 (sdev)
13 | May 08 2002 | 33.522 | 33.5222 | 7.8947 | -0.8654 | 26.9506 | 26.9507 | 55.621 | 55.058 | -0.8639 | -0.862 | 94.8789 | 7.8914 | 1.2627 | 0.143 | 4.5316 | 0.4488 | 13 (avg)
| 20:27 | [6 empty] | 0.079 | 0.078 | 0.0006 | 0.0003 | 0.07192 | 0.00611 | 0.006 | 0.0005 | 0.0017 | 0.0027 | 0 (sdev)
14 | May 08 2002 | 33.5217 | 33.5218 | 7.894 | -0.8656 | 26.9503 | 26.9504 | 55.523 | 54.961 | -0.8641 | -0.8631 | 94.9367 | 7.8963 | 1.2535 | 0.1429 | 4.5306 | 0.4513 | 14 (avg)
| 20:27 | [6 empty] | 0.058 | 0.057 | 0.0008 | 0.0004 | 0.05964 | 0.00509 | 0.0096 | 0.0001 | 0.0016 | 0.0018 | 0 (sdev)
15 | May 08 2002 | 33.3559 | 33.3599 | 8.2656 | -1.4191 | 26.8342 | 26.8374 | 31.426 | 31.11 | -1.4185 | -1.4141 | 97.7717 | 8.2651 | 1.2979 | 0.1455 | 4.5003 | 0.4482 | 15 (avg)
| 20:29 | [6 empty] | 0.048 | 0.047 | 0.0032 | 0.0039 | 0.06201 | 0.0055 | 0.0091 | 0.0012 | 0.0025 | 0.0029 | 0 (sdev)
16 | May 08 2002 | 33.3563 | 33.3565 | 8.2592 | -1.4143 | 26.8344 | 26.8345 | 31.644 | 31.326 | -1.4137 | -1.4132 | 97.7416 | 8.2615 | 1.2826 | 0.1452 | 4.5006 | 0.4465 | 16 (avg)
| 20:30 | [6 empty] | 0.071 | 0.071 | 0.0003 | 0.0006 | 0.07135 | 0.00605 | 0.0037 | 0.0006 | 0.0008 | 0.0039 | 0 (sdev)
17 | May 08 2002 | 33.3387 | 33.339 | 8.2881 | -1.5312 | 26.8234 | 26.8236 | 1.096 | 1.085 | -1.5312 | -1.5284 | 97.7639 | 8.291 | 1.321 | 0.2349 | 4.4992 | 0.4484 | 17 (avg)
| 20:31 | [6 empty] | 0.038 | 0.038 | 0.0006 | 0.0012 | 0.03344 | 0.00277 | 0.0028 | 0.0051 | 0.001 | 0.0023 | 0 (sdev)
18 | May 08 2002 | 33.3388 | 33.3389 | 8.2909 | -1.5311 | 26.8234 | 26.8235 | 1.086 | 1.075 | -1.531 | -1.5302 | 97.753 | 8.29 | 1.305 | 0.2352 | 4.4997 | 0.4451 | 18 (avg)
| 20:31 | [6 empty] | 0.072 | 0.071 | 0.0009 | 0.0009 | 0.05128 | 0.00433 | 0.004 | 0.0051 | 0.0011 | 0.0026 | 0 (sdev)