# Raytheon FlowSolution IV Nutrient Analyzer Component Packing List

# NBP01-5 Oct 23. 01 AAR

# Box 1 of 13	  Alpkem Flow Solution IV Photometers

White Plastic Crate  32 Kg /.25 m3  Value: $40000 Fragile, Keep Dry

Contents:

Alpkem F/S IV Photometer SN 84-1614-436

Alpkem F/S IV Photometer SN 841-1687-436

Wooden Base

Power Cables

Photometer connection cables

# Box 2 of 13	   Alpkem 301 Sampler, Misc. parts

White Plastic Crate 32Kg / .25 m3 Value: $5000  Fragile, Keep Dry

Contents:

Alpkem 301 Sampler S/N 00773

2x  301 plastic sample tray covers

1x 4ml cup tray w/o spindle

30ml bottle sample tray for 301 sampler

# Box 3 of 13	   Alpkem Flow Solution 5 channel module

White Plastic Crate 32 Kg / .36 m3 Value: $8000 Fragile, Keep Dry

Contents:

Ismatec 24 chan. pump S/N 03777-00002

Ismatec 8 chan. pump

Alpkem Heating module S/N 332-249055

Wooden Base

5 chem. modules (N+N,Si,PO4, NO2, NH4)

Power cables

Reagent bottles

4 PE Erlenmeyer Flasks

Pre-weighed Standards

3 wash bottles

Hex Wrench set

# Box 4 of 13	   Alpkem FlowSolution IV  Spare Pumps

Gray Rubbermaid Plastic Crate 45 Kg / .26 m3 Value: $9000 Fragile, Keep Dry

Contents:

Alkpem Pump S/N 0024528

Alpkem Pump S/N 02354

Alpkem Pump 02347

Box of Pump Tubes, OTCR's

Plastic Parts box w/ glass coils, inj. fittings

Small box Eppendorf 2.5ml tips

Box 5 of 13	   Alpkem FlowSolution IV supplies

Gray Rubbermaid Plastic Crate 45Kg / .26 m3 Value: $5000 Fragile, Keep Dry

Contents:

Large parts box containing pump tubes

Large parts box containing FlowSolution Misc. (interference filters, source lamps, etc.)

Small plastic parts box w/ plastic fittings

Box of ColeParmer PP barbed fittings

2x Box Ocean Sci. seawater standards

Box of spare pump cartridges, 3 FlowSolution Manuals

# Box 6 of 13	   Alpkem FlowSolution IV supplies

Gray Rubbermaid Plastic Crate 32 Kg / .26 m3 Value: $2000 Fragile, Keep Dry

Contents:

Eppendorf Maxipettor

Box of 10 ml Maxipipet Tips

Box of 1ml Eppendorf Tips

Box of 4 glass Volumetric Flasks

3 liter glass beaker

3 2liter clear rectangular PE bottles

2 2liter amber rectangular PE bottles

Box w/ peripheral cables, power cords

# Box 7 of 13	   Alpkem FlowSolution IV supplies

Gray Rubbermaid Plastic Crate 32 Kg / .26 m3 Value: $5000 Fragile, Keep Dry

Contents:

Eppendorf 100-100uL pipet

30ml wide Mouth Sample Bottles

Box of FlowSolution Mixing blocks

Goggles, Aluminum foil

Box of Reagent Pre-weighs

Bag of 4ml sample cups

PVC pipe and Silicon tubing for waste

Box of .2uM syringe filters

# Box 8 of 13	   Alpkem FlowSolution PasticWare

Cardboard Box 5 Kg / .25 m3 Value: $1000  Keep Dry

Contents:

8x 125ml clear PE square btls

5x 1 liter amber round btls

6x 1 liter square PE btls

11x 250 square PE btls

2x 1 liter PMP beakers

8x 50ml PMP beakers, 5x 250ml PMP beakers

4x 600ml PMP beakers, 1x 500ml wash bottle

4 scrub brushes

10x 500ml square PE btls

2x 2liter amber rectangular btls

1x 2liter rectangular btl

2x 500ml amber rectangular btls

# Box 9 of 13	   8 liter carboys for Alpkem Flow Solution System

3x Cardboard boxes taped together 2 Kg / .1 m3 Value: $1000

Contents:

3 x PE 8 liters carboys

# Box 10 of 13	 IBM PC Computer Clone

Cardboard Box 23 Kg / .25 m3 Value: $200 Fragile, Keep Dry

Contents:

IBM PC S/N 815037 NSF#03171

MicroSoft Mouse

Keyboard

Power cable

# Box 11 of 13	 IBM PC Monitor

Cardboard Box 12 Kg / .15 m3 Value: $200 Fragile, Keep Dry

Contents:

Computer Monitor

# Box 12 of 13	 Alpkem 501 Sampler

Wood Crate 32 Kg / .29 m3 Value: $7000

Contents:

Alpkem 501 Sampler S/N 00234530

# Box 13 of 13	 Alpkem FlowSolution Spares

Wooden Crate 35 Kg / .29 m3 Value: $40000

Contents:

Alpkem FlowSolution Heating Module

Alpkem FlowSolution 2 Chan Detector

Alpkem FlowSolution 3 Chan Detector

Alpkem Power Module