## Sheet1
Auto sal Salinity Determinations
Cruise ID | LMG0205 |  | Latitude | 66 13.725 |  | Date | 2002-08-28
Event # | 200 |  | Longitude | 70 18.337 |  | Operator | Romeo
cast # | 26 |  | Cast depth (m) | 416 |  | Time in | 22:40
[6 empty] | Bottom depth (m) | 441.5
Cruise: | LMG02-05 |  | Temperature, Celcius
Salinometer: | Autosal 8400B |  | Bath, initial | 27
Analyst: | M. Hodgins |  | Room, initial: | 24
Analysis Date: | 2002-08-31 |  | Bath, final | 27
Event #: | 144/200 |  | Room, final: | 24.2
Cast #: | #8/#26
Standard Info: |  |  | Instrument Parameters:
Batch: | P140 |  | SBY, initial: | 5933
K15: | 0.99991 |  | Zero, initial: | 3
2*K15: | 1.9998 |  | SBY, final: | 5933
Salinity: | 34.997 |  | Zero, final: | 0
Niskin # | Depth (m) | Bottle # | Cond ratio 1 | Cond ratio 2 | Cond ratio 3 | Average/2 | Salinity, psu1
1 | 416 | D10 | 1.986 | 1.986 | 1.986 | 0.99298 | 34.725
2 | 298.4
3 | 298.4 | A32 | 1.9847 | 1.9847 | 1.9847 | 0.99235 | 34.7
4 | 174
5 | 174
6 | 149
7 | 149 | C5 | 1.9746 | 1.9747 | 1.9747 | 0.98733 | 34.504
8 | 100
9 | 100
10 | 75
11 | 75
12 | 50
13 | 50
14 | 30
15 | 30 | F2 | 1.9462 | 1.9463 | 1.9463 | 0.97313 | 33.95
16 | 20
17 | 20
18 | 10
19 | 10
20 | 5
21 | 5
22 | 5
23 | 0 | A25 | 1.946 | 1.9462 | 1.9462 | 0.97306 | 33.947
24 | 0