## Sheet1
Auto sal Salinity Determinations
Cruise ID | LMG0205 |  | Latitude | 65 39.07 |  | Date | 2002-09-09
Event # | 251 |  | Longitude | 68 30.22 |  | Operator | Pete
cast # | 43 |  | Cast depth (m) | 470 |  | Time in | 19:05
[6 empty] | Bottom depth (m) | 493.3
Cruise: | LMG02-05 |  | Temperature, Celcius
Salinometer: | Autosal 8400B |  | Bath, initial | 27
Analyst: | M. Hodgins |  | Room, initial: | 26.7
Analysis Date: | 2002-09-10 |  | Bath, final | 27
Event #: |  |  | Room, final: | 27
Cast #:
Standard Info: |  |  | Instrument Parameters:
Batch: | P140 |  | SBY, initial: | 5926
K15: | 0.99991 |  | Zero, initial: | 4
2*K15: | 1.9998 |  | SBY, final: | 5926
Salinity: | 34.997 |  | Zero, final: | 4
Niskin # | Depth (m) | Bottle # | Cond ratio 1 | Cond ratio 2 | Cond ratio 3 | Average/2 | Salinity, psu1
1 | 470 | E17 | 1.9852 | 1.9852 | 1.9852 | 0.99261 | 34.711
2 | 470
3 | 252
4 | 252
5 | 150 | E23 | 1.9722 | 1.9721 | 1.9721 | 0.98607 | 34.455
6 | 150
7 | 100 | E19 | 1.9585 | 1.9585 | 1.9585 | 0.97925 | 34.188
8 | 100
9 | 75 | E14 | 1.9503 | 1.9504 | 1.9504 | 0.97518 | 34.03
10 | 75
11 | 50
12 | 50
13 | 30 | E22 | 1.95 | 1.95 | 1.95 | 0.97499 | 34.022
14 | 30
15 | 20
16 | 20
17 | 15
18 | 15
19 | 10
20 | 10
21 | 5
22 | 5
23 | 0 | E18 | 1.9499 | 1.9499 | 1.9499 | 0.97494 | 34.02
24 | 0