## Sheet1
Auto sal Salinity Determinations
Cruise ID | LMG0205 |  | Latitude | 65 06.293 |  | Date | 2002-08-04
Event # | 82 |  | Longitude | 65 08.030 |  | Operator | Romeo
cast # | TEST |  | Cast depth (m) | 100 |  | Time in | 14:28
[6 empty] | Bottom depth (m) | 151
Cruise: | LMG02-05 |  | Temperature, Celcius
Salinometer: | Autosal 8400B |  | Bath, initial | 27
Analyst: | M. Hodgins |  | Room, initial: | 25.2
Analysis Date: | 2002-08-16 |  | Bath, final | 27
Event #: | 82 |  | Room, final: | 26.5
Cast #: | 1, test, all bottles at 100 m
Standard Info: |  |  | Instrument Parameters:
Batch: | P140 |  | SBY, initial: | 5931
K15: | 0.99991 |  | Zero, initial: | 2
2*K15: | 1.9998 |  | SBY, final: | 5930
Salinity: | 34.997 |  | Zero, final: | 1
Niskin # | Depth (m) | Bottle # | Cond ratio 1 | Cond ratio 2 | Cond ratio 3 | Average/2 | Salinity, psu1
1 | 100 | F10 | 1.965 | 1.965 | 1.965 | 0.9825 | 34.315
2 | 100 | A33 | 1.965 | 1.9651 | 1.9651 | 0.98253 | 34.316
3 | 100 | E5 | 1.965 | 1.965 | 1.965 | 0.98249 | 34.315
4 | 100 | E7 | 1.9647 | 1.9648 | 1.9648 | 0.9824 | 34.311
5 | 100 | F1 | 1.9647 | 1.9647 | 1.9647 | 0.98235 | 34.309
6 | 100 | A30 | 1.9647 | 1.9648 | 1.9648 | 0.98238 | 34.311
7 | 100 | A34 | 1.9649 | 1.9649 | 1.965 | 0.98246 | 34.314
8 | 100 | C7 | 1.965 | 1.965 | 1.9651 | 0.98253 | 34.316
9 | 100 | A26 | 1.9653 | 1.9653 | 1.9653 | 0.98264 | 34.321
10 | 100 | F8 | 1.9654 | 1.9655 | 1.9655 | 0.98275 | 34.325
11 | 100 | F5 | 1.9655 | 1.9655 | 1.9655 | 0.98275 | 34.325
12 | 100 | E4 | 1.9655 | 1.9656 | 1.9656 | 0.98278 | 34.326
13 | 100 | F11 | 1.9655 | 1.9655 | 1.9656 | 0.98276 | 34.325
14 | 100 | E8 | 1.9656 | 1.9656 | 1.9656 | 0.98281 | 34.327
15 | 100 | F12 | 1.9657 | 1.9656 | 1.9657 | 0.98284 | 34.329
16 | 100 | B1 | 1.9655 | 1.9656 | 1.9656 | 0.98278 | 34.326
17 | 100 | D12 | 1.9656 | 1.9657 | 1.9656 | 0.98281 | 34.327
18 | 100 | D3 | 1.9655 | 1.9655 | 1.9656 | 0.98277 | 34.326
19 | 100 | D1 | 1.9655 | 1.9655 | 1.9657 | 0.9828 | 34.327
20 | 100 | D6 | 1.9655 | 1.9655 | 1.9658 | 0.98281 | 34.327
21 | 100 | D9 | 1.9656 | 1.9656 | 1.9658 | 0.98283 | 34.328
22 | 100 | F9 | 1.9655 | 1.9656 | 1.9657 | 0.98282 | 34.328
23 | 100 | D8 | 1.9655 | 1.9655 | 1.9656 | 0.98278 | 34.326
24 | 100 | D5 | 1.9656 | 1.9656 | 1.9657 | 0.9828 | 34.327