Progress Report.

August 25, 2002

LMG0205

Nutrients and O2

Nutrient analysis continues.  A CTD cast including bottle rosette sampling was conducted on August 20th.  Samples were taken for nutrient, oxygen and salt analysis.  The oxygen and nutrient analysis have been completed and all data associated with bottle casts to this point have been organized into data sheets and organized in event files.

Approximately 125 freshwater and brine samples have been analyzed for Dr. Fritsen.  The analyzer appears to be very stable while running freshwater as analytical stream.  Post processing of nutrient measurements is being carried out currently and delivery of final measurements is planned for tomorrow.

A hand deployed Niskin sample has recently been integrated into the morning and nightly CTD deployment.  Samples for oxygen, salinity and nutrients are being taken from the bottle.  The data collected will be used to check the output of the CTD sensors.