Progress Report.

September 8, 2002

LMG0205

Nutrients and O2

Nutrient and oxygen analysis up to event 200 have been processed and posted.  At the beginning of the current report period another CTD/Rosette cast was taken.  Samples have been analyzed and are being organized.  Additionally assistance was rendered in repairing damage incurred to the rosette handling system.  Regular deployment and data collection with the electronics package from the rosette assembly also continued.  Hand deployment of a Niskin sample collection bottled was carried out in order to continue fidelity checks of the instrument package.  These samples have also been analyzed and are being processed and compared to electronic output (CTD instrument package).

Another large batch of freshwater samples were analyzed for Dr. Fritsen.  These samples have been analyzed and post processing accomplished.  Results will be delivered early this week.