## NNN9_4
Nutrient run 9_4
DIW as analytical segment stream
File name: C:\DOCUME~1\TECHNI~1\MYDOCU~1\JEFFDO~1\GLOBECIV\NUTIRE~1\NNN9_4.TXT
Date: September 05, 2002
Operator: jpmorin
|  |  | Nitrate + Nitrite |  |  | Nitrite |  |  | Phosphate |  |  | Ammonium |  |  | Silicate
Peak | Name | salinity | Area | Calc. (uM) | corr conc | Area | Calc. (uM) | corr conc | Area | Calc. (uM) | corr conc | Area | Calc. (uM) | corr conc | Area | Calc. (uM) | corr conc
1 | Synk
2 | carryover |  | 15003 | 0.20858 |  | 106 | 0.005416 |  | 81291 | 0.17432 |  | -4512 | -0.018903 |  | 33511 | 0.62402
3 | carryover |  | -345 | 0.02855 |  | -3088 | 6e-06 |  | 17221 | 0.042793 |  | -3415 | -0.005625 |  | 4023 | 0.10055
4 | DIW |  | -1713 | 0.012512 |  | -2590 | 0.00085 |  | 4277 | 0.016222 |  | -2783 | 0.00202 |  | -959 | 0.012102
5 | diw baseline |  | -2196 | 0.006837 |  | -1601 | 0.002526 |  | 1115 | 0.00973 |  | -1169 | 0.021542 |  | -2909 | -0.022504
B | diw baseline |  | -75 | 0.03172 |  | -68 | 0.005121 |  | -532 | 0.006348 |  | 237862 | 2.9136 |  | -1104 | 0.009526
7 | cal 0 |  | -4024 | -0.014597 |  | -2534 | 0.000945 |  | -2156 | 0.003015 |  | -2940 | 0.000117 |  | -274 | 0.02426
8 | cal 0 |  | -3028 | -0.002913 |  | -3026 | 0.000113 |  | -3152 | 0.00097 |  | -3417 | -0.005649 |  | -1277 | 0.006458
9 | cal 0 |  | -2531 | 0.002913 |  | -3159 | -0.000113 |  | -4097 | -0.00097 |  | -2483 | 0.005649 |  | -2005 | -0.006466
10 | cal 4 |  | 3899620 | 45.7724 |  | 700504 | 1.1916 |  | 1411627 | 2.9053 |  | 196603 | 2.4144 |  | 8487744 | 150.7036
11 | cal 4 |  | 3916901 | 45.9751 |  | 704092 | 1.1976 |  | 1445359 | 2.9746 |  | 195685 | 2.4033 |  | 8509538 | 151.0905
12 | cal 4 |  | 3926260 | 46.0849 |  | 708071 | 1.2044 |  | 1459419 | 3.0034 |  | 195962 | 2.4067 |  | 8326178 | 147.8355
13 | DIW |  | 1482 | 0.049978 |  | -2053 | 0.00176 |  | 7067 | 0.021948 |  | -714 | 0.027048 |  | 38696 | 0.71606
14 | s0 |  | -408 | 0.027818 |  | -2380 | 0.001207 |  | 16915 | 0.042166 |  | 628 | 0.043294 |  | 10414 | 0.214
15 | s0 |  | -2179 | 0.007042 |  | -3603 | -0.000866 |  | 5653 | 0.019045 |  | -242 | 0.032764 |  | 3337 | 0.088374
16 | s2 |  | 1290384 | 15.1679 |  | 232948 | 0.39974 |  | 411816 | 0.85284 |  | 62842 | 0.79603 |  | 2775943 | 49.3077
17 | s2 |  | 1292066 | 15.1876 |  | 233042 | 0.3999 |  | 455935 | 0.94342 |  | 63605 | 0.80527 |  | 2766544 | 49.1409
18 | s3 |  | 2590044 | 30.412 |  | 469586 | 0.80049 |  | 964467 | 1.9874 |  | 129412 | 1.6015 |  | 5633618 | 100.0372
19 | s3 |  | 2596291 | 30.4853 |  | 470064 | 0.8013 |  | 973846 | 2.0066 |  | 128661 | 1.5924 |  | 5642034 | 100.1865
20 | s4 |  | 3904129 | 45.8253 |  | 710941 | 1.2092 |  | 1477978 | 3.0415 |  | 190028 | 2.3349 |  | 8304564 | 147.4518
21 | s4 |  | 3910751 | 45.903 |  | 713046 | 1.2128 |  | 1434631 | 2.9525 |  | 188056 | 2.311 |  | 8499017 | 150.9037
22 | DIW |  | 1786 | 0.053547 |  | -2024 | 0.001809 |  | 21154 | 0.050868 |  | -180 | 0.033513 |  | 8641 | 0.18253
23 | DIW |  | 3724 | 0.076281 |  | -2087 | 0.001702 |  | 20475 | 0.049473 |  | 72269 | 0.91009 |  | 6866 | 0.15101
24 | 235I | 9 | 441302 | 5.2088 | 5.0203 | 72736 | 0.12842 | 0.11423 | 161753 | 0.3395 | 0.27717 | 75948 | 0.95461 | 1.0905 | 702889 | 12.5068 | 11.6277
25 | 236I | 7.8 | 422122 | 4.9838 | 4.8045 | 48009 | 0.086542 | 0.073544 | 133380 | 0.28125 | 0.22091 | 56285 | 0.7167 | 0.83448 | 556474 | 9.9077 | 9.1096
26 | 237I | 6.9 | 379255 | 4.481 | 4.3086 | 32360 | 0.060039 | 0.047931 | 88378 | 0.18887 | 0.13001 | 77405 | 0.97223 | 1.0764 | 413558 | 7.3706 | 6.6334
27 | 238I | 6.1 | 339540 | 4.0152 | 3.8489 | 45615 | 0.082487 | 0.07117 | 85723 | 0.18342 | 0.12589 | 102714 | 1.2784 | 1.3706 | 368965 | 6.579 | 5.8959
28 | 239I | 6 | 324919 | 3.8437 | 3.6781 | 31894 | 0.05925 | 0.048031 | 96958 | 0.20648 | 0.14912 | 74744 | 0.94003 | 1.0306 | 317778 | 5.6703 | 4.994
29 | 240I | 5.1 | 303550 | 3.593 | 3.4344 | 34226 | 0.0632 | 0.052871 | 101220 | 0.21523 | 0.15936 | 96459 | 1.2028 | 1.2798 | 349966 | 6.2417 | 5.6262
30 | 241I | 4.2 | 282119 | 3.3417 | 3.1899 | 34514 | 0.063688 | 0.054249 | 125240 | 0.26454 | 0.21016 | 111025 | 1.379 | 1.4424 | 379350 | 6.7634 | 6.2087
31 | 242I | 0.1 | 44817 | 0.55827 | 0.65671 | 9225 | 0.02086 | 0.023211 | 31329 | 0.071754 | 0.036252 | 90294 | 1.1282 | 1.6945 | 2199 | 0.06816 | 0.10224 | dilution | 20in30
32 | 243I | 0.1 | 64335 | 0.7872 | 0.66674 | -2935 | 0.000265 | 0.000265 | 7373 | 0.022576 | 0.022576 | 20212 | 0.28024 | 0.28175 | 4302 | 0.1055 | 0.1055
33 | 244I | 0.1 | 97145 | 1.172 | 1.0516 | 3187 | 0.010634 | 0.0052481 | 4115 | 0.015888 | 0.015888 | 26719 | 0.35897 | 0.36048 | 54858 | 1.003 | 0.7255
34 | 245I | 13.6 | 110285 | 1.3262 | 1.1026 | 32477 | 0.060238 | 0.041506 | 280227 | 0.58271 | 0.51275 | 59014 | 0.74971 | 0.95507 | 838752 | 14.9187 | 13.7285
35 | 247I | 9.5 | 633508 | 7.4632 | 7.271 | 30401 | 0.056721 | 0.042042 | 249062 | 0.51873 | 0.45557 | 86801 | 1.0859 | 1.2294 | 969883 | 17.2465 | 16.3336
36 | 248I | 8.5 | 531520 | 6.267 | 6.0823 | 31051 | 0.057822 | 0.044132 | 232551 | 0.48484 | 0.42333 | 134210 | 1.6595 | 1.7879 | 795581 | 14.1523 | 13.3069
37 | 249I | 9 | 611317 | 7.2029 | 7.0145 | 50134 | 0.090139 | 0.075955 | 264800 | 0.55104 | 0.48871 | 266022 | 3.2543 | 3.3902 | 833594 | 14.8271 | 13.948
38 | 250I | 5.3 | 377143 | 4.4562 | 4.296 | 36179 | 0.066507 | 0.05598 | 158280 | 0.33237 | 0.27617 | 199882 | 2.4541 | 2.5341 | 455573 | 8.1165 | 7.4875
39 | DIW |  | -3115 | -0.003939 |  | -8471 | -0.009109 |  | 22300 | 0.053219 |  | -267 | 0.032466 |  | -980 | 0.011742
40 | Cal 3 |  | 2590046 | 30.412 |  | 465081 | 0.79286 |  | 937606 | 1.9322 |  | 125697 | 1.5565 |  | 5624450 | 99.8744
41 | DIW |  | -4176 | -0.01638 |  | -11798 | -0.014743 |  | -7708 | -0.008382 |  | -11595 | -0.1046 |  | -1384 | 0.00456
42 | 251I | 8.2 | 528530 | 6.2319 | 6.0496 | 56165 | 0.10035 | 0.08696 | 335708 | 0.6966 | 0.6356 | 166098 | 2.0453 | 2.1692 | 882994 | 15.704 | 14.879
43 | 252I | 9.6 | 659657 | 7.7699 | 7.5769 | 77994 | 0.13732 | 0.12254 | 405131 | 0.83912 | 0.77579 | 241373 | 2.9561 | 3.1011 | 1117141 | 19.8606 | 18.9409
44 | 254I | 8.1 | 492050 | 5.804 | 5.6224 | 89477 | 0.15677 | 0.14347 | 202736 | 0.42363 | 0.36279 | 114842 | 1.4252 | 1.5475 | 752745 | 13.3919 | 12.5736
45 | 255I | 7.8 | 361193 | 4.2691 | 4.0899 | 101815 | 0.17766 | 0.16466 | 202375 | 0.42289 | 0.36255 | 170123 | 2.094 | 2.2118 | 662984 | 11.7984 | 11.0004
46 | 256I | 7.4 | 353522 | 4.1792 | 4.0029 | 69298 | 0.12259 | 0.10999 | 259843 | 0.54086 | 0.48118 | 341981 | 4.1734 | 4.2851 | 634374 | 11.2905 | 10.5196
47 | 257I | 9.8 | 424956 | 5.017 | 4.8225 | 126401 | 0.2193 | 0.20432 | 224184 | 0.46766 | 0.404 | 409588 | 4.9914 | 5.1394 | 723921 | 12.8802 | 11.947
48 | 258I | 9.1 | 550583 | 6.4906 | 6.3014 | 67145 | 0.11895 | 0.10466 | 232755 | 0.48525 | 0.42276 | 249347 | 3.0526 | 3.19 | 806706 | 14.3498 | 13.4639
49 | 259I | 8.8 | 550474 | 6.4893 | 6.3024 | 33236 | 0.061523 | 0.047536 | 251843 | 0.52444 | 0.46244 | 196141 | 2.4088 | 2.5417 | 889522 | 15.8199 | 14.9543
50 | 260I | 28.3 | 1928320 | 22.6504 | 22.3146 | 65031 | 0.11537 | 0.082105 | 823185 | 1.6973 | 1.603 | 60693 | 0.77003 | 1.1974 | 3233305 | 57.4268 | 55.2429
51 | 261I | 24.3 | 1630258 | 19.1544 | 18.8491 | 100633 | 0.17566 | 0.14635 | 820240 | 1.6913 | 1.6036 | 105870 | 1.3166 | 1.6836 | 2980300 | 52.9354 | 51.0219
52 | 262I | 28.2 | 1819930 | 21.3791 | 21.044 | 117340 | 0.20395 | 0.17079 | 896799 | 1.8484 | 1.7543 | 109312 | 1.3583 | 1.7841 | 3356237 | 59.6091 | 57.4319
53 | 263I | 6 | 118642 | 1.4242 | 7.552 | 42179 | 0.076667 | 0.39269 | 144373 | 0.30382 | 1.4787 | 144137 | 1.7796 | 1.8702 | 110902 | 1.9979 | 7.9292 | dilution | 5in30
54 | 264I | 0.4 | 93039 | 1.1239 | 1.0011 | 23608 | 0.045217 | 0.039535 | 32231 | 0.073606 | 0.025523 | 101353 | 1.262 | 1.268 | 33432 | 0.62262 | 0.32487
55 | 265I | 2.4 | 319748 | 3.783 | 3.645 | 43361 | 0.078669 | 0.071009 | 171903 | 0.36033 | 0.30894 | 12379 | 0.18547 | 0.22171 | 2777114 | 49.3285 | 48.8955
56 | 266I | 29.8 | 74976 | 0.91202 | 0.56471 | 13864 | 0.028716 | 0.028716 | 23514 | 0.055713 | 0.055713 | 98283 | 1.2248 | 1.6748 | 187840 | 3.3637 | 1.0783
57 | 267I | 7.8 | 172891 | 2.0605 | 1.8812 | 30987 | 0.057714 | 0.044716 | 127445 | 0.26907 | 0.20872 | 123618 | 1.5314 | 1.6491 | 640101 | 11.3922 | 10.5942
58 | DIW |  | -3514 | -0.008612 |  | 3486 | 0.01114 |  | 18867 | 0.046171 |  | 5489 | 0.10211 |  | -1595 | 0.000809
59 | Cal 4 |  | 3873722 | 45.4687 |  | 713552 | 1.2137 |  | 1409342 | 2.9006 |  | 198741 | 2.4403 |  | 8505910 | 151.0261
60 | DIW |  | -6774 | -0.04686 |  | 3050 | 0.010401 |  | -10295 | -0.013694 |  | -150 | 0.033875 |  | 3227 | 0.086422
61 | 268I | 7.4 | 182711 | 2.1757 | 1.9994 | 33344 | 0.061705 | 0.049102 | 125622 | 0.26533 | 0.20564 | 132733 | 1.6417 | 1.7534 | 534239 | 9.5129 | 8.742
62 | 269I | 7.1 | 235073 | 2.7898 | 2.6159 | 42161 | 0.076637 | 0.064331 | 117530 | 0.24871 | 0.18953 | 104392 | 1.2988 | 1.406 | 513490 | 9.1446 | 8.3939
63 | 270I | 5.3 | 135008 | 1.6162 | 1.456 | 30492 | 0.056875 | 0.046348 | 77835 | 0.16723 | 0.11102 | 79606 | 0.99887 | 1.0789 | 301384 | 5.3793 | 4.7503
64 | 271I | 4.2 | 59796 | 0.73397 | 0.58219 | 27351 | 0.051556 | 0.042117 | 81111 | 0.17395 | 0.11957 | 91226 | 1.1395 | 1.2029 | 186622 | 3.342 | 2.7874
65 | 272I | 8.6 | 485445 | 5.7265 | 5.5411 | 42133 | 0.07659 | 0.062801 | 275680 | 0.57337 | 0.5117 | 108174 | 1.3445 | 1.4744 | 816567 | 14.5248 | 13.6727
66 | 273I | 7.7 | 371554 | 4.3907 | 4.2122 | 318911 | 0.54532 | 0.53242 | 117699 | 0.24906 | 0.18888 | 278344 | 3.4034 | 3.5197 | 629816 | 11.2096 | 10.4184
67 | 274I | 6.4 | 394731 | 4.6625 | 4.4939 | 269918 | 0.46235 | 0.45073 | 223404 | 0.46606 | 0.40803 | 419258 | 5.1084 | 5.205 | 561532 | 9.9974 | 9.2941
68 | 275I | 8 | 434851 | 5.1331 | 4.9523 | 259323 | 0.4444 | 0.43121 | 212007 | 0.44266 | 0.38199 | 292812 | 3.5785 | 3.6993 | 684476 | 12.1799 | 11.3684
69 | 276I | 6.9 | 362836 | 4.2884 | 4.116 | 117300 | 0.20389 | 0.19178 | 148291 | 0.31186 | 0.25301 | 109454 | 1.36 | 1.4642 | 650252 | 11.5724 | 10.8352
70 | 277I | 9 | 436175 | 5.1486 | 4.9602 | 70590 | 0.12478 | 0.1106 | 179666 | 0.37627 | 0.31394 | 95128 | 1.1867 | 1.3226 | 781586 | 13.9039 | 13.0247
71 | 278I | 7.3 | 313632 | 3.7113 | 3.5358 | 99608 | 0.17392 | 0.16142 | 152257 | 0.32 | 0.26049 | 93327 | 1.1649 | 1.2751 | 662145 | 11.7835 | 11.0193
72 | 279I | 7.8 | 347296 | 4.1061 | 3.9269 | 67250 | 0.11913 | 0.10613 | 169321 | 0.35503 | 0.29469 | 127776 | 1.5817 | 1.6995 | 617722 | 10.9949 | 10.1969
73 | 280I | 33.9 | 2283558 | 26.8171 | 26.4385 | 83945 | 0.1474 | 0.1086 | 955474 | 1.9689 | 1.8653 | 39464 | 0.51318 | 1.0251 | 3565213 | 63.3188 | 60.7563
74 | 281I | 0.3 | 52937 | 0.65351 | 0.53152 | 14031 | 0.028999 | 0.023415 | 3450 | 0.014523 | 0.014523 | 39580 | 0.51458 | 0.51911 | 28438 | 0.53396 | 0.24298
75 | 282I | 0.1 | 110129 | 1.3243 | 1.2039 | 4050 | 0.012096 | 0.0067101 | 16099 | 0.04049 | 0.04049 | 12011 | 0.18101 | 0.18252 | 3977 | 0.099738 | 0.099738
76 | DIW |  | -4969 | -0.02568 |  | 4561 | 0.012961 |  | 8671 | 0.025241 |  | -22529 | -0.23689 |  | -3341 | -0.030183
77 | cal 3 |  | 2579980 | 30.294 |  | 476458 | 0.81213 |  | 923544 | 1.9034 |  | 134941 | 1.6684 |  | 5506152 | 97.7744
78 | DIW |  | -4278 | -0.017576 |  | 6390 | 0.016058 |  | -314 | 0.006795 |  | -21349 | -0.22261 |  | 14320 | 0.28333
79 | 283I | 22.3 | 969185 | 11.4005 | 11.1104 | 57954 | 0.10338 | 0.076049 | 412792 | 0.85485 | 0.77048 | 23525 | 0.32033 | 0.65705 | 2001628 | 35.562 | 35.562
80 | 284I | 7.9 | 347178 | 4.1048 | 3.9247 | 25375 | 0.04821 | 0.035113 | 321125 | 0.66667 | 0.60616 | 25401 | 0.34303 | 0.46232 | 732102 | 13.0254 | 13.0254
81 | 285I | 7.4 | 212642 | 2.5267 | 2.3505 | 24156 | 0.046146 | 0.033543 | 77007 | 0.16553 | 0.10584 | 2772 | 0.069228 | 0.18097 | 424045 | 7.5568 | 7.5568
82 | 286I | 8.6 | 398166 | 4.7028 | 4.5174 | 43793 | 0.079402 | 0.065613 | 267957 | 0.55752 | 0.49585 | 79443 | 0.99689 | 1.1267 | 473398 | 8.4329 | 8.4329
83 | 287I | 7.9 | 398445 | 4.7061 | 4.526 | 40667 | 0.074107 | 0.06101 | 239837 | 0.49979 | 0.43928 | 27843 | 0.37257 | 0.49186 | 489303 | 8.7152 | 8.7152
84 | 288I | 5.4 | 271661 | 3.219 | 3.0581 | 25381 | 0.048221 | 0.037596 | 112713 | 0.23883 | 0.18246 | 26181 | 0.35246 | 0.434 | 376166 | 6.7068 | 6.7068
85 | 289I | 5 | 276409 | 3.2747 | 3.1168 | 28591 | 0.053656 | 0.043426 | 126238 | 0.26659 | 0.21088 | 69931 | 0.8818 | 0.9573 | 389954 | 6.9516 | 6.9516
86 | 290I | 4.8 | 291390 | 3.4504 | 3.294 | 22567 | 0.043454 | 0.033422 | 123244 | 0.26044 | 0.20507 | 39328 | 0.51152 | 0.584 | 446438 | 7.9543 | 7.9543
87 | 291I | 9.9 | 146775 | 1.7542 | 1.5589 | 39634 | 0.072358 | 0.057284 | 301675 | 0.62674 | 0.56292 | 87557 | 1.0951 | 1.2445 | 558615 | 9.9457 | 9.9457
88 | 292I | 7.8 | 105885 | 1.2746 | 1.0953 | 30362 | 0.056655 | 0.043657 | 165128 | 0.34643 | 0.28608 | 92763 | 1.1581 | 1.2758 | 396716 | 7.0716 | 7.0716
89 | 293I | 7.9 | 244440 | 2.8997 | 2.7197 | 34083 | 0.062958 | 0.049861 | 203259 | 0.4247 | 0.36419 | 83263 | 1.0431 | 1.1624 | 395795 | 7.0553 | 7.0553
90 | 294I | 8.8 | 400618 | 4.7316 | 4.5447 | 52345 | 0.093884 | 0.079897 | 318586 | 0.66146 | 0.59945 | 121894 | 1.5105 | 1.6434 | 452761 | 8.0665 | 8.0665
91 | 295I | 8.2 | 442350 | 5.2211 | 5.0387 | 49550 | 0.08915 | 0.075756 | 475384 | 0.98334 | 0.92233 | 129311 | 1.6003 | 1.7241 | 504908 | 8.9923 | 8.9923
92 | 296I | 7.9 | 381456 | 4.5068 | 4.3268 | 55001 | 0.098382 | 0.085285 | 388974 | 0.80595 | 0.74544 | 151326 | 1.8666 | 1.9859 | 497674 | 8.8639 | 8.8639
93 | 297I | 3.9 | 220983 | 2.6246 | 2.4751 | 27754 | 0.052238 | 0.043095 | 155246 | 0.32614 | 0.27226 | 94139 | 1.1747 | 1.2336 | 287802 | 5.1382 | 5.1382
94 | DIW |  | -2999 | -0.002577 |  | 8562 | 0.019737 |  | 26595 | 0.062036 |  | 5529 | 0.10259 |  | -2473 | -0.014772
95 | cal 4 |  | 3880422 | 45.5472 |  | 709537 | 1.2069 |  | 1425875 | 2.9346 |  | 188317 | 2.3142 |  | 8521516 | 151.3031
96 | DIW |  | -3983 | -0.014123 |  | 6010 | 0.015414 |  | -10737 | -0.014601 |  | 1446 | 0.053188 |  | 5839 | 0.13279
97 | 298I | 11 | 759238 | 8.9379 | 8.7342 | 31888 | 0.05924 | 0.043078 | 327243 | 0.67923 | 0.61358 | 128068 | 1.5852 | 1.7513 | 1222202 | 21.7257 | 21.7257
98 | 299I | 7.4 | 504910 | 5.9548 | 5.7786 | 22837 | 0.043911 | 0.031308 | 247836 | 0.51621 | 0.45653 | 6865 | 0.11875 | 0.23049 | 821151 | 14.6062 | 14.6062
99 | 300I | 7 | 473671 | 5.5884 | 5.4153 | 24710 | 0.047083 | 0.034876 | 199106 | 0.41618 | 0.35716 | 10460 | 0.16225 | 0.26795 | 754135 | 13.4165 | 13.4165
100 | 301I | 7.9 | 520882 | 6.1422 | 5.9621 | 28144 | 0.0529 | 0.039803 | 213339 | 0.4454 | 0.38489 | 30551 | 0.40534 | 0.52463 | 844939 | 15.0285 | 15.0285
101 | 302I | 4.8 | 312316 | 3.6958 | 3.5395 | 20163 | 0.039383 | 0.029351 | 127886 | 0.26997 | 0.2146 | 29714 | 0.3952 | 0.46769 | 523467 | 9.3217 | 9.3217
102 | 303I | 5.1 | 331637 | 3.9225 | 3.7638 | 26161 | 0.049541 | 0.039212 | 172293 | 0.36113 | 0.30526 | 97477 | 1.2151 | 1.2921 | 546725 | 9.7346 | 9.7346
103 | 304I | 5.2 | 343407 | 4.0605 | 3.9011 | 25201 | 0.047916 | 0.037488 | 173079 | 0.36275 | 0.30671 | 83158 | 1.0418 | 1.1204 | 553282 | 9.851 | 9.851
104 | 305I | 5.4 | 356586 | 4.2151 | 4.0542 | 27879 | 0.05245 | 0.041825 | 186600 | 0.3905 | 0.33414 | 89277 | 1.1159 | 1.1974 | 586882 | 10.4475 | 10.4475
105 | 306I | 9.4 | 556960 | 6.5653 | 6.3739 | 63035 | 0.11199 | 0.097407 | 315455 | 0.65503 | 0.59203 | 235884 | 2.8897 | 3.0316 | 810039 | 14.4089 | 14.4089
106 | 307I | 8.8 | 296742 | 3.5132 | 3.3263 | 69234 | 0.12248 | 0.1085 | 221065 | 0.46126 | 0.39926 | 180792 | 2.2231 | 2.356 | 712716 | 12.6813 | 12.6813
107 | 308I | 7.4 | 388024 | 4.5838 | 4.4076 | 68622 | 0.12145 | 0.10885 | 235442 | 0.49077 | 0.43109 | 199487 | 2.4493 | 2.5611 | 523340 | 9.3195 | 9.3195
108 | 309I | 9.7 | 295523 | 3.4989 | 3.3051 | 75005 | 0.13226 | 0.11738 | 209075 | 0.43664 | 0.37315 | 179925 | 2.2126 | 2.3591 | 780888 | 13.8915 | 13.8915
109 | 310I | 9.3 | 485155 | 5.7231 | 5.5324 | 55275 | 0.098847 | 0.084366 | 63075232 | 129.4924 | 129.4296 | 104124 | 1.2955 | 1.4359 | 824214 | 14.6606 | 14.6606
110 | 311I | 9.8 | 399100 | 4.7138 | 4.5192 | 47940 | 0.086424 | 0.071449 | 252363 | 0.52551 | 0.46185 | 242574 | 2.9706 | 3.1186 | 888465 | 15.8012 | 15.8012
111 | 312I | 8.7 | 248708 | 2.9498 | 2.7636 | 46902 | 0.084666 | 0.070778 | 239696 | 0.4995 | 0.43767 | 8203 | 0.13495 | 0.26632 | 519391 | 9.2494 | 9.2494
112 | DIW |  | -540 | 0.026266 |  | 6662 | 0.01652 |  | 85665 | 0.1833 |  | -524 | 0.029355 |  | 165 | 0.032054
113 | DIW |  | -541 | 0.02625 |  | 4943 | 0.013607 |  | 48411 | 0.10682 |  | 1966 | 0.059483 |  | -1069 | 0.010149
114 | s0 |  | -790 | 0.023334 |  | 3844 | 0.011747 |  | 29265 | 0.067519 |  | 10319 | 0.16055 |  | -2116 | -0.008438
115 | s2 |  | 1277742 | 15.0196 |  | 238226 | 0.40868 |  | 437677 | 0.90593 |  | 64764 | 0.81928 |  | 2794325 | 49.634
116 | s3 |  | 2566304 | 30.1336 |  | 471618 | 0.80393 |  | 949692 | 1.957 |  | 132129 | 1.6343 |  | 5643853 | 100.2188
117 | s4 |  | 3802526 | 44.6336 |  | 704538 | 1.1984 |  | 1463540 | 3.0119 |  | 199323 | 2.4473 |  | 8551377 | 151.8332
118 | DIW |  | -5870 | -0.036256 |  | 3611 | 0.011352 |  | -2269 | 0.002783 |  | 7401 | 0.12524 |  | 10459 | 0.21479
119 | DIW |  | 1806 | 0.053783 |  | 4997 | 0.013699 |  | 18334 | 0.045078 |  | 7999 | 0.13248 |  | 7681 | 0.16549
120 | cal 4 |  | 3878749 | 45.5276 |  | 699729 | 1.1902 |  | 1471209 | 3.0276 |  | 196018 | 2.4074 |  | 8546364 | 151.7442
121 | cal 4 |  | 3863326 | 45.3467 |  | 715353 | 1.2167 |  | 1473293 | 3.0319 |  | 194692 | 2.3913 |  | 8352396 | 148.3009
122 | cal 4 |  | 3869703 | 45.4215 |  | 703972 | 1.1974 |  | 1475397 | 3.0362 |  | 194076 | 2.3839 |  | 8567284 | 152.1156
123 | cal 0 |  | -242 | 0.02976 |  | 3020 | 0.010352 |  | 4317 | 0.016303 |  | 7714 | 0.12902 |  | 13881 | 0.27555
124 | cal 0 |  | 3103 | 0.068996 |  | 2800 | 0.009978 |  | 21984 | 0.052571 |  | 6485 | 0.11415 |  | 10344 | 0.21276
125 | cal 0 |  | 1340 | 0.048322 |  | 2161 | 0.008897 |  | 12131 | 0.032345 |  | 1722 | 0.056523 |  | 7255 | 0.15791
126 | DIW |  | 897 | 0.043124 |  | 1503 | 0.007781 |  | 4492 | 0.016662 |  | 3143 | 0.073719 |  | 2149 | 0.06728
127 | DIW |  | 919 | 0.043375 |  | 767 | 0.006536 |  | 316 | 0.008089 |  | -160 | 0.033751 |  | 672 | 0.041066
B | DIW |  | -190 | 0.03037 |  | 271 | 0.005696 |  | 358 | 0.008175 |  | 416 | 0.04072 |  | 113 | 0.03114