This data set was collected from the Optical Plankton Counter (OPC, Focal Technologies) during Southern Ocean GLOBEC cruises LMG00104, NBP0104, LMG0203, and NBP0204. The OPC was mounted on the MOCNESS-1 frame.

The OPC data was processed into abundance spectra (N) vs. equivalent spherical diameter (ESD) of plankton in 50 size classes in the depth intervals of a correspondent MOCNESS-1 tow. The spectra calculation is based on the standard definitions in Zhou and Huntley (2007):

Definitions:

v = body volume of a zooplankter	(1)

Water volume filtered (V) = OPC cross section × flow speed	(2)

Abundance spectrum (N)=# of zooplankton in the size interval ΔvThe size interval Δv×V  	(3)

Units:

ESD: 	mm

v:  		mm3

N:		# mm-1 (ESD) m-3 (water)

V:		m3

Data file format:

Line 1 (header):  latitude  longitude date time (local, at the beginning of the deployment)

Line 2 (title):  logESD  dep-range1 dep-range2 ...

Line 3-52 (data):  log10(ESD)  log10(b) (dep 1) log10(b) (dep 2) ....

Notes:

- Each data file represents one MOCNESS/OPC cast .The OPC failed in some MOCNESS tows.

- The filename conventions are “CruiseName_spe_cntStationNumber.txt”. The OPC cast number is same as the corresponding MOCNESS-1 cast number.

- The depth intervals of abundance spectra are equal to the depth intervals of a corresponding MOCNESS tow.

- The water filtered by the OPC was estimated using the flowmeter on the MOCNESS-1.

- The size interval Δvis evenly distributed on log(ESD) of valid OPC size range

- The first column of the data file , represent the mid values of log10(ESD) of each size group.

- The “-3.00” for log10(b) means 0 counts for the size group in the depth bin.

- In some cases the OPC went through ups and downs in one depth bin, which are indicated in the depth range, for example, “25-22-75”.

Reference:

Zhou, M. and M. E. Huntley, Population dynamics theory of plankton based on biomass spectra.  Marine Ecology Progress Series, 157, 61-73, 1997.