WHOI  Silhouette  DIGITIZER

Version 1.0

Users Guide

by

William S. Little  and  Nancy J. Copley

Woods Hole Oceanographic Institution

June,  2003

WHOI  Silhouette  DIGITIZER

Version 1.0

Users Guide

Copyright 2003, Woods Hole Oceanographic Institution

You may copy this document, but you may not charge for its use in any way.

The development of WHOI Silhouette DIGITIZER was funded by

The National Science Foundation,

grant numbers

OCE-9806381, OCE-9940880, and OCE-0095069.

Acknowledgement

WHOI Silhouette DIGITIZER was developed at Woods Hole Oceanographic Institution as part of the GLOBEC (GLOBal ocean ECosystems dynamics) data management program.

DIGITIZER was devised by WHOI marine biologist and Senior Scientist Peter H. Wiebe as a modern and efficient method of counting and measuring marine organisms.  We the authors are greatly indebted to Dr. Wiebe, not only for his perception and creativity in suggesting this new digital approach to marine sampling, but also for his guidance, his encouragement, and especially his patience, during the long debugging period.   Thanks Peter!

We would like to thank Research Assistant III Mari Butler and Information Systems Specialist Roger Goldsmith for their help in designing and testing portions of this software.

And we are particularly appreciative of the efforts of the many individuals who served as digitizing guinea pigs, and who therefore suffered the agonies associated with trying to do useful work with an endless series of software pre-releases.

WHOI Silhouette DIGITIZER software and documentation were funded as part of

The National Science Foundation

GLOBEC program

grants OCE-9806381, OCE-9940880, and OCE-0095069.

* U.S.GLOBEC:   Program Services and Data Management for Phase Three of the Northwest Atlantic Georges Bank Program, and follow-on.

MATLAB is a product of The MathWorks, Inc.

WHOI  Silhouette  DIGITIZER

Version 1.0

Users Guide

*******************************************

TABLE OF CONTENTS

1	PROGRAM DESCRIPTION	7

1.1	OVERVIEW	7

1.2	MEASURING MODES AND SAMPLE IDENTIFICATION	9

1.3	REFERENCE GRID, ZOOM, PAN, CALIBRATION, RANDOM CELLS	9

1.4	IMAGE FILES	10

1.5	SPECIES SELECTION BUTTONS	10

1.6	DATA EDITING	10

1.7	SAMPLE LENGTH LIMITS	10

1.8	WEIGHT CALCULATIONS	11

1.9	DATA LOGGING	11

1.10	INPUT PARAMETERS	11

1.11	BINARY OUTPUT FILES	11

1.12	TEXT OUTPUT FILES	12

1.13	SPREADSHEET-READABLE TEXT OUTPUT FILES	12

1.14	SPECIAL SPECIES CODE AND SYMBOL	12

2	WINDOWS AND MENUS	13

2.1	MAIN WINDOW	13

2.1.1  initialization controls	13

2.1.2  cell selection, zoom, and pan controls	14

2.1.3  digitizing mode controls	15

2.1.4  sample editing controls	16

2.1.5  species buttons	17

2.1.6  species counts	17

2.1.7  information box	17

2.1.8  selected species box	17

2.1.9  status box	17

2.1.10  refresh screen	18

2.1.11  undo pending	18

2.1.12  ABORT	18

2.2	MAIN WINDOW MENUS	19

2.2.1  File	19

2.2.2  Edit	21

2.2.3  View	21

2.2.4  Preferences	22

2.3	EDIT SPECIES PARAMETERS WINDOW	24

2.3.1  species color buttons 1 to 110	25

2.3.2  changing the species color	25

2.3.3  changing the species allowable length limits	26

2.3.4  adding a species button to the Main Window	26

2.3.5  verifying the color, allowed length, or main window visibility changes	26

2.3.6  saving the color, allowed length, or main window visibility changes	26

2.3.7  species color buttons  111-119	27

2.3.8  species color button 120	27

2.4	EDIT COLORMAP WINDOW	28

2.4.1  graph area	29

2.4.2  gamma	29

2.4.3  linear	29

2.4.4  red, green, blue	29

2.4.5  tint	29

2.4.6  save	29

2.4.7  apply	29

2.4.8  left x, left y	29

2.4.9  right x, right y	30

2.4.10  undo	30

2.4.11  reset	30

2.4.12  close	30

2.5	RANDOM CELL GENERATOR WINDOW	31

2.5.1  columns	31

2.5.2  rows	31

2.5.3  cells	31

2.5.4  generate random cells	31

2.6	EDIT PLATE PARAMETERS WINDOW	33

2.6.1  setting parameters that are common to all species	34

2.6.2  setting parameters that are specific to each species	34

2.6.3  updating the test histogram	35

2.6.4  setting parameters that affect the plotted and printed length histograms	35

2.6.5  making a histogram plot	39

2.6.6  writing a histogram file	41

2.6.7  closing the window	42

3	TUTORIALS	43

3.1	TUTORIAL  1	44

3.1.1  Select the input and output files	44

3.1.2  Add your own measurements	44

3.1.3  Print statistics	45

3.1.4  Save you results and quit DIGITIZER	46

3.2	TUTORIAL  2	47

3.2.1  Initialize the calibration parameters and image reference grid:	47

3.2.2  Edit the colormap of the image to improve its contrast.	47

3.2.3  Change the allowable length limits for a species	48

3.2.4  Make some measurements using the  “2-point”  mode	49

3.2.5  Add a species button to the main menu and change its properties	49

3.2.6  Measure a curved specimen using the  “n-point”  mode	50

3.2.7   Save your results and quit DIGITIZER	51

3.3	TUTORIAL  3	52

3.3.1  Remove measurements using  select by cursor	52

3.3.2  Change the species code of a measurement using select by number	52

3.3.3  Delete multiple measurements at once using select by region	53

3.3.4  Delete specimens of a single species using select by region	53

3.3.5  Change species codes for several specimens at once using select by region	54

3.3.6  Mark unknown specimens	55

3.3.7  Save your results and quit DIGITIZER	55

3.4	TUTORIAL  4	56

3.4.1  Create an output statistics file	56

3.4.2  Create output  length and weight files	56

3.4.3  Create a histogram plot of the measured sample lengths	56

3.4.4  Create a histogram file of the measured sample lengths	56

3.4.5  Create a histogram file of the counts of the measured samples	57

3.4.6  Create a histogram file of the weights of the measured samples	57

3.4.7  Save you results and quit DIGITIZER	57

3.5	TUTORIAL  5	58

3.5.1  Selecting Random Cells	58

3.5.2  Making a new species file	58

3.5.3  Making a new weights file	59

3.5.4  Changing the weights file during a session	60

3.5.5  Recalculating the weights of existing measurements.	60

3.5.6  Save you results and quit DIGITIZER	60

4	SYSTEM REQUIREMENTS AND RESTRICTIONS	61

5	KNOWN PROBLEMS	62

Appendix 1	Standard Lengths Used in DIGITIZER Program	63

Appendix 2	Length to Wet Weight Biomass Conversion Formulas.	65

## 1	PROGRAM DESCRIPTION

### 1.1	OVERVIEW

WHOI Silhouette DIGITIZER is a MATLAB-based computer program for measuring the lengths of marine organisms in the macrozooplankton size range.

DIGITIZER begins by displaying a scanned photographic image of a seawater slurry containing large numbers of marine organisms, upon which is superimposed a reference grid.  DIGITIZER then allows you to measure the organisms' lengths using the cursor on the computer screen.  DIGITIZER automatically calculates each organism’s biomass and generates spreadsheet compatible output listings of basic statistics derived from the data.   DIGITIZER also produces text files of lengths, weights, and size-frequency histograms.

The DIGITIZER Main Window shown here contains a portion of a typical scanned image and several digitized samples, along with various control buttons, information boxes and edit boxes. Detailed descriptions of these elements are presented in subsequent sections of this document.

When you measure a sample in the Main Window, you perform three basic steps:

- you select an area of the image using the cell selection, pan, and zoom controls;

- you select a species to digitize using the appropriate colored species selection button;

- you click on one end of an organism on the image, and then click on the other end of the organism.

You can also measure the length of a curved organism by first clicking on the "n-pt" button to change the program to multi-point ("n-point") mode.  Once the species is selected, you click on one end of the sample, hold the mouse button down while tracing the cursor along the organism, and release the mouse button at the other end of the organism.

When you make a measurement, in the MATLAB command window will appear the number of the measurement, the species code, the organism's length, the organism's weight, and the grid cell coordinates.  This allows you to check your measurements as you go along.

Colored selection buttons representing various species may be added to (or removed from) the Main Window by selecting "edit species buttons, lengths" from the Edit Menu.  This creates an Edit Species Parameters Window that can be used to change the color and availability (visibility) of each species button.  You can also use this window to change the maximum and minimum allowed sample lengths for each species, so that digitized samples that exceed these limits are automatically rejected.

Certain properties of the image that appears in the Main Window may be altered by selecting the "edit colormap" from the Edit Menu.  This creates an Edit Colormap Window whose controls can be used to change the overall image color (tint) and the image "exposure curve" in order to make the organisms in the image more distinct.

DIGITIZER provides several options under the File Menu of the Main Window for writing the raw data and derived statistics to disk files.

Section 1 of this Users Guide gives an overview of the important features of DIGITIZER.

Section 2 is a reference section that explains DIGITIZER's windows and Graphical User Interface (GUI) controls.

Section 3 contains some simple tutorials that illustrate many of DIGITIZER's features.

Section 4 discusses the system requirements for running DIGITIZER.

Section 5 lists some known problems that exist in DIGITIZER Version 1.0.

Appendix 1 shows a variety of zooplankton types with guides for making standard length measurements.

Appendix 2 contains a list of formulas used for length to wet weight biomass conversions.

Before proceeding, please read Section 4.  It describes some known bugs and operational problems involving the way DIGITIZER interacts with the Windows Operating System.  In some cases these may make DIGITIZER awkward to use, or even unusable, on your computer!  Along with The MathWorks, Inc., the provider of MATLAB, we are working to correct these deficiencies.

If you are curious about how to use DIGITIZER, you may at this point skip directly to the Tutorials in Section 3

### 1.2	MEASURING MODES AND SAMPLE IDENTIFICATION

DIGITIZER provides two measuring modes, the 2-point mode where only the organism's two end points are used to determine its length, and the n-point mode where the organism's length is measured along a curve traced by the cursor.

Each measured organism is identified by a species code which is selected by clicking on the appropriate species button, either at the beginning of a series of measurements or after making each measurement.

As measurements are made, the program draws colored lines on the image to show which organisms have been measured.  It numbers the measurements for easy identification and subsequent editing.  These numbers can be turned on or off and their size changed.

### 1.3	REFERENCE GRID, ZOOM, PAN, CALIBRATION, RANDOM CELLS

DIGITIZER superimposes a square reference grid on the displayed image and allows the user to magnify portions of the image by "zooming" in on individual grid cells or groups of cells, or move about the image by "panning" horizontally or vertically.

Prior to making measurements, the user must enter the resolution of the image, typically the resolution setting of the scanner that was used to create the image.  The user may optionally position the reference grid by moving it a number of pixels vertically and/or horizontally.

In instances where there are too many organisms of a given type to justify measuring every individual organism, DIGITIZER provides a means of generating a list of randomly located cells.  Measurements  may then be made only in the cells on the random cell list, thereby providing a means of systematically subsampling the overall image.

### 1.4	IMAGE FILES

DIGITIZER reads image files that are compatible with the MATLAB "imread" function, for example, ".tif" or ".jpg" files.  It displays images using a 256-level single-tint "colormap" whose exposure curve and hue may be altered for easier viewing or more accurate measuring.

The input image file is generally created using a digital scanner and the accompanying vendor supplied scanner software.  A typical image of a scanned 6" X 8" black and white photographic negative would contain 7200 X 9600 pixels  (picture elements) when scanned at 1200 X 1200 pixels per inch. At 256 intensity levels per pixel (8 bits per pixel) this would result in a total image size of 69.12 Mbytes.  An 8" X 10" film requires about 110 Mbytes.

### 1.5	SPECIES SELECTION BUTTONS

In general, a large number of species selection buttons are displayed on the screen, together with other function buttons, program status information, and the actual image.  In order to reduce screen clutter, the user may edit the species button list so that the screen displays only those buttons corresponding to the organisms which are most likely to be encountered during a particular measuring session.  Measurement size limits for each species button can also be established.  Samples with measured lengths outside of these limits are automatically rejected (see below).

### 1.6	DATA EDITING

Samples that have been measured incorrectly can be deleted from the screen and from the output data files.  The species codes of individual measurements or nearby groups of measurements can also be altered to correct for previous species selection errors.  The user can select the sample to be altered either by using the cursor to pick out the desired sample on the image, by specifying the sample number, or by selecting a region using a "rubber band" box.  When a measurement lies partially within the rubber band box, the criteria for determining whether or not it is “selected” may be specified as “one end in the box”, or “both ends in the box”, as set in the preferences menu.

### 1.7	SAMPLE LENGTH LIMITS

DIGITIZER checks measurements for legal lengths.  If the measured length of a

particular sample is out of the range of acceptable values for the selected species, the sample is rejected, the computer beeps or clicks, and the corresponding data are removed from the screen and from the output data files.

The maximum and minimum acceptable lengths for each species may be set by the user, and may be overridden when necessary by changing the limits settings.

### 1.8	WEIGHT CALCULATIONS

In cases where the appropriate formula is supplied to the program, DIGITIZER uses each organism's length to automatically calculate its weight (biomass).  The formulas are provided in an editable ASCII file, default.wgt, in the form of equations that are MATLAB compatible.  Most of the formulas provided in default.wgt were derived by Davis and Wiebe (1985)* for zooplankton forms from warm North Atlantic waters.  Care should be taken in interpreting wet weight data from this program when applied to your samples.

*	Wiebe, P. H. and C. S. Davis. 1985. “Macrozooplankton biomass in a warm-core Gulf Stream ring: Time series changes in size structure, taxonomic composition, and vertical distribution.” J. Geophys. Res. 90(C5):8871-8884.

### 1.9	DATA LOGGING

As measurements are made, the image coordinates and the calculated lengths and weights are listed in the MATLAB command window, which may be scrolled backward if necessary in order to examine previous data.  Measurements that result in illegal lengths are marked as either too long or too short.

### 1.10	INPUT PARAMETERS

DIGITIZER allows the user to establish the default values of several program parameters, such as species button colors, species length limits, weight formulas, grid size, and image resolution.  Some input parameters can be interactively changed during a measuring session using a species button editing window.

### 1.11	BINARY OUTPUT FILES

DIGITIZER stores the measured data in two ways.  All measured coordinates are initially entered into a collection of tables in memory in the MATLAB main workspace.  These tables are periodically saved to a MATLAB binary ".mat" file,.  This occurs  after every twentieth sample, whenever a previously measurement is altered or deleted, and  whenever the user requests it by explicitly selecting one of several file /save options.  These memory tables and disk files constitute a complete record of all measurements made on a particular image.

Whenever a new session of DIGITIZER begins, the program automatically makes a backup copy of the  .mat file, giving it the same filename as the  .mat file but with the file extension  ".mbk".  Then, if the operating system or the program crashes or otherwise exhibits erratic behavior, you can always quit or abort DIGITIZER and discard your corrupted  .mat file.  You can later rename the  .mbk file as a  .mat file and use it to resume measuring with DIGITIZER.  You will lose the measurements from the most recent session, but you will not lose measurements that were made during previous sessions using this image.

### 1.12	TEXT OUTPUT FILES

When the data in the memory tables are written to a binary file, they are also written to an ASCII text file which has the file extension “.dat”.  Unlike the .mat file, this ASCII file is human-readable, and may be listed on a printer or imported into a spreadsheet program for further analysis.  For each measurement, the file contains the species code, cell location, calculated length and weight, and information identifying the particular image.

The internal data tables and the binary output file contain all digitized information, including data pertaining to samples whose lengths were found to be illegal, and data for samples which were deleted from the screen using the programs editing features.  The text file, however, contains only "good" samples; illegal length samples and deleted samples are not recorded.

The binary  .mat  file and the ASCII text  .dat  file are both completely rewritten whenever existing measurements are deleted or species codes are retroactively changed by the user.

### 1.13	SPREADSHEET-READABLE TEXT OUTPUT FILES

The program allows the user to write a number of text files that may be easily imported into the EXCEL spreadsheet program.  Files may be created that include the lengths of the samples, weights of the samples, some basic sample statistics for the overall sample collection, and histogram data of sample counts, sample weights, or sample lengths.

### 1.14	SPECIAL SPECIES CODE AND SYMBOL

DIGITIZER provides a special species code (999) and symbol (large magenta dot) that serves as a means of marking an item of special interest on the image (something to be looked at again later but not identified yet).  The coordinate data associated with the special species code are recorded in the internal data tables and the binary output file, but are omitted from the text output file.

## 2	WINDOWS AND MENUS

### 2.1	MAIN WINDOW

The Main Window of DIGITIZER looks something like this.  Its control elements are described in the following sections.

#### 2.1.1  initialization controls

set parameters	click on this control to temporarily apply your settings so you can see what the image looks like with its new calibration data and grid lines.

plate	enter the "plate name", that is, any ASCII name you wish to use for the samples you digitize from this image (for example, “myplate001” ).

(In this Users Guide, the word "plate" is essentially synonymous with the word "image", as in "photographic plate" or "photographic image").

split	enter a "split factor", that is, any numeric fraction that represents the portion of the overall sea water sample you used when creating the image for this session  ( for example:  1 , or  1 / 4 , or 0.125 ).

pix/inch	enter the number of "pixels per inch" of the originating image.  This is typically the resolution used by the scanner in creating the image file (for example, 1200).  (A future version of the program may provide for on-screen calibration using reference marks on the scanned image.)

cm/cell	enter the cell (square) size in centimeters to determine the reference grid size (for example, 2.0)     For historic reasons, the default is 1.1.

xoff (pix)	enter an integer number of pixels to offset (shift) the reference grid to the left or right  ( for example,  50 ).

yoff (pix)	enter an integer number of pixels to offset (shift) the reference grid up or down  ( for example  -100 ).

OK TO START?	click on this control to make the parameter settings permanent for all digitizing sessions associated with this image.  A message box will appear asking you to confirm your selection

#### 2.1.2  cell selection, zoom, and pan controls

column,  row	enter integer column and row numbers (refer to the red reference numbers on the image)  and then click on "select a cell" to zoom directly to an individual grid cell.

select a cell		click on this to zoom to a selected cell.

show all cells		click on this to restore the full size image.

zoom out, zoom in	when you have selected an individual cell, click on these controls to expand or contract the image area to include more than one cell.

<   >   ^   v

when you have selected an individual cell (or small collection of cells),  you can click on these controls to "pan" the image one cell to the left, one cell to the right, one cell up, or one cell down, respectively.

manual zoom on	click on this control to temporarily change the behavior of the cursor so that it can be used to zoom to an arbitrary area of the image.  After clicking on this control, you can use the cursor to select a rectangular area by pressing the mouse button at one corner of the desired area and dragging it to the diagonally opposite corner of the desired area.  A new enlarged image area will appear.

Subsequent clicks of the left mouse button will cause the image to zoom in, while clicking the right mouse button will zoom out.  The new image will be re-centered at the position of the cursor.  Double clicking the left mouse button will restore the image to its original size just prior to your first zoom.

You MUST click on "man zoom off" (see below) before proceeding with digitizing, in order to return the cursor behavior to normal.  If you don't, you will inadvertently continue zooming instead of measuring!

manual zoom off	click on this control to return the cursor behavior to normal so that you can continue digitizing.  (If you forget to do this, try using "undo pending" and/or the sample editing controls (see below) to reset the program status to READY and eliminate accidentally digitized data.)

(The   "manual zoom on/off"   buttons simply execute the MATLAB functions  "zoom on"/"zoom off"  functions, thus enabling/disabling all of the standard MATLAB cursor-controlled zoom features.)

#### 2.1.3  digitizing mode controls

2-pt	click here when you wish to digitize subsequent samples using only two points, that is, to measure sample lengths along a straight lines.

n-pt	click here if you want to digitize a sample using multiple points along the curve which you trace with the cursor from one end of an organism to the other.  This control works in conjunction with the "n-point digitizing mode" menu item under Preferences on the Main Window menu bar, as follows:

If the "n-point digitizing mode" option is set to "n-pt persistent", the program will not return to 2-pt mode until you click the "2-pt" control.

If the  "n-point digitizing mode" option is set to "n-pt one-shot",  the program mode will automatically return to 2-point mode after each measurement.

#### 2.1.4  sample editing controls

select by number	click here to select a sample for editing by referring to it by its sample number.

select by cursor	click here to select a sample for editing by clicking on the sample with the cursor.

select by region	click here to select all of the samples in a rectangular region for editing, using to cursor to specify the desired area.

delete selection	click here to actually eliminate the sample(s) you have selected for editing.

cancel selection	click here if you change your mind and decide NOT to delete or alter the samples you have selected for editing.

change species	click here to change the species of the sample(s) you have selected for editing.

The resulting message box will ask you if you want to change the species code of ONE species or ALL of the length measurements in the selected region.  (You can also CANCEL the overall selection.)

If the answer is ALL, next click on the species button of the new species you wish to assign to all the selected samples.

If the answer is ONE, you must first click on a species button to indicate which species within the selected region you wish to change.  You must next click on the species button of the new species you wish to assign to the selected samples.

A message box will appear asking you to confirm your change(s), after which the program will re-calculate sample weights, update the measurement lines on the image, and update the output .mat and .dat files.

Samples will be deleted if they no longer satisfy the length restrictions associated with the new species assignment.  A mistake here can cause you to lose previously measured lengths.

#### 2.1.5  species buttons

click on one of these colored controls to select the species you wish to assign to subsequent digitized samples

#### 2.1.6  species counts

these colored boxes, which are adjacent to each species button, indicate the total number of successfully digitized samples of each species.  The counts do not include samples that have been manually deleted, or those automatically rejected because they are of illegal length.

#### 2.1.7  information box

displays the names of the input image file and the output .mat data file.  It is located at the bottom of the window.

#### 2.1.8  selected species box

displays the species name, species code number, and color of the currently selected species.  It is located at the bottom of the window, next to the information box.

#### 2.1.9  status box

displays the status of the program.  A status of READY indicates that the program is able to accept new digitized input, that is, the cursor is enabled to record image coordinates either for 2-point or n-point mode.  Here is a complete list of status messages, most of which are self-explanatory.

BACKING UPTO .mbk FILE

CREATING SPECIES BUTTONS

DEL, CANCEL, OR CHANGE SPEC

ENTER IMAGE PARAMETERS

ENTER A SAMPLE NUMBER

MAKING SPEC/LEN EDITOR

OPENING OUTPUT FILES

PRESS A SPECIES BUTTON

READING IMAGE FILE

READING SAMPLE 150 of 500

READY

REPLOTTING SAMPLES

SELECT SAMPLE BY CURSOR

SELECTING SPECIES BUTTONS

WAITING FOR POINT 2

WAITING FOR SPECIES CODE

WAITING TO SELECT REGION

#### 2.1.10  refresh screen

Occasionally the program (or the operating system) gets confused and fails to update the display with the most recent graphics information.  If you think this has happened, try using this button to execute a MATLAB refresh command.  This will often fix the problem.

#### 2.1.11  undo pending

If you change your mind part way through a sequence of point and click operations and wish to return to  READY status, click on this button.

#### 2.1.12  ABORT

This is the "kill" button!   When the program hangs or some other unusual event occurs, use this button to stop the program without writing anything more to any files.  The button essentially wipes out all windows and exits MATLAB immediately.  It should be used only in an emergency.  After clicking on Abort, a red button will appear in the upper right corner of the window.  Click on the red button to actually abort the program.  Or, if you change your mind, click on "DontAbort" on the menu bar to make the red button disappear.

### 2.2	MAIN WINDOW MENUS

Here is a diagram showing the hierarchy of DIGITIZER Main Window pull-down menu options, each of which is described in the subsections that follow.

#### 2.2.1  File

write  lengths	writes a text file containing all the measured length data.

write  weights	writes a text file containing all of the derived sample weights which have been calculated from measured lengths, using the weight formulas in the currently active weight  file (default.wgt or your own alternative  .wgt  file).

write  statistics	writes a text file containing basic statistics derived from the lengths of the measured samples.  This includes the minimum, maximum, and mean, as well as the sample count for each species.  It also (optionally) includes the sample standard deviation and the population standard deviation for each species.

write  histograms	brings up the Edit Plate Parameters Window.

This window allows you to enter all of the experimental parameters associated with the image that DIGITIZER needs in order to calculate abundance and biomass.

It allows you to generate histogram files of your data, separated into bins according to length, weight, or sample count.

In the case of sample lengths, the window provides controls for specifying the particular method of assigning length bins, and for subsequently plotting histograms (bar plots).

(Note:    The length, weight, statistics, and histogram text files may be easily imported into Microsoft EXCEL spreadsheet, using the following sequence of  Version 2000 EXCEL  menu and option choices:       File/Open,   Delimited,   Space Delimiters,   Finish. )

Read alternate weights file	provides a means of changing the file from which are imported the formulas for calculating weights as functions of lengths for various species.

Recalculate sample weights	allows you to actually use the formulas in the alternate weights file (read in above) to recalculate the weights of all the previously measured samples A WARNING message is issue because all future statistics will be based on the new weight formulas, thus making previous results invalid.

Save species file As …	writes a new species parameter file that may be used for future DIGITIZER sessions instead of the default species parameter file "default.men".  Species parameter files have the file extension .men.  They are text files which may be (carefully) edited with a text editor to alter species colors, length limits, and/or the visibility of species buttons on the main menu.

SAVE DATA and continue	saves your latest measurements in the current output  .mat and  .dat files.

You should execute this option whenever you what to insure that your latest measurements are permanently recorded.

Even if you don't do this, the program automatically does it after every 20 new samples, as well as whenever existing measured samples are deleted or their species codes changed.

SAVE DATA and restart	saves your latest measurements in the current output  .mat and  .dat files, resets all of the program’s internal variables and data tables, and allows you to begin a new digitizing session.

SAVE DATA and quit	saves your latest measurements in the current output .mat and .dat files, quits DIGITIZER, and exits MATLAB.

Selecting this option brings up another submenu which requires you to confirm that you wish to quit (Yes), or else change your mind and continue digitizing (No).

#### 2.2.2  Edit

edit species buttons, lengths	opens the Edit Species Parameters Window (described in Section 2.3)

edit colormap	opens the Edit Colormap Window (described in Section 2.4)

generate random cells	opens the Random Cell Generator Window (described in Section 2.5)

#### 2.2.3  View

show (hide) sample numbers	optionally displays yellow sample numbers at both ends of each digitized sample on the image.  The size of the text font used for sample numbers may be changed using the "change sample number size" submenu option (below).

hide (show) cell numbers	optionally displays red cell numbers near the edges of the displayed image.

change sample number size	allows you to change the font size of the yellow sample numbers.  The choices are the  8, 12, 16, 20, and 24 point fonts.

#### 2.2.4  Preferences

n-point digitizing mode	This option works only when the program is in n-point mode, as determined by the "n-pt" control button on the Main Window. The two choices are:

n-pt one-shot	with this selection, the program will revert automatically to 2-pt mode after a single n-point measurement has been made.

n-pt persistent	with this selection, the program will remain in n-pt mode as long as the Main Window "n-pt" mode button has been selected  (i.e., highlighted in green).

The program will return to 2-pt mode when either the Main Window 2-pt mode button is clicked, or the above "2-pt one-shot" option is selected and one more sample is digitized.

region selection criteria	This option affects the manner in which previously digitized samples are chosen for editing (removal or a change in species code)  when the "select by region" button is activated on the Main Window.  The two options are:

one end in region	if either end of a sample lies within the  red selection box, that sample will be included in the selection.

both ends in region	the sample will be included in the selection only if both its ends lie within the red selection box.

(Note: 	The program does NOT look at intermediate points, so the fact that a sample track passes through the red selection box is not sufficient to include the sample in the selection.)

species selection mode	This option affects the functioning of the species selection buttons in the Main Window.  The two choices are:

enter before all measurements	This option specifies that once you have chosen a particular species using one of the species selection buttons on the Main Window, that selection stays in effect until you choose another species.  This is the normal (default) option.

enter after each measurement	This option specifies that you MUST, after digitizing each sample, immediately click on one of the species selection buttons on the Main Window, before proceeding to digitize another sample.  This option is provided for situations where the species of the sample to be digitized changes very frequently

print std devs in s'sheets?	This options enables or disables the printing of population standard deviations and sample standard deviations in the histogram and statistics output files.  The choices are yes and no.  The default is yes.

beep on/off	This option determines whether or not an audible beep occurs when attempting to digitize samples of illegal length.  The submenu choices are on, and off.

2.2.5  Abort (Don't Abort)

stops DIGITIZER and MATLAB without saving the latest digitizer data or parameter changes.  To actually complete the Abort process, you must click on the red "ABORT" button that appears in the upper right corner of the screen.

If you change your mind, click "Don’t Abort" on the menu bar.

### 2.3	EDIT SPECIES PARAMETERS WINDOW

When you select the "edit species buttons, lengths" of the Edit pull-down menu, DIGITIZER creates the Edit Species Parameters Window, which looks like this.  The subsections below describe the various control items, which may be used to change the color of the species buttons, alter the sample legal length limits associated with each species, and either show or hide individual species buttons in the Main Window.

There are three kinds of species buttons in the Edit Species Parameters window:

buttons 1  to 110  (various colors)  are standard species selection buttons;

buttons 111 to 119  (pink  and  unnumbered)  are for setting up groups of species for purposes of generating statistics for combinations of  species

button 120  (magenta)  is the special species button (labeled "999 ????") for highlighting any object in the image with a "marker" dot.

#### 2.3.1  species color buttons 1 to 110

Clicking on one of these buttons brings up another smaller sub-window which contains controls for changing (a) the color associated with this species, (b) the minimum and maximum allowable lengths for measurements of this species, and (c) whether or not this species button appears on the main menu.

#### 2.3.2  changing the species color

The color associated with a particular species is determined by the settings of the three color components labeled red, green, and, blue.  The color choice affects both the color of the species button on the Main Window and the color of the lines drawn on the image when you measure specimens of that species.  To change the color of a species, you change the setting of each the three color components to a fraction between  0.0  and  1.0.

Be sure to press "enter" on the keyboard to successfully change each component.

The settings for several primary (bright) colors are listed below.

red		1.0	0.0	0.0

yellow		1.0	1.0	0.0	(because red and green make yellow*)

green		0.0	1.0	0.0

cyan		0.0	1.0	1.0	(because green and blue make cyan*)

blue		0.0	0.0	1.0

magenta	10.	0.0	1.0	(because blue and red make magenta*)

white		1.0	1.0	1.0

black		0.0	0.0	0.0

(*  Note:  These rules apply to "additive" color systems such as those used on display monitors;  you should consult a textbook on color theory for an explanation of how this differs from the "subtractive" color systems used by printers.)

You can experiment with creating other colors,by choosing intermediate values for one or more of the primary color components in the above table.

For example, here's how to turn a bright color into a pastel..Just add a few tenths to the smallest color component(s) such as the zero(s).  Thus, red (1.0   0.0   0.0) becomes pink (1.0  0.75  0.75),  or  yellow (1  1  0)  becomes pale yellow  (1.0   1.0   0.5).

You can darken a color, for example, you can convert orange (which is full red plus half green)  (1.0   0.5   0.0)  into brown  (which is dark orange)  (0.7    0.4   0.0)  by decreasing the larger of the color component(s) by a few tenths.

#### 2.3.3  changing the species allowable length limits

Change the maximum and/or a minimum allowable species length (in millimeters) in the  max  and  min  edit boxes.  Any subsequent measurement of this species will be rejected if its length is found to lie outside of these new limits.

#### 2.3.4  adding a species button to the Main Window

To add a button for this species to the Main Window, check the "show on main window" box in the upper left corner of the Set Length Limits … window.

#### 2.3.5  verifying the color, allowed length, or main window visibility changes

To have either a new color/visibility combination or new length limits take effect in the Edit Species Parameters Window, click on the appropriate "apply color/visibility change" or "apply length change"  button.  To undo your most recent change, click on the corresponding "undo color/visibility change" or "undo length change" button.

#### 2.3.6  saving the color, allowed length, or main window visibility changes

To save your changes so that they will be automatically in effect when you later continue digitizing samples on this image, click on the appropriate "save species color/visibility change" or "save length change"  button.  If you want to save your new settings for use with all future digitizing sessions, even on other images, use the "Save species file as…" option under the Main Window "File" menu.

If you have "applied" some species parameter changes during this session but have yet to "save" these changes, digitizer will ask you to save or discard the changes when you exit the program.

#### 2.3.7  species color buttons  111-119

If you want DIGITIZER to gather statistics on a combination of two or more species as a single category, you can use one of these special species buttons to define that category.  If you click on one of these button, say the one just below the button labeled "110 unk24", a small sub-window will appear, in which you may type a string of species codes,  for example,   1  2   ,   or   1,2   .   Subsequent statistics generated using the various options under the Main Window File menu will now include information derived from the superset of all samples  of species 1 and species 2 combined.

#### 2.3.8  species color button 120

This special species code should be used to mark samples for special consideration, such as those that require further scrutiny or those that are unrecognizable.  For this species, lines drawn on the image are highlighted with special magenta dots.  No statistics are derived for this species code.  Data for this species code may optionally be included in the histograms that are plotted and listed using the Main Window File "write histograms" option.

### 2.4	EDIT COLORMAP WINDOW

When you first import an image, it may appear washed out or too dark.  DIGITIZER allows you to adjust the brightness and contrast to improve visibility.  When you select the "edit colormap" option from the Edit pull-down menu on the Main Window, the Edit Colormap Window will appear on the screen.  The control in this window can be used to affect the appearance of the digitizer image in a number of ways.

The image "exposure curve", which is the relationship between the byte value of a particular pixel appearing in the image file and the screen color used to display that pixel, can also be varied in order to change the range, intensity, and contrast of the image.

The overall color tint of the image can also be altered to further improve the visibility of the samples in the image.

The Edit Colormap Window also displays a list of the current values of the important program parameters that are in effect for the particular samples being digitized.

#### 2.4.1  graph area

shows a plot of the relationship between the input value of a

pixel in the image and the output value of that pixel on the display screen.   The blue curve has three sections separated by two blue circles.  You can grab a blue circle anywhere within the plot box, use it to move the corresponding cusp of the curve to a new location, and then press apply temp to change the contrast and brightness of the image.

#### 2.4.2  gamma

enter a small number (e.g., 0.6, or 1.5) and press gamma to

change the shape of the "exposure curve" between the two blue circles in the graph area.

#### 2.4.3  linear

click to restore the exposure curve to a straight line between the two blue circles in the graph area.

#### 2.4.4  red, green, blue

three editable numbers between 0 and 1 which determine the overall tint of the image by determining the intensity levels red,

green, and blue pixels respectively.

#### 2.4.5  tint

click to show the new tint scale in the colorbar below the graph area.

#### 2.4.6  save

this saves for future digitizing sessions the current settings of all the colormap parameters controlled by this window.

#### 2.4.7  apply

click to put your parameter changes into affect.

#### 2.4.8  left x, left y

the x and y coordinates of the leftblue circle.  You can change each of these to an integer between 0 and 255 as an alternative means of relocating the blue circle.

#### 2.4.9  right x, right y

same as above, for the right blue circle.

#### 2.4.10  undo

click to restore the colormap settings to their values just prior to the most recent change you made.

#### 2.4.11  reset

click to restore the original colormap that was in effect when the session began,  (If you have already saved your new values, reset  will not restore the original settings.)

#### 2.4.12  close

click to close the Edit Colormap window

### 2.5	RANDOM CELL GENERATOR WINDOW

Selecting the "generate random cells" option from the Edit pull-down menu of the Main Window creates a small window in which you can enter the approximate dimensions of the overall image (i.e., the number of cells wide vs. the number of cells high), and the number of random cells you wish to select from the overall image.

When you click on "generate random cells" in this window, the program creates another window containing a list of the cell coordinates of the randomly selected cells, together with a map of where these cells are located.

#### 2.5.1  columns

enter the number of columns of cells in the overall image (rounded to an integer).

#### 2.5.2  rows

enter the number of rows of cells in the overall image (rounded to an integer).

#### 2.5.3  cells

enter the number of cells to be selected randomly from the total (columns X rows).

#### 2.5.4  generate random cells

click here to execute the random cell generator.  This creates another window with the list of the selected cells and a diagram of their locations.   The diagram is divided into approximately equal quadrants.  The originating image file name is used as the title of the diagram.  You can print the window and use it as a guide in choosing where on the image to make measurements.

### 2.6	EDIT PLATE PARAMETERS WINDOW

When you select "write histograms" from the File menu of the Main Window, the program creates the Edit Plate Parameters Window shown here.  You use this window to enter various parameters associated with each digitized species and with the overall sample collection.  These parameters determine the overall calibration of the measurements, the scaling factors used for those species that were measured on only part of the image, and the histogram bin assignments.

The window is divided into several sections, each of whose controls are described in the following paragraphs.

#### 2.6.1  setting parameters that are common to all species

In order for DIGITIZER to produce histograms having the proper physical units, for example, abundance data in counts per cubic meter  ( 1/m^3 ), or biomass in milligrams per cubic meter  ( mg/m^3 ), you must provide the program with the volume of the originating water sample.  Also, if the image you used for taking measurements was created by photographing only a fraction of the entire water sample, you must inform the program of the "split fraction", that is, the fraction of the total water sample you actually used to make the image.  These two numbers can then be used to convert the count and weight data derived from your measurements into abundance (in counts per cubic meter) and biomass (in milligrams per cubic meter).

You provide these pieces of information in the top section of the Edit Plate Parameters window which contains edit boxes for entering the values for (a) the total volume of water from which the samples were filtered, (b) the total number of grid cells that were drawn on the image when the digitizer session was initialized for this image, and (c) the "split factor".

In many cases, you may not measure samples in all of the grid cells on a particular plate.  For example, there may have been so many small copepods that you chose to measure them in only 160 of the 800 cells on a plate.  In a case like this, DIGITIZER requires that you provide the total number of cells on the plate and the number of cells in which you actually took measurements for that particular species.

As another example, if you gathered (filtered) samples from 300 cubic meters of water, used one quarter of them to make the image, and then created an overlay grid which had 25 by 32 cells, you would enter:  volume filtered of  300;  total number of  800  cells ;  and split factor of  0.25.    The volume filtered value will then be applied to all measurements, irrespective of species.  The total number of cells and the split factor will also be applied to all measuerments, but will be adjusted to take account of those species which were purposely NOT measured in every cell (see next section).

#### 2.6.2  setting parameters that are specific to each species

The second section from the top of the Edit Plate Parameters window contains the two edit boxes for each individual species, one for the number of cells and the other for the split factor.

You can override the total number of cells by entering a specific value for the number of cells you actually used in measuring a particular species.  For example, if you only used 30 cells to measure small copepods (species code 1), then you would change the value in the "Ncells" box adjacent to "1 copsml" to 30.   This will cause DIGITIZER to multiply the count and weight data for this species by the ratio of the total cells to the actual number of cells measured, in this case 300/30 = 10, before calculating statistics for small copepods.

In a similar manner, you can override the split factor that was used when measuring a particular species.  This might be required if you measured additional samples of a certain species using another image taken from a different portion of the total water volume filtered.  (This situation is not likely to occur very often.  The option has been provided with a future version of DIGITIZER in mind, one where measurements from multiple images can be readily combined in a single output file.)

#### 2.6.3  updating the test histogram

The next lower section from the top of the Edit Plate Parameters window shows a test histogram (bar plot) that uses a simple "ramp" function to illustrate the current selection of bin parameters.  After adjusting one or more axis and bin selection parameters (described below), you can click on "update test histogram" to see what your bins are going to look like when you plot or print your actual data.

#### 2.6.4  setting parameters that affect the plotted and printed length histograms

The third section from the top of the Edit Plate Parameters window contains several controls for specifying and previewing the bin assignments that will be subsequently used by DIGITIZER to produce printed and plotted histograms of the LENGTHS of your measurements.  (There is no provision in this version of DIGITIZER for making plots of WEIGHTS or COUNTS of your measurements.)

You can choose one of three means of distributing your measurements into length bins, two of which use the base10 logarithms of the lengths.  In each case, you can select the minimum bin boundary, the maximum bin boundary, and the overall bin spacing.

If you plan to make measurements on several images, it might be a good idea to first decide on a standard set of settings for the various binning parameters.  Then you can use these standard bin settings whenever you create histogram files of data from any one of your images.  This will make it much easier to compare histogram results derived from different images with one another.

The next few paragraphs describe the various binning options in more detail and include sample test histograms (actually, portions of the Edit Plate Parameters window) to illustrate the options.

The controls in this section of the window only affect the plots and printouts of length histograms.  They have no effect on weight and count histograms.

select length histogram type

This button cycles the bin assignment type among the three major choicesof bin types, as described below:

linear

This makes bins of equal width, in units of length.

The first example shows the use of linearly spaced length bins with a minimum length of zero millimeters, a maximum length of ten millimeters, and ten bins in each major length interval.  The overall number of bins in this case is 100  ( 10 x 10 ).  The axis scale factor is one.

(To reproduce the test histograms shown here and subsequently apply the same bin choices to your data, use the various button controls described below to match the settings shown.  Then click on  "update test hist".  Then click on  "plot hist".)

The second example of linear binning uses an axis scaling factor of 0.1, a minimum length setting of 2, a maximum length setting of 4, and a bin spacing of 20 per major length interval.  The minimum and maximum settings are multiplied by the scaling factor to yield a minimum length of 0.2 millimeters and a maximum length of 0.4 millimeters.  The total number of bins is 40  ( 20 x 4 ).

log (equal bin)

This makes bins of equal width, in units of  "log-base-10-of-length".

The first example uses bins based on log10(length), a minimum bin boundary of 10^-4 millimeters (0.0001 mm) and a maximum bin boundary 10^+4 millimeters (10000.0 mm).  Within each decade, there are 10 bins whose boundaries corresponding to the series  10^-4.0 mm,  10^-3.9 mm,  10^-3.8 mm,  10^-3.7 mm,…..10^+3.9 mm,  10^+4.0 mm.  The overall result consists of 80 bins of equal width ( 10 bins/decade x 8 decades ),  plotted on a log10 axis.

The second example uses 5 bins per decade, a minimum of 10^+0 ( 1.0 mm), and a maximum of 10^+3 (1000.0 mm).  In all, there are 15  ( 5 x 3 ) equal-width bins plotted on a log10 axis.

log (std decades)

This defines bins of equal width in units of length within each decade, but increases the individual bin width by a factor of 10 for each successively higher decade.  The results are plotted using a log base 10 axis.

(NOTE:  Statistics that are derived from histograms that use this binning arrangement should be interpreted cautiously, because the bin widths are not consistent across the entire range of lengths.)

The first example illustrates this alternate choice of log10 binning.  Here, the miniumum length is 10^-2 ( 0.01 mm ), the maximum length is 10^+3 ( 1000.0 mm ), and the number of bins per major interval is 10.  In contrast to the above examples, however, the bin boundaries within each decade correspond to the piecewise series:

log10(0.01),

log10(0.02),  log10(0.03),……  log10(0.09),  log10(0.10);

log10(0.20),  log10(0.30),……  log10(0.90),  log10(1.00);

log10(2.00),  log10(3.00),……  log10(9.00),  log10(10.00);

log10(20.0),  log10(30.0),……  log10(90.0),  log10(100.0).

log10(200.),  log10(300.),……  log10(900.),  log10(1000.).

The second example uses  10^-4 mm  and  10^+4 mm  for the minimum and maximum bin boundaries, and 5 bins per decade.  The resulting bin boundaries comprise the piecewise series:

log10(0.0001),

log10(0.0002),  log10(0.0004),  log10(0.0006),  log10(0.0008),  log10(0.0010);

log10(0.0020),  log10(0.0040),  log10(0.0060),  log10(0.0080),  log10(0.0100);

log10(0.0200),  log10(0.0400),  log10(0.0600),  log10(0.0800),  log10(0.1000);

log10(0.2000),  log10(0.4000),  log10(0.6000),  log10(0.8000),  log10(1.0000).

log10(2.0000),  log10(4.0000),  log10(6.0000),  log10(8.0000),  log10(10.000).

log10(20.000),  log10(40.000),  log10(60.000),  log10(80.000),  log10(100.00).

log10(200.00),  log10(400.00),  log10(600.00),  log10(800.00),  log10(1000.0).

log10(2000.0),  log10(4000.0),  log10(6000.0),  log10(8000.0),  log10(10000.).

For each axis type, you can cycle through a number of numeric choices using the  "^ " (up) and "v" (down) buttons associated with each option.  The "bins/decade" cycles from 1 to 20.  The choices for the other parameters vary, but the upper bin limit is constrained to be greater than the lower bin limit.

The controls are:

min length

Sets the lower bin limit.

max length

Sets the upper bin limit.

bins/decade

Sets the number of bins in each decade (group of 10 bins).

scale factor

For the linear binning option, this sets a multiplier for the lower and upper bin limits.

bin label format

For the two log binning options, this determines how the bins will be labeled in the left hand column of the histogram output spreadsheet data.  Click on the "bin label format" button to cycle through these three options:

length		histogram rows labeled by length

log(length)	histogram rows labeled by log(length)

len,log(len)	histogram rows labeled by both length and log(length)

The results of this option show up only in the histogram output files, not in the histogram plots.

#### 2.6.5  making a histogram plot

To get a histogram plot of your real data, click on the "plot hist" button near the bottom left corner of the window.  This creates a Length Histogram window containing a histogram plot of your data, binned according to sample length.

The Length Histogram window has several controls for selecting the species and adjusting the tick mark labels.

enter species number (0 => all):

To plot a particular species, enter its species code in the edit box in the upper right corner of the window.  A species code of  0 will result in a histogram based on the lengths of all the species combined.

include species 120:

Samples represented by the "special" species code "999 ????"  will not be  included in this histogram unless the "include species 120" checkbox is marked.

show outlier dots:

The counts of outliers, that is, samples whose lengths are less that the bin minimum or greater than the bin maximum, are designated by red dots at the edges of the plot.  If you un-check the "show outlier dots" checkbox, these dots will not be shown.

You can print the histogram plot by using the print option of the File menu at the top of the Length Histogram window.   The controls boxes in the window will be included on the plot, but they don't look very good on certain printers.

NOTE:  If you are very careful you can enter a series of statements in the MATLAB command window which will temporarily hide the controls on the plot so that the printed copy will look better.  These statements involve identifying the MATLAB "graphics object handles" for the GUI controls on the plot, and then disabling their "visibility" properties.

If you want to do this, here's how:

- Click on the top of the Length Histogram window to make it the last

active MATLAB figure.

- Click DIRECTLY on the MATLAB Command Window.  (Don't click on

any other MATLAB figure or the next statement won't work preperly.)

- Keyin these MATLAB statements:

>> gcf

(This should return the number 55. If it does not, repeat steps 1 and 2 until it does.)

>> ixxxx = findobj(gcf,'type','uicontrol')

>> set(ixxxx,'vis','off')

(4)	Now use the print option of the File menu at the top of the Length

Histogram window to print the histogram.

- To restore the control boxes on the plot, use the MATLAB Command Window to keyin:

>> set(ixxxx,'vis','on')

#### 2.6.6  writing a histogram file

At the bottom of the Edit Plate Parameters window are buttons for creating ASCII files containing the histogram data.  Each button brings up an appropriate file selection window in which you can specify a destination directory and filename.  DIGITIZER then writes a text file which is easily imported into the EXCEL spreadsheet program.  (The files look peculiar when listed as pure text because they are" blank-delimited" in order to make the EXCEL importing step more robust.)

In the case of the "Write length histogram" button, the data in the text file should exactly match the data in the length histogram plot (described above).

There is a significant difference between the bins boundaries that are used for length histograms, and those that are used for either count or weight histograms.  For the length histograms that use logarithmic bins, the logarithms are base 10 logarithms.

In contrast, the count and weight histograms both employ traditional "octave" binning according to weight class.  Octave binning uses bin boundaries that increase successively by factors of two, with an occasional rounding off to avoid cumbersome fractions.  (This binning arrangement may be thought of as logarithm base 2 binning, ignoring the slight discontinuities at the roundoff points).

Thus, DIGITIZER's octave binning scheme employs the following sequence of bin boundaries:

0.000008,  0.000016,  0.000032,  0.000064,  0.000128,  0.000256,  0.000512,

(roundoff the next value from   0.001024    to    0.001000)

0.001,  0.002,  0.004,  0.008,  0.016,  0.032,  0.064,  0.128,  0.256,  0.512,

(roundoff the next value from   1.024    to    1.000)

1,  2,  4,  8,  16,  32,  64,  128,  256,  512,

(roundoff the next value from   1024    to    1000)

1000,  2000.

#### 2.6.7  closing the window

The Close button closes the Edit Plate Parameter window and the Length Histogram window.

## 3	TUTORIALS

The tutorial exercises assume that you have already installed MATLAB and know something about how to use it.  They also assume that you know how to use Microsoft Windows, and that you have installed and are somewhat familiar with Microsoft EXCEL.

Here's how to install DIGITIZER.

STEP1:  Copy ONE of the program folders from the distribution CD to your hard disk.  The choice depends on which version of Windows and which version of MATLAB you are using.

For Windows 98 and MATLAB 6.1, copy folder  dig100w98m61  from CD to hard disk.

For Windows 98 and MATLAB 6.5, copy folder  dig100w98m65  from CD to hard disk.

For Windows 2000 and MATLAB 6.1, copy folder  dig100w2000m61  from CD to hard disk.

For Windows 2000 and MATLAB 6.5, copy folder  dig100w2000m65  from CD to hard disk.

STEP 2:  Change the name of the resulting hard disk folder to  dig100.

STEP 3:  Copy the tutorial folder  tut100   from the distribution CD to hard disk.

STEP 4:  IMPORTANT:  Change the disk access properties of both folders and all the files in them to READ/WRITE access, by un-checking their "Read-only" Attributes.  Here's how to do this:

In My Computer or Windows Explorer, select the file(s) or folder(s) whose disk access property(s) you want to change.

(You can select multiple files or folders by using the shift key in the customary Windows manner:  click on the first file in the contiguous list of files or folders to be selected;  then hold down the shift key and click on the last file in the contiguous list of files or folders to be selected.)

On the File menu, click Properties.

(You can also right-click a folder or file on your desktop, and then click Properties.)

Un-check the "Read-only" checkbox in the Properties dialog box and click OK.

The tutorials below assume that you have copied the folders to hard drive D.

You can change the folder names if you wish, but don't change any file names.

### 3.1	TUTORIAL  1

This tutorial shows you how to start DIGITIZER, how to add a few new measurements to an existing output file that already contains several previous measurements, how to save your results, and how to import your results into an EXCEL spreadsheet.

Using Windows Explorer or some other file copying method of your preference, make a copy of the file tutorial.mat  and call it  mytutorial.mat.

(You should do this at the start of any exercise that uses the tutorial.mat  file, for example, Tutorial 3.  If you forget, you can always restore the original tutorial.mat  file from the distribution medium.)

Start MATLAB and at the prompt ( >> )  keyin:

>>cd  d:\tut100 ;

>>path(  'd:\dig100' , path  ) ;

>>digitizer

(You can instead add the tutorial path with the File/Set Path menu option in the MATLAB Command Window.)

Close the Copyright window, or wait a few seconds for it to disappear.

#### 3.1.1  Select the input and output files

In the input file selection window, enter   *.jpg  in the file name box , and double click on file  tutorial.jpg.  (This window may be hidden behind other windows, so you might have to click on its icon on the Windows taskbar.)

In the Job Type message box, select ”Existing” .

In the output file selection window, double click on the file  mytutorial.mat.

The Main Window should now display an image of a digitized sample plate. Superimposed on the image are a reference grid and several colored lines indicating organisms that have already been measured.  You are now ready to measure some more organisms.

#### 3.1.2  Add your own measurements

Enter the numbers 5 and 2 in the "column" and "row" edit boxes respectively, and then click on  "select a cell" .

Click on "zoom out" to change the display to include the nine cells centered on cell 5-2.

Click on "2 coplrg" to indicate that you are going to measure large copepods.

Click on the upper end of the large copepod in cell 6-1.  Then click on the lower end of the same copepod that is in cell 6-2.  See Appendix 1 for measurement guidelines.

A yellow line with X's at the ends should appear on the image, and the MATLAB Command Window should display information regarding the measurement (sample number, species number, length, calculated weight, cell location, plate name, and split factor).

If you change your mind part way through the measurement, you can click on the "undo pending" button in the Main Window and then begin the measurement over again.  To try this, click on one end of a copepod, but stop before you click on the other end.  Now click on "undo pending" to cancel the effect of the partial measurement you have just made.

In a similar manner, measure the large copepod in cell 4-1.

Now pan to cell 6-4 using the  " v", "^", ">", and "<"buttons until it is in the center of the display and then click on  "zoom in".

Click on the "1 copsml" button so that you can now measure small copepods.

Successively click on both ends of several small copepods.  Each successful measurement should result in a red line on the image.

Pull down the Main Window File Menu and select "SAVE DATA and continue".

This writes your measurements to two separate files:

the MATLAB-formatted (non-printable) file named   “mytutorial.mat”   which you chose when you started the program, and

a text-formatted (printable) file named   mytutorial.dat   which is given the same name as the .mat file but with the file extension .dat .

The older versions of these two files are replaced.

List the contents of the text file in the command window by entering

>>type  mytutorial.dat

#### 3.1.3  Print statistics

From the Main Window File Menu select  "write statistics", and in the resulting output file selection window enter "stats1" to create an output statistics file.

Use EXCEL to open and examine stats1.txt, as follows:

Start EXCEL.

Open  stats1.txt.

Choose "Delimited", and click “Next”.

Choose  Delimiters:   "Space", and click “Next”.

Click “Finish”.

(You can also examine  "stats1.txt" with your favor text editor, but the file is difficult to read because it is blank delimited and therefore not well collimated.)

#### 3.1.4  Save you results and quit DIGITIZER

In DIGITIZER, from the FILE Menu select "SAVE DATA and quit" and confirm the selection by clicking on "Yes".  This will update your output data files, terminate DIGITIZER, and exit MATLAB.

### 3.2	TUTORIAL  2

This tutorial shows you how to start a new digitizing session on a new sample plate, how to tailor the appearance of the Main Window and its image to your liking, and how to make measurements of samples along curved lines.

As you did in the previous tutorial, start MATLAB, change directories, update the path, and start DIGITIZER  (see Section 3.1).

Again, select   tutorial.jpg   in the input file selection window.

This time, click on “New” in the Job Type message box.

Enter a new filename   mytutorial2.mat   in the output file selection box and click on "save".

Select the file   alternate.men   from the menu file selection window and click on "save".

#### 3.2.1  Initialize the calibration parameters and image reference grid:

In the blue edit boxes in the upper right corner of the Main Window, replace the default text items with the following:

plate:		tutorial 2

split:		0.25

xoff(pix):	10

yoff(pix):	20

pix/inch:	1200

cm/cell: 	1.0

Click on "set parameters" to observe the reference grid on the image.

(You can repeat these steps if you make a mistake.)

Click on "OK TO START" to accept these settings, and then click on "YES" in the resulting WARNING message box to make these choices permanent.

#### 3.2.2  Edit the colormap of the image to improve its contrast.

Choose the "edit colormap option from the MainWindow Edit menu to bring up the  "Edit Colormap" window.

In this window, using the left mouse button and the cursor, drag the upper righthand blue circle in the white plot area to the approximate coordinates 110,160.  This changes the "exposure curve" (a photographic term) in the color bar directly below the plot area.

(You may have to grab the circle by its bottom half because the cursor is not active if it is outside the white plot area.)

Alternatively, you could have entered the numbers 110 and 160 in the right x and right y edit boxes respectively, and then clicked on “linear” to update the colorbar.

Click on the “apply” button to make the new exposure curve take effect on the actual image.

Change the tint of the image from pale green to rose by entering 1,  0.9, and  0.9  in the red, green, and blue edit boxes respectively, clicking on “tint”, and then clicking on “apply”.

(If you don't like the revised exposure curve or the new tint, click on   reset.)

Click on the “save” button to make these changes permanent.

Click on the “close” button to close the Edit Colormap window.

#### 3.2.3  Change the allowable length limits for a species

Try to measure a large copepod.  You should hear a beep and get an error message in the command window informing you that the measurement was too long.  This has probably occurs because the minimum and maximum legal lengths for large copepods are set incorrectly.

To change these settings, select the "Edit Species Buttons, Lengths, …" option from the Main Window menu.

This creates the "Species Parameter" window which shows the current settings for the legal length minima and maxima.

Click on the yellow “2 coplrg” to create a "Set Length Limits …" window.

In this window, enter 2.5 and 10 in the minimum and maximum edit boxes respectively.

Click on “apply length changes”.

Click on “save length changes”.

While you are at it, change the length limits for small copepods as well.  First click on the red “1 copsml” button in the "Edit Species" window.  Then change the small copepod limits to 0.1 to 2.4999, click on “apply length changes”, and then click on “save length changes”.

Click on the X in the upper right corner of the "Edit Species Parameters" window to close the two windows.

Now you can measure large and small copepods correctly.

#### 3.2.4  Make some measurements using the  “2-point”  mode

To select and enlarge a subregion of the image, first click on the "manual zoom on" button in the Main Window.  This changes the function of the cursor from measuring to zoom control.

Using the left mouse button, stretch out a rectangular box on the image that encloses several copepods.  (To do this, place the cursor on the upper left corner of the desired area, press and hold the left mouse button, drag the cursor to the lower right corner of the desired area, and release the mouse button.)

Click on the "manual zoom off" button.  This changes the function of the cursor back to measuring.

Click on the “2 coplrg” species button and measure several large copepods (see Section 3.1.2).  Click on the “1 coplrg” species button and measure several small copepods.

Click on "refresh screen" in the Main Window to cause DIGITIZER to redraw the entire Main Window.  (Refreshing the screen may be necessary in certain circumstances, often when a point or line is removed from the image.  "refresh screen" puts DIGITIZER, MATLAB, the Windows operating system, the video driver and display, and so forth, back in step with each other.)

#### 3.2.5  Add a species button to the main menu and change its properties

Now you are going to measure the euphausiid in cells 7-8,  8-8,  and 9-8.  For increased accuracy, you would like to measure it along a curved line rather than along a straight line.  To make this measurement, you first have to do several things:

add the  “12 euphau”  species button to the main menu,

change the “12 euphau”  button color (so you can see the measurements better),

change the maximum and minimum allowable lengths for euphausiids,

use the new species button to select euphausiids, and

temporarily switch DIGITIZER to n-point mode.

To accomplish these items, do the following:

Select the "Edit Species Buttons, Lengths, …" option from the Main Window Edit menu to brings up the  "Species Parameter" window.

Click on the  “12 euphau“  button to create a "Set Length Limits" Window.

Make the following changes to the entries:

Check the box labeled "show on main window" in the top left corner,

Change the red, green , and blue edit boxes to 1,  0.75, and  0  respectively, and

Click on   “apply color/visibility changes”.

Change the min and max length edit boxes to 1 and 100 respectively, and

Click on  “apply length changes”.

A gold colored  “12 euphau”   button should now be included on the Main Window, and the allowed limits for euphausiids should now be listed as  1  and  100  in the   Species Parameters Window.

In the  “Set Length Limits”   window, click on   “save length changes”   to make the length limit changes permanent.

In the “Set Length Limits”   window, click on   “save color/visibility changes”   to make the new button color and its appearance on the Main Window permanent.

Click on the X in the upper right corner of the “Species Parameters Window” to close the windows.

On the Main Window, click on   “12 euphau”.

You are now ready to measure euphausiids.

#### 3.2.6  Measure a curved specimen using the  “n-point”  mode

Pan and/or zoom to the nine cells centered on cell 8-8.

Click on the button labeled "n-pt" to switch mode for measuring along curved lines.

Place the cursor on one end of the specimen, click and HOLD DOWN the left mouse button while tracing the cursor from one end of the organism to the other end.  Release the mouse button at the other end of the specimen. (If you want to make a lot of successive n-point measurements, use the n-point digitizing mode option in the Main Window Preferences menu to the select "n-pt persistent" setting.  Then you won't have to click on "n-pt" before each measurement.)

It takes a little practice to measure curved organisms smoothly.  The first few times you try to use n-point mode, you may want to delete the curve and try again.  In the next tutorial, you will learn how to delete measurements.

#### 3.2.7   Save your results and quit DIGITIZER

From the FILE Menu select "SAVE DATA and quit" and confirm the selection by clicking on "Yes".  This will update your output data files, terminate DIGITIZER, and exit MATLAB.

### 3.3	TUTORIAL  3

This tutorial shows you how to delete an unwanted measurement, how to change the species designation of a measurement that was originally categorized incorrectly, and how to use the species button  "999 ????"  to mark an item (such as an unknown specimen) for later consideration.

Start a new DIGITIZER session as you did in Tutorial 1  (see Sections 3.1 and 3.1.1).

Measure a lot of specimens of various species without worrying about whether or not you have made mistakes  (see Section 3.1.2)

Select   “SAVE DATA and continue”   from the Main Window File menu to update you r output files.

Now perform the steps in the following sections (in any order) to get the feel how DIGITIZER lets you edit and remove samples and from your output files.

#### 3.3.1  Remove measurements using  select by cursor

Click on the button labeled “select by cursor”.

Position the cursor over one of the colored lines on the image that represents a digitized sample, and click the left mouse button to highlight the sample.

Click on "delete selection" to remove that measurement from the screen.

#### 3.3.2  Change the species code of a measurement using select by number

Click on the  "show sample numbers"  button under Main Window View menu to display the sample numbers on the screen.  (If the numbers on the screen are too big, use the Main Window View option   "change sample number size"   to choose a smaller font.)

Click the button labeled  "select by number", and enter a sample number such as "3" in the white edit box that appears above the   select by number   button and press the "enter"  key on the keyboard.  Sample number 3 should be highlighted by a white dotted line.  The image should automatically zoom in to the cell containing sample number 3.

Click on "cancel selection" to keep the measurement because you have changed your mind and decided not to delete sample 3 after all.

Click on "select by number" again, and enter a  " 4" in the edit box to highlight sample number 4 on the image.

Click on the "change species" button.  The status message box should display "WAITING FOR SPEC CODE".

Click on the tan colored species selection button labeled  "7 cal1"  on the Main Window to change sample 4  from species 1 to species 7.

At this point the program will check to see if the lengths of the selected samples comply with the legal length limits for the newly assigned species 7.  If they do not comply, the error message   "One or more samples was deleted because its length was illegal"   will appear in a message box, and the non-complying sample(s) will be deleted from the image and from the output files.

#### 3.3.3  Delete multiple measurements at once using select by region

Zoom out to see a larger portion of the image.

Click on "select by region".

With the left mouse button, stretch out a rectangular region on the image that surrounds three or four samples.  A red rectangle should appear on the image, and a message box labeled "Select species within the red box" should appear on the screen.

If you don't like your choice of a selected region, click on “CANCEL” in the message box and repeat the above step.

Otherwise, click on “ALL” in the message box to select all the samples within the red rectangle.

(For details on which samples are considered to be within the rectangle, see "region selection criteria" in the Preferences Menu section of the documentation.).

Click on "delete selection".  A  "WATCH OUT!!!"  message box should appear warning you that you are about to delete several measurements.  There is currently no way to "undo" this operation, so be sure you've selected the right samples.)

#### 3.3.4  Delete specimens of a single species using select by region

Click on "select by region" again, stretch out another red rectangle around a few more measurements, click on “ALL” in the resulting message box, and then click on "cancel selection" in the Main Window to undo the entire selection.

Click on "select by region" again and stretch out another red rectangle that surrounds a few more measurements, this time including at least one small copepod (species code 1).

Now click on “ONE” in the resulting message box.

This should change the status message to "PRESS A SPECIES BUTTON".

Next, click on the "1 copsml" button on the Main Window to highlight only the small copepods inside the red rectangle.

Finally, click on "delete selection" to remove these measurement(s) from the image.

#### 3.3.5  Change species codes for several specimens at once using select by region

Click on "select by region" and stretch out a red rectangle on the image surrounding several sample of different species.

Select “ALL” in the "Select species…" message box.

Click on the "change species"  button on the Main Window.

The status message should change to "WAITING FOR SPECIES CODE".

Click on the species button "7 cal1".

A "WATCH OUT!!!" message box should appear.  Accept the changes by clicking on YES.

(At this point, you may get another WARNING message box informing you that one or more measurements have been deleted.    This occurs whenever a selected sample has a length that is legal for its original species code but is not legal for its new species code.)

To change the species codes of a SINGLE species within a selected region, again select by region, stretch out a red rectangle surrounding several measurements.

This time, click on “ONE” in the "Select species…" message box.

Pick out a specimen in the red box that has already been measured, and whose species designation you wish to change.  First click on the species button in the Main Window that corresponds to specimen you have picked out. This should highlight your specimen on the image, along with any other specimens within the red box also have this species designation.

Next, click on "change species".

Finally, click on the new (correct) species button in the Main Window, and confirm the change in the WARNING message box.

This procedure does several things for each of the altered specimens:  On the image, it redraws each specimen in a new color; it recalculates the weight of each specimen using the new species weight formula; it discards any specimen whose length no longer lies within the new species length limits; it rewrites the   .mat   and   .dat   output data files in order to replace the old data with the new data.

#### 3.3.6  Mark unknown specimens

Click on the 999 ???? button.

Go to cell 8-2 on the image and measure the diameter of the circular "thing" (actually a bubble) in the upper left corner of the cell.

Similarly, go to cell 8-8 and draw a circle abound the "blob" of specimens.  Use n-point mode by first clicking on n-pt and then tracing a line around the blob.

Click on "show all cells" in the Main Window to display the entire image so you can get a better look at how these "unknowns" are displayed.

#### 3.3.7  Save your results and quit DIGITIZER

From the FILE Menu select "SAVE DATA and quit" and confirm the selection by clicking on "Yes".  This will update your output data files, terminate DIGITIZER, and exit MATLAB.

### 3.4	TUTORIAL  4

This Tutorial  familiarizes you with some of the program output options.

Start MATLAB and DIGITIZER as you did in Tutorial 1 (see Sections 3.1 and 3.1.1).

#### 3.4.1  Create an output statistics file

Select the Main Window File "write statistics" menu item, and enter the output filename  "stats1"  in the Select Statistics Spreadsheet File window.

(You already did this in Tutorial 1 so in the resulting warning message box you will have to allow the program to overwrite your older stats1.txt file.)

Examine the file with EXCEL.

#### 3.4.2  Create output  length and weight files

Select the Main Window File "write lengths" menu item, and enter the output filename  "length1" in the Select Statistics Spreadsheet File window.

Select the Main Window File "write weights" menu item, and enter the output filename  "weight1" in the Select Statistics Spreadsheet File window.

Examine the results using EXCEL.

#### 3.4.3  Create a histogram plot of the measured sample lengths

Select "write histograms" from the File Menu.  This creates the "Edit Plate Parameters" window.

At the top of the window, enter the volume filtered,  total number of cells, and split factor edit boxes with the values 100,  64,  and  0.25 respectively.

Click on "plot hist" in the lower left corner to create a histogram plot.

To plot the bars for small copepods only, change the species code in the upper right edit box from  0 to  1  and press the "enter" key on the keyboard.

(If you want to improve the appearance of the plot and then print it, see the Edit Plate Parameters window options described in Section 2.6).

#### 3.4.4  Create a histogram file of the measured sample lengths

At the bottom of the "Edit Plate Parameters" window, click on "Write Length Histograms", and enter the filename "lenhist1" in the resulting file selection window.

Examine the output file using EXCEL.

The data in the spreadsheet should match the data represented by the bars in the above histogram plot.

#### 3.4.5  Create a histogram file of the counts of the measured samples

In the same Edit Plate Window, click on "Write Count Histograms” to produce a text formatted histogram file of the measured sample counts (the species abundance data).

Examine the output file using EXCEL.

#### 3.4.6  Create a histogram file of the weights of the measured samples

In the same Edit Plate Window, click on "Write Weight Histograms” to produce a text formatted histogram file of the measured sample weights.

Examine the output file using EXCEL.

#### 3.4.7  Save you results and quit DIGITIZER

From the FILE Menu select "SAVE DATA and restart".  This will update your output data files, but instead of terminating DIGITIZER, and exiting MATLAB, the program will reset itself so that you can immediately begin a new session.

(If you wish to quit this DIGITIZER session instead of proceeding to Tutorial 5, just select  "cancel" in the image file selection window and then click on "Abort" in the message box to exit DIGITIZER. Otherwise, proceed to Tutorial 5.)

### 3.5	TUTORIAL  5

This tutorial shows you how to select a random subset of the cells in your  image.  It describes how to customize the input file that determines the appearance of the Main Window.   It tells how to change the input file that contains the formulas for calculating sample weights.

If you are just starting a new DIGITIZER session, start MATLAB and DIGITIZER as you did in Tutorial 1 (see Sections 3.1 and 3.1.1).

If, on the other hand, you are continuing directly from Tutorial 4 above, just select the image file  tutorial.jpg  and existing data file  mytutorial.mat  as you did in Tutorial 1 (that is, skip over Section 3.1 and just do Section 3.1.1).

#### 3.5.1  Selecting Random Cells

Assume you only want to make measurements of small copepods in some of the cells of the image because there are all together too many small copepods.

From the Edit Menu, choose "generate random cells".

In the edit boxes of the resulting Random Cell Generator Window, enter the approximate number of columns and rows of cells on the image, and the number of cells you want to have in the subset.  In this case, enter 8, 8, and 10 respectively.

Click on  "generate random cells"  to create a list of randomly chosen cells and a diagram of where they are on the image.

(Note that cells are chosen in equal numbers from the four approximately equal quadrants of the image, and that the number chosen is rounded up to a multiple of four.)

Use the Print option in the File menu of the Random Cells Results window to make a hard copy of the results so that you can use it as a guide in selecting cells in which to measure small copepods .

Now measure all of the small copepods that lie within the chosen cells.

Select   “SAVE DATA and continue”   from the File menu of the Main Window.

#### 3.5.2  Making a new species file

Use the Species Parameters Window from the Main/Edit/edit species menu to add a few species buttons to the Main Window.

Make the changes permanent, and close the Species Parameters Window (see Section 3.2.5).

From the Main Window File Menu, select  "Save species file as…".

In the resulting output file specification window, enter a new file name with the file extension .men, for example, enter "mymenu.men".

Save and quit DIGITIZER (see Section 3.2.7).

The next time you use DIGITIZER and you choose to create a new output file, your newly generated menu file “mymenu.men” will appear as one of the choices.

#### 3.5.3  Making a new weights file

There are currently no graphical user interface (GUI) controls for modifying the contents of the file  default.wgt   which contains the weight formulas used by DIGITIZER.  Therefore, change or add a weight formula, you must VERY CAREFULLY use a text editor such as Wordpad, or the built-in MATLAB editor, as described here.

Make a backup copy of  default.wgt   (!!).   Call it default_backup.wgt.

Display the MATLAB editor window (for example, by keying in  >>edit  if necessary).

Open the file default.wgt

To REPLACE an existing weight formula, locate the formula to be replaced by searching for the appropriate species number in column one.

Change the formula in the THIRD FIELD of the record with the new formula which:

(a) must be a legitimate MATLAB arithmetic expression,

(b) must use the capital letter L for the independent variable "length",  and

(c) must contain NO BLANKS (or other white space).

To ADD a weight formula to the file because one does not yet exist for a particular species, add a new line anywhere after the first record of the file.  The new line must have precisely the same fields as the other lines in the file.  The fields are:

species code,

one or more blanks,

the name of the species WITH ALL BLANKS (or white space) REPLACED BY UNDERSCORES,

one or more blanks,

the formula with NO BLANKS or white space, as described above.

DIGITIZER will not read the  default.wgt  file correctly if it contains spurious white spaces (blanks, tabs, carriage returns, etc.)

Save the modified  default.wgt file   for later use.

#### 3.5.4  Changing the weights file during a session

Ordinarily, the weight formulas used by DIGITIZER will be the ones that were in effect when the output .mat file for a particular plate was first created.  If you wish to change or add a weight formula after that point and have it take affect immediately, you must do the following.

Create a new weight file that contains the change or addition, as described in the previous section, BUT name it something other than  default.wgt  , for example “newweights.wgt”

Then, select  "Read Alternate Weight File" from the Main Window File Menu.

Choose  “newweights.wgt”  from the input file selection window.

The revised weight formula(s) will affect future measurements on this plate, but will not change the weights which were calculated and saved for measurements made previously.

To RETROACTIVELY change the calculated weights of all past measurements using the new weight formula(s), use the steps in the next section.

#### 3.5.5  Recalculating the weights of existing measurements.

If you want all past as well as future measurements on this plate to use the revised weight formula(s), select   "Recalculate sample weights"  from the MainWindow File menu.

Click on “Yes” in the two successive WARNING message boxes.

Some of your previous plots and spreadsheets (or else the new ones) are probably wrong!

#### 3.5.6  Save you results and quit DIGITIZER

From the FILE Menu select "SAVE DATA and quit" and confirm the selection by clicking on "Yes".  This will update your output data files, terminate DIGITIZER, and exit MATLAB.

## 4	SYSTEM REQUIREMENTS AND RESTRICTIONS

DIGITIZER was written and tested in MATLAB 6.1 and 6.5.  It employs a MATLAB Graphical User Interface (GUI) so that nearly all program operations are controlled by means of the mouse and the cursor on the display screen.  The program has been tested on Windows 98 and Windows 2000 PCs.

DIGITIZER requires at least 512 Mbytes of main memory, and preferably 1 Gbyte.  There must be sufficient memory for a scanned image, plus approximately 10 Mbytes for the MATLAB program and the stored measurements.

There must also be adequate disk space for the MATLAB source code, the original input image file, and several output data files, including a 6.6 Mbyte ".mat"  file of output data and a 6.6 Mbyte  .mbk  backup file.

## 5	KNOWN PROBLEMS

There is currently a graphics interface problem when running DIGITIZER under MATLAB 6.5.  Before running DIGITIZER, you must un-select all of MATLAB View Menu options except the Command Window to avoid a conflict between certain internal MATLAB/JAVA resources and the DIGITIZER Edit Species Parameters Window.

There are speed degradation problems when running DIGITIZER under MATLAB 6.1, particularly when a large number of samples have been digitizer.  Resizing a window, for example, may take several seconds.  These problems are apparently caused by inefficient use of OpenGL graphics utilities employed by MATLAB 6.1, and have been fixed in MATLAB 6.5.

Nearly the entire DIGITIZER program files (m-files and p-files) are MATLAB scripts, rather than MATLAB functions.  These scripts all operate in the main MATLAB workspace, one consequence of which is that all of the program variables may be observed or changed (peeked or poked) in the MATLAB command window by you, the user.  Therefore, you are strongly advised not to do anything else in the MATLAB command window besides watch the DIGITIZER status and error messages.

The data files used by DIGITIZER must be writeable as well as readable, that is, they must NOT be Read Only files.  Under some circumstances, when you archive DIGITIZER files to a CD ROM, for example, and then later restore them to hard disk,  the files will acquire Read Only status.  When you try to run DIGITIZER, you will go merrily along until you digitize the twentieth specimen or so, at which point you will get an obscure file related-error message (which seems to vary depending upon the exact circumstances).  If this sort of thing happens, check to see if your DIGITIZER files on hard disk are Read Only.  If they are, use the appropriateWINDOWS utility to make them Read/Write files and see if the problem goes away.

When EXCEL imports length histogram data files, the row label for the lowest bin boundary appears as a spreadsheet entry  "#NAME?",  whereas it should appear as the text  "–Infy" (minus infinity).  To eliminate this problem, when importing a length histogram text file into EXCEL, change the Column Data Format of column 1 from "General" to "Text".

## Appendix 1	Standard Lengths Used in DIGITIZER Program

## Appendix 2	Length to Wet Weight Biomass Conversion Formulas.

L in the formula is the length (mm) as described in the figures shown above.

R means a regression of length (mm) and weights (mg) was derived from a population of animals;

V means the formula is based on the shape of the organism and a density of 1 was assumed.  This was used for rare or very small animals.