BCO-DMO
Data Management Manual
July 2007 

TABLE OF CONTENTS

2Executive Summary


3Introduction


3Data Management Guide


3Project Report


4Event Log


4Data and Metadata


5Data Acquisition Procedures and Protocols


6Best Practices Recommendations


7Appendix 1: R/V ALBATROSS IV AL9906 Cruise Report


44Appendix 2: Sample Event Log


45Appendix 3: Prototype Excel Event Log Spreadsheet


46Appendix 4: Thesaurus


62Appendix 5: Adding Data to the BCO-DMO Data and Information System


62Data Organization


62Nitty Gritty Details


65Appendix 6: Procedures and Protocols


65Alcohol-preserved sub-samples from BSS MOC nets #2,3,4 (150 µm)


66JELNET Protocol for Broad-scale Cruises


67Microzooplankton Recording Protocol (1999)


70MOCNESS 1-Meter2 Towing Procedure for GLOBEC Broad-scale Cruises


72MOCNESS 10-Meter2 Towing Procedure for GLOBEC  Broad-scale Cruises


73RNA, DNA and Protein Content Protocol


75Zooplankton Collections in Alcohol Protocol


76Zooplankton Counting Protocol


77Zooplankton Pump Procedure for Broadscale and Process Cruises





Executive Summary

The Biological and Chemical Oceanography Data Management Office (BCO-DMO) (http://www.bco-dmo.org) was created to serve Principal Investigators (PIs) funded by the NSF Biological and Chemical Oceanography Sections as a facility where marine biogeochemical and ecological data and information developed in the course of scientific research can easily be disseminated, protected, and stored on short and intermediate time-frames. 

The office will work with principal investigators on data quality control; maintain an inventory and program thesaurus of strictly defined field names; generate metadata (e.g. Directory Interchange Format (DIF)) records required by Federal agencies; ensure submission of data to national data centers; support and encourage data synthesis by providing new, online, Web-based display tools; facilitate interoperability among different data portals; and facilitate regional, national, and international data and information exchange. 

The purpose of a data management system is to facilitate collaboration between scientists, the combination of multiple data sets for interdisciplinary and comparative studies, and the development and testing of new theories. 

The intellectual investment and time committed to the collection of a data set entitles the investigator to the fundamental benefits of the data set. Publication of descriptive or interpretive results derived immediately and directly from the data is the privilege and responsibility of the investigators who collect the data within the time period set by the investigator’s program manager. 

Any person making substantial use of a data set must communicate with the investigators who acquired the data prior to publication and anticipate that the data collectors will be co-authors of published results. This extends to model results and to data organized for retrospective studies. 

Data from completed projects should be submitted to the BCO-DMO or served from a person’s local machine using the JGOGS/GLOBEC software or compatible software installed on their machine. The data may be contributed in a spreadsheet or in a word processing tabular format, or any computer readable file (except PDF files), in either ASCII or binary format. Supporting documentation about the submitted data must be provided. See this report for details. Images may be submitted in several formats. 

Researchers may post data on their own website, that is, a website not hosted by BCO-DMO. However, the data will also be posted on the BCO-DMO website. 

For all matters relating to data submission and accessibility, please contact the Data management Office at http://bco-dmo.org/contacts.html. 

Introduction

The BCO-DMO (http://www.bco-dmo.org) was created to serve PIs funded by the NSF Biological and Chemical Oceanography Sections as a facility where marine biogeochemical and ecological data and information developed in the course of scientific research can easily be disseminated, protected, and stored on short and intermediate time-frames. The Data Management Office also strives to provide research scientists and others with the tools and systems necessary to work with marine biogeochemical and ecological data from heterogeneous sources with increased efficacy. To accomplish this, two data management offices (former- U.S. JGOFS and U.S. GLOBEC) have been united and enhanced to provide a venue for submission of electronic data/metadata and other information for open distribution via the World Wide Web. The JGOFS/GLOBEC Client/Server distributed data management system software is used to serve data and information to every investigator, regardless of computing platform. In addition, Web services are provided for data discovery and development is underway of a machine-to-machine application programming interface (API) to allow interoperability between data systems on the Web. The BCO-DMO will manage existing and new data sets from individual scientific investigators, collaborative groups of investigators, and data management offices of larger multi-institutional projects via any standard Web browser. The office will work with principal investigators on data quality control; maintain an inventory and program thesaurus of strictly defined field names; generate metadata (e.g. Directory Interchange Format (DIF) ) records required by Federal agencies; ensure submission of data to national data centers; support and encourage data synthesis by providing new, online, Web-based display tools; facilitate interoperability among different data portals; and facilitate regional, national, and international data and information exchange.
Data Management Guide

Scientific Investigators funded by the National Science Foundation (NSF) have several reporting obligations with respect to data collected, generated or analyzed during their funded project. These obligations, in turn, encourage the use of good data management practices and procedures.  The following sections specify these obligations, practices and procedures.
Project Report

A project report, describing what was accomplished during your project, is typically required by NSF, in the form of annual reports and a final report. We have found that in certain cases, especially when cruises took place during a project, that Cruise Reports, completed very soon after the cruise is completed, can material improve the quality and quantity of data collected during the cruise. These reports describe in more detail than an annual or final report, what happened during a cruise, what data were collected, what problems were encountered during the data collection phase of the project, and how they were overcome. We strongly recommend that the Chief Scientist coordinate the preparation and completion of cruise report and send a digital copy of the report to the Data Management Office. We will incorporate the cruise report on the Web site as additional information about the data collected. A sample cruise report is available in Appendix 1. 

Event Log

The Event Log provides an overall summary of the activities during a cruise. If your project involves going out to sea, we strongly recommend that an event log be generated during the cruise. We will provide you with an Excel spreadsheet program (events.xls) that you can use to help prepare the event log in the suggested format. However, you are free to generate the log in any way you choose. A sample event log is available in Appendix 2. 

A version of the event log should be included in your cruise report, but the original event log will also be made available online. The event log should be prepared daily while at sea and carefully verified. The final version of the event log should be sent to the DMO in Excel format immediately after the end of the cruise for posting on the online. 

The breaking off and resumption of operations on cruises should be logged as events in the event log, using the s/e (i.e. start/end flag) column. Also, aborted tows (that is, tows that result in no data) should not be logged. Rather, indicate in the comment field in the entry for the successful tow, that the previous attempt was aborted. 

Data and Metadata

Principal investigators are responsible for the selection of methods, equipment, and calibration procedures. If new measurement techniques are used, methods relating the new data to existing data should be developed, documented and provided to the DMO. 

Data sets consist of both the actual measurements and also descriptive data, sometimes referred to as metadata. Metadata consists of location, time, units, accuracy, precision, method of measurement and sampling, investigator, reference to publications describing the data set, a description of the processing of the data, etc. 

Because the program uses the JGOFS/GLOBEC distributed data management software to provide access to data, your data can be made available to others by either "serving" the data yourself or my sending it the DMO for serving by the GLOBEC server. There is additional documentation about how to serve data accessible here. 

The Data Management Office can facilitate the transfer of your data to the appropriate national data center for permanent archiving if you wish. Investigators are responsible for maintaining biological samples for at least twenty years. As the Smithsonian is the official repository of biological samples in the United States, samples from field programs should be offered to the Smithsonian before disposal. 

Reminder

Each ship collects so called along track data, e.g. date, time, latitude, longitude, and data from each of the ship's sensors such as wind velocity, water depth, air temperature, sea surface temperature, etc. Make sure to get a copy of these data and send a copy to the Data Management Office immediately after your cruise. 

Data Acquisition Procedures and Protocols
The fundamental objectives of the BCO-DMO are dependent upon the cooperation of scientists from all the participating disciplines. Physicists, biologists, and chemists must make use of data collected during their field programs, laboratory experiments and historical studies to further our scientific understanding. The scientific bjectives require quantitative analysis of interdisciplinary data sets and therefore data must be exchanged among researchers. To extract the full scientific value, data must be made available to the scientific community on a timely basis. 

All principal investigators, via their proposals, submit plans for the collection and processing of data. A single description of the expected data sets, a "data plan", will be derived by the Data Management Office from the submitted proposals. Where a group of investigators is cooperating in managing and collected data, a single responsible scientist should be identified for each measurement. 

To provide the opportunity for comparison with historical data, measurement techniques should be consistent with techniques used to collect the existing data unless there is significant scientific justification for change. When new techniques are adopted, methods for relating the new data to existing data should be developed. 

In order to allow for comparison of different data sets, the principal investigators should document the procedures that will be used to collect and process samples and data. 

For additional information about the U.S. GLOBEC Data Policy, see U.S. GLOBEC Data Policy, U.S. Global Ocean Ecosystems Dynamics Report Number 10, February 1994 from which much of the above material is extracted. 

For information about adding your data to the BCO-DMO data and information system see Appendix 5. 

Appendix 6 contains sample descriptions of protocols and data collection procedures for the following:
· Alcohol preserved subsamples 

· JELNET protocol 

· Microzooplankton Recording Protocol 

· MOCNESS 1-Meter2 Towing Procedure for GLOBEC Broad-scale Cruises 

· MOCNESS 10-Meter2 Towing Procedure for GLOBEC Broad-scale Cruises 

· RNA, DNA and Protein Content Protocol 
· Zooplankton Collections in Alcohol. 
· Zooplankton Counting Protocol. 

· Zooplankton Pump Procedure. 

Best Practices Recommendations

To be completed.... 

Appendix 1: R/V ALBATROSS IV AL9906 Cruise Report

ACKNOWLEDGMENTS

We thank the captain, officers, and crew of the R/V ALBATROSS IV for a very productive and enjoyable cruise; their skill, professionalism, and friendly cooperation enabled us to complete the last of the GLOBEC Georges Bank broad-scale cruises with all of the scientific missions successfully accomplished. 

This report was prepared by Peter Wiebe, Maureen Taylor, John Sibunka, Jamie Peirson, Steven Brownell, Charlie Miller, Abigale Dietz, and Karen Fisher with assistance from others in the Scientific Party. This cruise was sponsored by the National Science Foundation and the National Oceanographic and Atmospheric Administration.

TABLE OF CONTENTS
INTRODUCTION 
   Purpose of the cruise.
NARRATIVE
INDIVIDUAL REPORTS

Hydrography

Data:

Results:


Zooplankton and Ichthyoplankton studies based on Bongo and MOCNESS tows.



Objectives:



Methods:


Preliminary Summary of Ichthyoplankton Findings.



Cod (Gadus morhua) and Haddock (Melanogrammus aeglefinnus): 23



Miscellaneous Fish Larvae:


Preliminary Summary of the 10-m2 MOCNESS samples.


Zooplankton Predator Sampling.


Zooplankton Observations on AL9906.


Egg production rates and gonad development of dominant copepod species 


Nutrients and Phytoplankton Studies. 



Overview:



Methods:



Preliminary Results:



References:


Stable Isotope Sampling


High Frequency Acoustics 



Methods.



Gear Problems



Some Results.



Greene Bomber Environmental Data AL9906


Drifter Deployments.


Shipboard ADCP (Acoustic Doppler Current Profiler) measurements.
CRUISE PARTICIPANTS

Scientific Personnel 

Officers and Crew 
APPENDIX I. Event Log.
APPENDIX II. Chlorophyll, nutrient, and other measurements.
APPENDIX III. Acoustic Tape Log.
APPENDIX IV. CTD profiles.
 

INTRODUCTION

Purpose of the cruise.

The U.S. GLOBEC Georges Bank Program is now into its fifth and last full field season and this cruise was the last in a series of six broad-scale cruises taken place at monthly intervals between January and June. In fact, this was the last of 31 broad-scale cruises which started in June 1994. Our specific objectives were:

1) To conduct a broad-scale survey of Georges Bank to determine the abundance and distribution of U.S. GLOBEC Georges Bank Program target species which are the eggs, larval, and juvenile cod and haddock and the copepods Calanus finmarchicus and Pseudocalanus spp.

2) To conduct a hydrographic survey of the Bank.

3) To collect chlorophyll data to characterize the potential for primary production and to calibrate the fluorometer on the CTD.

4) To map the bank-wide velocity field using an Acoustic Doppler Current Profiler (ADCP).

5) To collect individuals of C. finmarchicus, Pseudocalanus spp., and the euphausiid, Meganyticphanes norvegica, for population genetic studies.

6) To conduct life history studies of C. finmarchicus.




7) To conduct acoustic mapping of the plankton along the tracklines between stations using a high frequency echo sounder deployed in a towed body.

8) To deploy drifting buoys to make Lagrangian measurements of the currents.

The cruise track was determined by the position of the 41 AStandard@ stations that form the basis for all of the broad-scale cruises. The entire Bank, including parts that are in Canadian waters, was surveyed (Figure 1).

The work was a combination of station and underway activities. The along-track work consisted of high frequency acoustic measurements of volume backscatter of plankton and nekton throughout the water column and surface measurements of temperature, salinity, and fluorescence from the towed body. The ship=s 300 kHz ADCP unit was used to make continuous measurements of the water current profile under the ship, in order to construct the current field over the whole Bank. Meteorological data, navigation data, and sea surface temperature, salinity, and fluorescence data were measured aboard the ALBATROSS IV. Some of these data are presented in the Acoustic Report Section below.

A priority was assigned to each of the 41 standard stations that determined the equipment that was deployed during the station=s activities. At high priority Afull@ stations, a Bongo net equipped with a SeaBird CTD was towed obliquely to near the bottom. A CTD-fluorometer/transmissometer profile to the bottom was made and rosette bottles collected water samples for salinity and chlorophyll calibrations, chlorophyll concentrations, phytoplankton species counts, nutrients, and 18O/16O water analysis. A large volume zooplankton pumping system was used to profile the water column. A 1-m2 MOCNESS was towed obliquely to make vertically stratified collections for zooplankton (150 m mesh) and then to make collections of fish larvae (335 m mesh). A 10-m2 MOCNESS was towed obliquely to make vertically stratified collections of juvenile cod and haddock, and the larger predators of the target species. A Jelnet was also deployed in an attempt to collect fragile gelatinous animals that are often destroyed in the other net collecting devices. At lower priority stations, a Bongo tow, CTD profile, and 1-m2 MOCNESS tow were made, and at many of these stations a 10-m2 MOCNESS tow was made. On occasion, a Reeve net was towed to collect living animals for experiments during and after the cruise. At a point halfway between stations surface water samples were collected for chlorophyl and nutrient measurements. A summary of the sampling events that took place during the cruise is in Appendix I.

NARRATIVE

We left Woods Hole on a sunny Monday afternoon (14 June 1999) at 1530 and steamed down the Nantucket Sound to get to our first station. Sea conditions were fine as we set sail.

Shortly after leaving port, we had a safety meeting which involved all in the science party and was led by Dave Zezula, the Field Operations Officer, followed by a meeting of the science party to discuss the work plans for the cruise and to acquaint those individuals taking part on a broad-scale cruise for the first time with some of the procedures to be followed when they were on watch. There were two watches each of 12 hours duration. Watch one was from 0600 to 1400 and 1800 to 2200 and was led by John Sibunka. Watch two was from 2200 to 0600 and from 1400 to 1800, and was led by Jamie Pierson. 

15 June

The cruise got off to a good start. The steam out to the first station was uneventful. The winds were in the 15 to 20 kt. range and the seas were bumpy, but not rough. The work started in the early hours of 15 June at Standard Station 1 and the gear was working properly right from the beginning. For most of the day, the skies were overcast and we had a bit of drizzle from time to time, but the seas were ideal for the survey work. 

At Station 3, there was difficulty with the conducting cable on both the boom and the starboard winches. The latter was the first to go at station #3 and the CTD at that station (and stations 4-6) had to be done off of the boom winch. It appeared the problem was in the starboard winches cable termination, and after some checks, it was cut off so that it could be renewed. But it was later determined that the slip rings on that winch were badly corroded and needed replacement. While using the cable on the boom winch to do the CTD cast, dropouts and spikes occurred giving an indication that all was not well with that winch and wire as well. During Station #4, the boom cable became inoperable because of shorting in the wire. In the wee hours, the electronics technician, Henry Jenkins, came to the rescue. He found and fixed one problem associated with the cable termination wiring. The night watch was able to complete Station 4. 

There were pretty spectacular catches of pteropods at Stations 2 and 41. The 420 kHz echograms were particularly noteworthy with exceedingly strong backscattering coming in the pcynocline where the pteropods seem to be aggregated.

We completed work at the first four Standard Stations (1, 2, 41, and 3) and were nearly finished the fifth (4) by the end of the day.

16 June

On the second full day on the Bank, the skies continued to be overcast, but now and then the sun appeared and the seas remained ideal. The gear continues to work well, but problems persisted with the boom winch/wire, and during Station #5, it again became inoperable while attempting to do the 1-m2 MOCNESS tow. Henry Jenkins again went to work and this time, the termination had to be re-poured. Given the time required to fix the cable, we elected to omit the 1-m2 MOCNESS tow and to steam to Station 6. By the time we reached station 6, the boom cable tested out OK and was ready to go. But the CTD cast again had a number of spikes and dropouts and it was suspected that the cable, which was very rusty and not in good shape, might not have been able to support the voltages that the CTD runs through the cable. The evening saw another long session working on the starboard winch and wire. Maureen Taylor, the CTD guru, had managed to complete a CTD at Station 7 after the earlier repairs, but it had spikes and dropouts. She was able to remove these when post processing the CTD data, but it was a pain. And it meant that something was wrong with the cabling. So Maureen asked Henry Jenkins to check the system out again. In the earlier repairs, the slip rings were replaced with another set that were onboard. Thinking that this was the cause of the current problems, Henry replaced the slip rings with the original set. In testing, however, Maureen found the CTD did not work at all. Henry tested the wire again with and without the slip rings in place and it looked like the problem was in the cable termination. But when the electrical conductors coming out of the termination were cleaned and the bare wires tested, the cable appeared OK. Then when the slip rings were hooked up, the problem came back. The replacement slip rings were again installed and this time the cable with slip rings in place tested OK. Neither the wire or the slip rings is very good, however, and the two CTD casts done by the night shift at Stations 8 and 9 had dropouts and spikes, but no loss of signal. We had to live with this situation and fortunately it did not get worse during the rest of the cruise. 

Work at stations ( 4, 5, 6, and 7) were completed and work at Station 8 was started.

17 June

The skies continued to be overcast with rain during the night that was heavy at times. The wind picked up for a while to about 25 kts and seas got choppy. Skies remained heavily overcast and there was an off/on drizzle. Late in the day the wind let up a bit and the seas, which were never bad enough to force us to curtail operations, diminished. 

The gear also continued to function well and all that was needed was maintenance of the 10-m2 MOCNESS nets which required sewing up the top corners of Net zero to repair a reinforcement fabric that had broken. It took about an hour and a half to complete the job in the wind and rain. On the other side of the ledger, the ship experienced two minor power failures when start up of one of the winches caused a generator to overload. Generally, the scientific equipment is protected from such failures by a centralized Uninterruptable Power Supply system. 

We experienced some rather different hydrographic conditions on the portion of the southern flank surveyed to this point in the survey. The water was much warmer than normal, even on the crest of the Bank and there was a major incursion of very warm and saline water (21+C and 35.9 PSU) at least up to the 100 m mark on some of the tracklines. 

On the third day, we completed work at stations 8 through 12 and started work at Station 13. 

18 June 1999

This day began about like the previous two, with skies overcast and rain off and on sometimes heavy and sometimes just a drizzle. The wind was pretty steady at 15 to 25 kts during the night and in the morning picked up for a while with gusts to about 30 kts. The seas were rougher than previously, but not enough to stop the work from proceeding. The gear ran well.

There were no major problems with the science gear to speak of, although the problem with the CTD dropouts and spikes continued - caused by the slip-rings on the starboard winch. There was, however, some undesired excitement with the ship. We had finished work at Station 16 and were about half way to Station 17 (about 1930) steaming into the seas which had built up under a fairly steady 20 to 25 kt wind out of the northeast. Jamie Pierson and Ben Carr were sleeping in the aft starboard cabin and Ben woke up hearing the slosh of water in their room. He woke Jamie up and they immediately went and got John Sibunka. When John heard there was water in the room, he immediately thought that the heads had backed up, but upon seeing water in the passageway, he knew it was a bigger problem. John S. got John Hurder, the 1stAssistant Engineer, out of the engine room who also thought it was a head problem until he saw how much water was in the passageway. Hurder opened the door on the room occupied by the field operations officer, Dave Zezula, because passageway was wet from that point aft, and he was greeted with a large spray of water as a wave hit an open port hole about the same time as he looked in. The glass in the port hole had blown out in the lower level room (the glass was not broken). The damage control team quickly went into action and in only a few minutes the original piece of glass was installed and the porthole cover was put in place and dogged down. But water was all over the officers room and because the hall way slopes down towards the aft of the ship, a substantial amount of water was also in the starboard cabin that John Sibunka, Jamie, and Ben were in. In fact, water got into at least two other cabins. For half an hour or so, we were steaming slowly with the seas to our port side, but finally (2006) we got back on track and resumed steaming towards station 17, while the cleanup continued. Water had to be pumped out of the aft stateroom using a fire hose (several hundred gallons), and the rug in one room was removed and wet vacuumed in the others. The clean-up took the crew a couple more hours after we got to Station 17 before the sampling could start.

As noted above, conditions on the Bank were warmer than expected for mid-June. The surface temperature at the central, well-mixed portion of the Bank range between 11 B 12 deg. C. Temperatures along the southern flank have ranged between 16 - 20.5 deg C and we sampled portions of a Warm-Core Ring streamer (as did the broad-scale survey in May). Highest temperatures and salinities (over 35 PSU) observed so far were at standard stations 15 and 17. A very strong temperature and salinity gradient (13 degrees and 3 PSU respectively) existed at station 17 between 20 to 40 meters. 

We completed work at stations 13 through 16 and started work at Station 17 during this 24-hour period. 

19 June 1999 

The weather took a decided turn for the better. While yesterday was a windy blustery day with drizzle, on this day we were greeted with a bright sun broken only by high thin clouds that only softened the rich blue of the sky. The winds and seas were laid down and only a gentle swell was running. As Anthime Burnette, one of the fisherman, said AIts as good as it gets@. 

For the most part, the gear on this cruise had been running exceptionally well and little sampling has been lost to gear failures. But on this day, shortly after the MOC-10 was deployed and it was going down, the signal was lost between the deck unit and the underwater unit. After a little checking at the computer, it was clear that the system had to be brought back on deck for in-depth checking. Once on deck, Henry Jenkins did some trouble shooting and found a broken wire on the slip rings. We thought that the broken wires were the problem, but once Henry got those fixed and there was an attempt to start the tow again, the underwater unit stopped talking with the deck unit again. Henry did some more checking, this time with the slip rings disconnected from the trawl conducting cable. With both ends of the wire open, the ground checked out OK, but the signal wire had a very high resistance reading. We started looking at the cabling coming out of the cable termination and found water in the splice. The EO plug and cable were replaced and the underwater splice renewed. The splicing work took about an hour with Maureen Taylor, Henry and Peter Wiebe doing the work while sitting out in the sun on the main deck on a windless afternoon.

Work was completed at stations 17 through 21.

20 June 1999

What a spectacular day. And we thought yesterday was good. Bright sunshine, few clouds, warm air temperatures (~17 C), and light winds made for a flat sea and wonderful working conditions. There were no problems with the science gear and or anything else on the ship in the last 24 hours. 

The sea conditions remain warmer than expected and on the approach to Station 25, we did not cross over into colder or fresher water as normally happens even at this time of year. The zooplankton biologists working with the copepods were a bit disappointed that Calanus finmarchicus seems to have shut down on the southern flank of Georges Bank (i.e. disappeared from much of the Bank and gone into estivation or have been eaten) and there were not as many around to experiment with as desired. But there have been places where Centropages and Temora were in sufficient numbers to allow other experiments to take place. However, Barbara Niehoff got a particularly good tow for her work with Calanus at Station 39. Along the southern edge of the Bank and now in the Northeast Channel, salps (most likely Salpa aspera) have occurred in large numbers. At an earlier Station (17), the trawl came up loaded with them - at least a garbage container full. The feeling then was that we were lucky not to have lost one or more of the trawl nets by bursting at the seams. So at Station 25 when both the Bongo and the 1-m2 MOCNESS came up with very substantial volumes of salps (2/3 of a garbage can in the case of 1-m2 MOCNESS), we decided to cancel the trawl.

We completed work at stations 22, 23, 24, 25, and 39 during this day.

21 June 

AAnother beautiful day in paradise.@ It started out as a gorgeous morning with the sea still flat calm and hundreds of birds sitting on the water around the stern of the ALBATROSS (Figure 2). They all looked to be shearwaters, but there may have been a few gulls mixed in. The sky had a thin veneer of high cloud which modulated the sunlight to give the sea surface a subtle iridescent glow. Although the clouds had been thickening some during the day, the calm prevailed. 




The GLOBECers went on working around the clock with a machine like precision and the work was done more or less on schedule. Three pairs of drifters were deployed during this period. One pair was deployed at Station 28 and the other two pairs were deployed several miles apart as we steamed towards Station 29. Each pair had one 1-m diameter holysock 10-m drogue and one 2-m diameter 40-m drogue.

We continued to catch salps at stations on the edge of the Bank and in Georges Basin at Station 29, a fair number of salps were caught deep in the water column during the day, but not in the tremendous numbers that were seen at Station 25. The salps were probably migrating up to the surface at night and then cleaning the water of chlorophyll, because the chlorophyll levels were very low off the Bank where the salps occurred. The tows at station 29 also had large numbers of Calanus. 

We completed work at stations 26, 27, 28, and 29 during this 24 hour period.

22 June 1999

It was hard to believe that we had another fantastic day of bright sun, no wind, and a flat sea, but that is what it was. We also came into fairly large numbers of marine mammals - porpoises (Atlantic white sided Dolphins and Minke and Humpback whales). The attraction to this area seemed to be substantial numbers of large acoustic targets at mid-water depths along the northern eastern margin of the Bank. They were likely to have been herring schools.



The work was completed during this day at Standard Stations 30, 40, 31, 32, and 33, and was started at Station 34. Although the work proceeded briskly throughout most of the day, we did loose a bit of time because a calamity of sorts happened with the pump system during the work at Station 34 around 2300. About 60 m of pump hose was caught under the ship about where the propeller was located. Apparently when the night watch was finished sampling and they were blowing out the hose with air, the piping somehow came up in a place where it got into the propeller. Ken Rondeau tried several tricks to get the hose loose, such as putting additional weight on the end that was in hand and dropping it down deep to get the hose to break loose, but to no avail. The deck crew then used the outer whip attached to the pipe to apply more pressure to the hose and hoping to break it loose. The night=s ordeal with the pump got solved by having Willy Amoro and Cecile Daniels dawn their SCUBA gear and dive down under the stern to free the pump hose (Figure 3). According to Willy, the hose was wrapped around the propeller shaft forward of the kort nozzle about a dozen times and had to be unwound to get it free. It took about 10 minutes for the action to go on underwater and then the portion of the hose (about 20 m) that was between the propeller and the deck was pulled back on board. Some 40 m of hose was sheared off by the propeller and was lost. Jamie Pierson said that with the spare hose on board, a 100 m deployment was still possible. We were able to complete the next two pump stations as planned. 

During the pumping at Station 34, an extremely large and dense school of Sandlance came in around the ship. The individuals were about 15 cm in length. The echograms showed the patch to extend down to between 50 and 60 meters. Squid came cruising through the night-lighted areas and shearwaters landed nearby and immediately dove under for a meal. By the time the 10-m2 MOCNESS was deployed, the patch was gone, but the trawl did catch a number of Sandlance and some haddock larvae. Because of this catch, Steven Brownell requested that we add a couple more 10-m2 MOCNESS's to the schedule for the last of the stations, which was done.

23 June 1999

This was another day with ideal working conditions. The winds were light (< 10 kts) and the sea was essentially flat. There was barely a cloud in the sky all day. 

As is usually the case at the end of a broad-scale cruise, the work went very quickly and we finished up with the last of the stations (i.e. 34 to 38) by late evening. As we steamed from Station 37 to Station 38, we again crossed the fairly dramatic front that marked the change from Bank water to waters of the Gulf of Maine that we had crossed several times earlier in the cruise. As in the case of the earlier crossing, in the vicinity of the front were a lot of Afish@ schools and also some whales. 

24 June 1999



We completed the work at station 38 around 2330 hrs and by midnight, the gear was secured for the steam into Woods Hole. Work was completed at all of the Standard Stations and we only dropped one 1-m2 MOCNESS tow and one 10-m2 MOCNESS tow.

The steam into Woods Hole took a little bit longer than usual so that we could arrive at the dock about noon. This was so that a celebration of the end of this highly successful cruise and highly successful broad-scale program could be done with others meeting the ship at the dock.

INDIVIDUAL REPORTS

Hydrography

(Maureen Taylor and Benjamin Carr)

The primary hydrographic data presented here were collected with Seabird CTD systems (Figure 4). The Seabird 911+ CTD (SBE911+) provides measurements of pressure, temperature, conductivity, and fluorescence and records at a rate of 24 observations per second. This CTD is equipped with a rosette (Seabird 32 carousel) for collecting water samples at selected depths. Bongo hauls were made at each of the stations occupied. A Seabird model 19 profiling CTD (SBE19 Profiler) was used on each bongo tow to provide depth information during the tow. The Profiler records pressure, temperature and conductivity observations twice per second.

The following is a list of the CTD data collected with each of the sampling systems used on the cruise:

Instrument # casts

SBE911+ 41 

SBE911+ calibration 41

SBE19/ Bongo 41

SBE19/ calibration 7 

The SBE911+ was deployed with 10 bottles on the rosette and samples were collected for various investigators. Samples were collected for oxygen isotope analysis at selected depths (R. Houghton, LDEO) and a sample was taken at the bottom for calibrating the instrument=s conductivity data (D. Mountain, NMFS). Samples for chlorophyll and nutrient analysis were taken from multiple depths at each of the standard stations (D. Townsend, Univ. of Maine). Surface samples were taken at Afull@ stations for phytoplankton species composition (J. O=reilly, NMFS).

Parameter # samples

oxygen isotope 141 

Species composition 21

Data:

Preliminary processing of the SBE Profiler and 911 data was completed at sea using the Seabird manufactured software routines to produce 1 decibar averaged ASCII files.

At standard station #4, we began what would become a three-day battle with sea cable terminations, splices, and slip rings. The CTD would not power up through the sea cable on the oceanographic winch but worked fine on a test cable (which completely bypasses the sea cable). While Electronic Technician Henry Jenkins investigated the problem, we moved the CTD out to the main deck for deployment off the boom. The CTD cast was successful but we did notice some noise in the data. Upon attempting the 1-m2 MOCNESS at this station, an error message declared that the sea cable was open. Now, both the oceanographic winch and the boom cables were inoperable because both required full repairs (cutting, re-pouring, and re-splicing). 

The boom wire was first to be put back online. However, when we deployed the CTD, we still were seeing intermittent noise in the signal (the Seabird Profiler and MOCNESS operations did not have this). We concluded that because the sea cable on the boom was in such poor condition (rust and wires unraveling), the signal for the 911 CTD was breaking down. We needed to move back to the oceanographic winch. When this termination was repaired, we tested the CTD once again and much to everyone=s dismay, it did not power up. The problem was in the slip rings. Henry took the slip rings out and discovered that they were severely corroded. An older, Aspare@ set of slip rings were put in place which allowed us to finally get signal from the CTD, but it did cause a fair amount of signal noise. As a result, preliminary data processing for this cruise was rather labor intensive. Final cleaning of the data errors will be completed back in Woods Hole.

Results:

The hydrographic figures presented here were generated prior to the occupation of station 38. The contoured anomalies have been calculated using the MARMAP hydrographic time series as a reference. The surface and bottom temperature and salinity distributions are shown in Figure 5. Temperature and salinity anomalies are shown in Figure 6. Stratification in the upper 30 meters of the water column and the stratification anomalies were also calculated. These distributions, expressed in sigma-t units, are shown in Figure 7 (left). The distribution of fluorescence (expressed in volts) is shown in Figure 7 (right). 

The volume average temperature and salinity of the upper 30 meters were calculated for the four sub-regions shown in Figure 8. These values are compared with characteristic values that have been calculated from the MARMAP data set for the same areas and calendar days. The volume of Georges Bank water (salinity < 34 PSU) was also calculated and compared against the expected values. A CTD profile is provided for each standard station with a compressed listing of the preliminary data in III. 

Hydrographic conditions on the Bank were warmer and slightly fresher than expected for mid-June. The surface temperatures at the central, well mixed portion of the Bank ranged between 11 B 12 deg. Celsius while those along the southern flank were between 13 - 20.5 deg. Celsius We sampled portions of a Gulf Stream Warm Core streamer (as we did during the May survey) with the highest temperatures and salinities (over 35 psu) observed at standard stations 15 and 17. A very strong temperature and salinity gradient (13 degrees and 3 psu respectively) existed at station 17 between 20 to 40 meters. The large negative anomaly of AGeorges Bank water@ shown in Figure 8 is due to the Gulf Stream intrusion observed predominately in the southeast region. We did not download satellite imagery during the survey, but will review the archived imagery for this cruise period upon return to Woods Hole. 

Despite the presence of the warmer, more saline water along the southern flank, all four regions of the Bank were slightly fresher than expected (Note that the calculations shown in Figure 8 exclude water with salinity greater than or equal to 34 PSU). Lowest surface salinities on the Bank were observed at station 21. This may be remnant Scotian Shelf water that has been observed here on the previous surveys. The trend of relatively lower salinities has been observed since early in 1997. Although this is the last GLOBEC Broadscale survey, the Northeast Fisheries Science Center conducts survey cruises nearly year round collecting over 2000 CTD casts along the Northeast Shelf (including Georges Bank). It is possible to continue to monitor this negative anomaly in salinity on Georges Bank. Data from these cruises are available at an anonymous FTP site maintained by the Fishery Oceanography Investigation (ftp.wh.whoi.edu). 

The temperature and salinity at station 25 (eastern side of the Northeast Channel) was warmer (12 deg C) and saltier ( > 32.5 PSU) than was expected. We did not cross over to AScotian Shelf@ water at this station. It is not known at this time (because we have not reviewed any satellite imagery) whether or not there is any Gulf Stream feature located toward the south that could be pumping warmer, more saline water through the Northeast Channel.



Zooplankton and Ichthyoplankton studies based on Bongo and MOCNESS tows.

(John Sibunka, James Pierson, Stephen Brownell, Neile Mottola, Ryan Campbell, and Joshua Frederickson)

Objectives:

(1) Principle objectives of the ichthyoplankton group in the broad-scale part of the U.S. GLOBEC Georges Bank Program were to study the composition of the larval fish community on Georges Bank, to define larval fish distribution across the Bank and within the water column, to determine those factors which influence their vertical distribution, and to determine bank-wide versus "Patch-Study" mortality and growth rates. Emphasis in this study is on cod and haddock larvae along with their predators and prey. This study also includes larval distribution and abundance, and age and growth determination. These objectives were implemented through use of bongo net and 1-m2 MOCNESS to make the zooplankton and ichthyoplankton collections. A 10-m2 MOCNESS was used to collect larger pelagic invertebrates and juvenile fish.

(2) The primary objective of the zooplankton group was to complete a bank-wide survey of Georges Bank to determine the distribution, abundance, and stage composition of the target species Calanus finmarchicus and Pseudocalanus spp. A second objective was to identify, quantify, and describe the occurrence of abundant non-target species in order to provide a description of the environment occupied by the target species. These objectives were implemented by using the 1-m2 MOCNESS for sampling copepods and larger zooplankton. A Jelnet cast was made to collect gelatinous predators and a submersible pump was deployed for sampling the small copepod naupliar stages. 

In addition to these objectives, the zooplankton group was responsible for obtaining subsamples from the 1-m2 MOCNESS hauls for population genetic studies of Pseudocalanus spp. to be completed by Dr. A. Bucklin at the University of New Hampshire.

Methods:



Bongo tows were made with a 0.61-m frame fitted with paired 335 m mesh nets (Figure 9). A 45 kg ball was attached beneath the bongo frame to depress the sampler. Digital flow meters were suspended in the mouth of each net to determine the volume of water filtered. Tows were made according to standard MARMAP procedures, (i.e., oblique from surface to within five meters of bottom or to a maximum depth of 200 m while maintaining a constant wire angle throughout the tow). Wire payout and retrieval rates were 50 m/min and 20 m/min respectively. These rates were reduced in shallow water (<60 m) to obtain a minimum of a five minute tow or reduced due to adverse weather and sea conditions. A Seabird profiler CTD was attached to the towing wire above the frame to monitor sampling depth in real time mode and to measure and record temperature and salinity. Once back on board, the 335 m mesh nets were rinsed with seawater into a 330 m mesh sieve. The contents of one sieve were preserved in 5% formalin and kept for ichthyoplankton species composition, abundance and distribution. The other sample was preserved in 95% ethanol and kept for age and growth analysis of larval fish. The same preservation procedure was followed as for the 1-m2 MOCNESS.

The 1-m2 MOCNESS sampler was loaded with ten nets (Figure 10). Nets 1-4 were fitted with 150 m mesh for the collection of older and larger copepodite and adult stages of the zooplankton. Nets 0, and 5-9 were fitted with 335 m mesh for zooplankton (nets 0 and 5) and ichthyoplankton (nets 6-9) collection. Tows were double oblique from the surface to within 5 m from the bottom. The maximum tow depth for nets 0, 1 and 5 was 500 m, and for net 6 was 200 m (if net 5 was sampled deeper than 200 m, it was returned up to 200 m and closed). Winch rates for nets 0-5 were 15 m/min and for nets 6-9, 10 m/min. The depth strata sampled were 0-15 m, 15-40 m, 40-100 m, and >100 m. The first (#0) and sixth (#5) nets were integrated hauls. For shallow stations, with only 2 or 3 of the depth strata, not all nets were fished. The contents of nets 0-4 were sieved through 150 m mesh sieve, subsampled using a 2-L plankton sample splitter if the final biomass volume was too large for one quart jar, and then preserved in 10% formalin. Samples from nets 5-9 were sieved through 330 m mesh sieve and preserved in 95% ethanol. After 24 h of initial preservation, the alcohol was changed. The used ethanol was retained for disposal or recycling ashore. At priority 1 and 2 stations and at station 40, 100-ml subsamples were taken from nets 1-4 (150 m mesh) and preserved in 10% formalin for Dr. C. Miller (OSU). At priority 1 and 2 stations, 100-ml subsamples from nets 1-4 were removed and preserved in 95% ethanol. At most priority 3 and 4 stations, a 100-ml subsample from the15-40 m net was removed and preserved in 95% ethanol. These samples were collected for Dr. A. Bucklin for population genetic studies to distinguish the Pseudocalanus species found on Georges Bank.



The 10-m2 MOCNESS was loaded with five 3.0 mm mesh nets (Figure 11). Tows were oblique from surface to ~10 m from bottom or a maximum depth of 500 m. The same depth strata were sampled as with the 1-m2 MOCNESS. At most stations where the water depth was <100 m, net 1 was fished horizontally at maximum wire out until 4,000-5,000 m3 of water was filtered; whereby this net was closed and net 2 opened. Nets 2-4 were fished vertically according to standard protocol. The winch rate for vertical retrieval varied between 5 and 20 m/min depending on the depth stratum. The slow winch rates were used in order to filter at least 4,000-5,000 m3 of water per depth stratum sampled. A stepped oblique tow profile during retrieval was used to achieve this, if needed. Catches were sorted for larval and juvenile cod and haddock. Specimens were preserved in 95% ethanol. The remainder of the sample was sieved through a 330 m mesh, and preserved in 10% formalin. When net 1 was fished horizontally near bottom, the sample from this net was sorted for gadids which were preserved in 95% ethanol; the remainder of the catch discarded. 

A gasoline powered diaphragm pump was used to collect nauplii and younger, smaller copepodite stages of zooplankton (Figure 12). The intake hose was deployed off the port side hydro boom by affixing two release shackles to the end of the hose and clipping them to the hydro wire above and below a niskin-bottle clamp. The clamp was positioned on the winch wire above the end of the termination to keep the hose from falling down on the termination as the wire was raised during retrival. The winch meter block was zeroed at the surface and the wire out reading was used to determine the depth of the cast. Two 45 kg weights was used to depress the array. Two to four 30 m sections of 7 cm diameter hose were connected to the pump, allowing the intake hose to attain a maximum depth of approximately 100 m. At shallow stations (<100 m), the intake nozzle was lowered to 3-5 meters off the bottom. The discharge end of the hose was diverted to a surge dampener before it entered the collection net. This caused the flow to be laminar as it passed the flow meter, allowing a more accurate measurement of flow rate. Once the hose had been deployed to the desired depth it was raised at a constant rate and samples collected. Wire retrieval rate was approximately 4 m/min which provided volumes of about 200 L per 5 m depth interval. Sampling depths were from the maximum depth to 75 m, 75-40 m, 40-15 m, and 15 m to the surface. The hose was allowed to flush for a predetermined interval before collection began, before each net change, and once the hose had reached the surface. Flushing time was calculated based on the flow rate of the pump and depending on the length of hose used at each station. The three or four integrated depth samples were collected with 30 m mesh nets, sieved through a 30 m mesh sieve and preserved in 10% formalin.




At standard station 34, the pump hose fouled on the propellor shaft after sampling was completed. Divers (William Amaro and Cecile Daniels) were sent to clear the shaft and approximately 40 meters of pump hose were lost. There was 24 m of spare hose on board, for a total of 104 m, so operations continued normally. 



A 1-meter diameter Reeve net sampler was used to collect live specimens of Calanus finmarchicus (Figure 13). The cylindrical metal ring forming the aperture of the sampler was fitted with a 335 m mesh net 4.0 m in length. Affixed to the cod end of the net was a PVC collection bucket 46 cm tall and 33 cm in diameter with screened ports. This collection bucket was supported by four nylon lines attached to the net mouth ring. Vertical tows were made from surface to within 10 m of bottom, or to a maximum depth of 200 m. The net was deployed at a winch rate of about 10 m/min and retrieved at a rate of 5 m/min. Depth of cast was determined by the actual wire out. Depression of the net was obtained by both filling the collecting bucket with sea water prior to deployment and also by the addition of between one to six 5-lb (2.3-kg) lead dive weights depending on sea conditions. The animals caught in the cod end bucket were gently released into 5 gallon plastic pails previously filled with seawater using the ship's sea chest. Preliminary analysis of the live organisms collected from the catch was done on ship board. After the catch was examined, the sample was preserved in 5% formalin.

Samples Collected by the Zooplankton and Ichthyoplankton Groups:

Gear Tows Number of Samples

1. Bongo nets, 0.61-m 41 tows 42 preserved, 5% formalin

335-m mesh 41 preserved, EtOH

2. MOCNESS, 1-m2 41 tows

150-m mesh(Nets 1-4) 126 preserved, 10% formalin

335-m mesh(Net 0) 41 preserved, 10% formalin

335-m mesh(Nets 5-9) 171 preserved, EtOH

3. MOCNESS, 10-m2 33 tows 

3.0-mm mesh 140 preserved, 10% formalin

4. Pump 19 profiles 

35-m mesh 64 preserved, 10% formalin

5. Jelnet 10 tows 

5-mm mesh 8 preserved, 10% formalin

6. Reeve Net 9 tows

335-m mesh 9 preserved, 5% formalin 

Preliminary Summary of Ichthyoplankton Findings.

(John Sibunka)

During the cruise, shipboard samples from all the 5% formalin preserved bongo AB@ nets were observed while in the jar for the presence and estimated quantities of fish larvae and eggs. These quick observations were done in an attempt to obtain a qualitative estimate of the ichthyoplankton abundances, distribution and size ranges on Georges Bank.

American plaice and yellowtail flounder (Hippoglossoides platessoides/Pleuronectes ferrugineus):

Microscopic examination is required to separate American plaice from yellowtail flounder larvae at sizes <16mm standard length (SL). Transformation for American plaice flounder begins at 18.0-34.0mm SL, usually >25mm SL; whereas yellowtail flounder commence transformation at 11.6-16.0mm SL. Since most of these flatfish larvae collected during this survey were less than 15.0mm SL, they were combined into one category. It is likely that the majority of these larvae are yellowtail flounder as the adults of this species on Georges Bank begin spawning later in the spring than American plaice and continue spawning into the summer months.

These fish were the most abundant larvae seen in the bongo plankton catches from this cruise. Their distribution ranged across Georges Bank (Figure 14). The largest catches of larvae were made along the south-central portion of the Bank between the 55m and the 90m isobath lines. The size of the larvae collected ranged from 5 to 16 mm SL, with most specimens between 7 to 12 mm SL. During this June survey small larvae (~5 mm SL) were collected mainly at stations located along the northern portion of the Bank. Larger larvae (10-16 mm SL) were found to be concentrated in the western portion of Georges Bank. The results of this survey are similar to those reported in the1998 broadscale survey in May (refer R/V ALBATROSS IV, Al-9806 cruise report).

Cod (Gadus morhua) and Haddock (Melanogrammus aeglefinnus):

The only cod larvae seen in the bongo plankton samples examined this cruise were at standard stations 2 and 27. An estimated four specimens were collected with an approximate size of 10 mm SL each. No haddock larvae, nor the eggs of either cod or haddock were observed in the bongo catch samples collected on Georges Bank during this June broadscale survey. 

These results, which are similar to the results of previous broadscale surveys in June (refer R/V ALBATROSS IV Nos. 9607, 9707 and 9808 cruise reports) indicate that cod and haddock had almost completed spawning in the survey area for this year. Both post larval and juvenile stages of cod and haddock were seen in the 10-m2 MOCNESS samples collected on this cruise (refer 10-m2 MOCNESS catches/station in this report).

Miscellaneous Fish Larvae:

The following fish larvae were also identified in the ichthyoplankton samples collected during this broadscale survey.

1. Sand lance (juvinile) Ammodytes spp.

2. American plaice (>15.0mm) Hippoglossoides platessoides

3. Sculpin Myoxocephalus sp.

4. Silver hake Merluccius bilinearis

5. Sea snail Liparis sp.

6. Lantern fish Myctophidae (Family)

7. Leptocephalus Anguillidae (Order)

8. Windowpane flounder Scophthalmus aquosus

9. Butter fish (juvinile) Peprilus triacanthus

10. Fourbeard rockling Enchelyopus cimbrius

Preliminary Summary of the 10-m2 MOCNESS samples.

(Stephen Brownell)

The samples collected from 10-m2 MOCNESS were examined on shipboard for a qualitative estimate of abundance and distribution. Following is a listing of the species observed in the samples following preservation at standard stations.

Station 3 Haul 1 ctenophores, naked pteropods, hyperiid amphipods, salps, flounder, haddock.

Station 4 Haul 2 ctenophores, flounder.

Station 9 haul 6 ctenophores, pipe fish, flounder, salps, hyperiid amphipodes, ctenophores, cod.

Station 10 Haul 7 ctenophoeres, flounder, cod.

Station 11 Haul 8 ctenophores. (very small sample)

Station 12 Haul 9 pipe fish, lots of macro algae, a few ctenophores.

Station 13 Haul 10 isopods, ctenophores, small shrimp, flounder.

Station 14 Haul 11 isopods, ctenophores, naked pteropods, small shrimp, hyperiid amphipods, puffer fish, flounder, haddock

Station 16 Haul 12 euphausiids, amphipods, naked pteropods, small shrimp, hatchet fish, viperfish, myctophids.

Station 17 Haul 13 salps (21 gallons), pyrosomes, shrimp, pomolobus spp.

Station 18 Haul 14 ctenophores, salps, euphausiid, naked pteropods, cod.

Station 19 Haul 15 ctenphores.

Station 20 Haul 16 ctenophores, flounder, cod.

Station 21 Haul 17 ctenophores, euphausiids, naked pteropods, isopods, flounder, cod, haddock.

Station 23 Haul 18 ctenophores, naked pteropods, flounder, cod.

Station 39 Haul 19 euphausiids, squid, salps, amphipods, ctenophores, lg shrimp, myctophids

haddock.

Station 26 Haul 20 salps, shrimp euphausiids, amphipods, naked pteropods, ctenophores, haddock, hake, alligator fish, cod.

Station 27 Haul 21 ctenophores, amphipods, lion's mane jelly fish.

Station 28 Haul 22 ctenophores, naked pteropods.

Station 29 Haul 23 euphausiids, naked pteropods, ctenophores, salps, amphipods.

Station 30 Haul 24 isopods, ctenophores, shrimp, lion's mane jellyfish, sandlance, haddock.

Station 40 Haul 25 euphausiids, naked pteropods, shrimp, chaetognaths.

Station 31 Haul 26 isopods, naked pteropods. 

Station 32 Haul 27 lion's mane jellyfish(4), naked pteropods.

Station 33 Haul 28 amphipods, lion's mane jellyfish, flounder.

Station 34 Haul 29 euphausiids, shrimp, naked pteropods, cod, sandlance, myctophid.

Station 35 Haul 30 euphausiids, ctenophores, amphipods, naked pteropods, sandlance.

Station 36 Haul 31 lion's mane jellyfish (2), euphausiids.

Station 37 Haul 32 ctenophores, chaetognaths, haddock.

Startion 38 Haul 33 euphausiids, shrimp, amphipods, sandlance, ocean pout.

Zooplankton Predator Sampling.



(For L. Madin, S. Bollens and E. Horgan)

The Jelnet is 1.5m2 at its opening and tapers to a shallow 50 cm deep flat bottom which has a collection sock to which a standard MOCNESS cod collar and end bucket was attached (Figure 15). Mesh size of the net is 5 mm (3/16"). The tubular aluminum frame is bridled from each of the corners to a common point above by a 5 mm (3/16") stainless steel wire with thimbles spliced into the wire ends. A 45-kg lead ball is attached to a 13 mm (2@) oblong stainless ring when the net is fished. Vertical tows were made from surface to within 10-15 m of bottom, or to a maximum depth of 100 m. The net was deployed at a winch rate of 20 m/min and retrieved at a rate of 5 m/min. Depth of cast was determined by the actual wire out. The contents of the nets were combined and preserved in 10% formalin and kept for species composition, abundance and distribution.

Zooplankton Observations on AL9906.

(Charles B. Miller)

Zooplankton biomass was very modest over and around Georges Bank in June 1999. We saw the usual separation between stations inside and outside the 60 m isobath. Inside that line the plankton on the filter screens resembled wet sand. I was on night watch, so I saw several night samples from the bank top. In those the brown, sand-like plankton would be polka-dotted with white amphipods. The Asand@ was composed almost entirely of copepodites of Centropages hamatus, Pseudocalanus spp. and Temora longicornis, in that order of abundance. The brown tone comes from the brown pigment banding on most of the C. hamatus. Of course, there was often an admixture of actual sand. I never saw a hydroid polyp on the whole cruise, much less any significant abundance. This is the first time that I have seen substantial numbers of Pseudocalanus over the top of the bank on a recurring basis. Usually they have been present in significant numbers at only a few stations without much pattern. A few samples from this subregion had substantial numbers of juvenile Sagitta elegans, which is a common occurrence in BroadScale sampling, but perhaps less frequent than usual on AL9906.

Plankton on the southern flank and Northeast Peak, outside the 60 m isobath was dominated by Calanus finmarchicus, but in very modest quantities. Small numbers of Metridia lucens were mixed with the Calanus, but never dominant. Sometimes Centropages typicus is part of the plankton on the south flank at this season, but none were seen in 1999. Large pteropods were abundant in the southwest sector of the bank, accompanied by a spectrum of smaller ones down to sand-grain size. The offshore stations (7, 16) were affected by warm core rings, and near-surface temperatures were greater than 20C. This water produced virtually no plankton when sampled by the MOC-1. What there was included a mixture of subtropical species. Only the deepest samples (ca. 350 or more to 100 m) from those stations had any significant amount of plankton, most of it resting stage C. finmarchicus.

Several stations on the south side of the Northeast Peak, as well as Station 25 across the channel on the Scotian shelf, were located in patches of Salpa aspera. At Station 25, for example, we caught 35 drained gallons in one MOC-1 net. It was virtually impossible to separate crustacean and other plankton from the huge mess of salps. We were forced to cancel the MOC-10 haul for risk of not being able to get the loaded nets aboard. 

Stations north of the Bank at the edge of the Gulf of Maine (29, 40, 34) were strongly dominated by C. finmarchicus, the bulk of them being in the deepest nets. These were loaded with lipid, clearly resting stages. Much smaller numbers were caught in the surface layers. While resting Calanus dominated the deep plankton, they were only modestly abundant compared to the early years of the BroadScale Survey. In 1995 and 1996, we caught multiple liters of drained Astrawberry daiquiri@, and had to split samples three and four times to get a half liter for preservation. On this cruise we had only a few (two on my watch) samples from single depths that required even one splitting to store. These modest amounts were similar to those captured in 1998. This interannual variation correlates with the salinity anomalies observed by David Mountain on BroadScale cruises, and that correlation has the same sign as observed in MARMAP data over a longer interval (Mountain, personal communication). Refined evaluation of this relationship may be one of the best contributions of the GLOBEC program at Georges Bank. Since salinity is set by the relative importance of deep inflow to the region (more deep inflow installs more salt), a nutrient-driven, bottom-up process is suggested as the source of the correlation. If that proves true, it is a very exciting finding indeed. Large pteropods were absent from the Gulf of Maine stations, but numerous very small ones (0.2 mm) were at the bottom of most sample jars. They did not contribute significant biomass relative to Calanus.

Night hauls of both the 1-m2 MOCNESS and 10-m2 MOCNESS at southern Gulf of Maine stations produced good numbers of Meganyctiphanes, particularly the deepest nets on night hauls. Other than in those samples, euphausiids were rare. There were very few in the offshore stations along the south flank, which has not been typical of other cruises. Presumably the presence of warm-core rings had displaced the usually abundant Slope Water species to deeper water or some other location.

I was successful in finding along the southern flank just over 30 C. finmarchicus C5 with the short, forward-located gonad rudiment type called (provisionally in my laboratory) diapause-2. This type was very rare (1-2%), being far outnumbered by diapause-1 , which is longer and more posterior. These gonad rudiment types are pictured in the April BroadScale cruise report (OC341). I reared the diapause-2 specimens in small containers kept cool by flowing water from the ship=s scientific seawater system. This was not in fact always cool, temperatures rising to 23C when the ship was in some of the warm-core ring water. Surprisingly, the animals survived that well. They were fed particles concentrated from the surface water by filtration. With up to 6 animals in 130 ml, they were certainly all stressed for food. They survived that, too, and continued to make fecal pellets throughout. The specimens were preserved on arrival at Woods Hole and will be examined in Corvallis to see whether ovaries or testes have developed from them. This will be a large addition to our data set regarding this question. We have sufficient rearings of diapause-1 individuals from earlier cruises, most of which develop testes. Because of limited incubation space, only 6 diapause-1 individuals were raised on AL9906. 

Egg production rates and gonad development of dominant copepod species 

(Barbara Niehoff)

The aim of this study are (1) to describe and classify gonad developement stages of small copepod species dominant on Georges Bank and (2) to relate gonad morphology and egg production rates. In addition, female Calanus finmarchicus were to be collected for experimental work at WHOI in order to study gonad development at food limitation. The study during this cruise continues the work during two previous process cruises in February and April 1999 which was conducted in collaboration with Jeffery Runge. 

Zooplankton samples were taken in vertical hauls with a Reeve Net (mesh size 335) at Standard station 7, 11, 15, 18, 25, 31, 35, 38 and 39 from close to the bottom to the surface. Female Centropages spp., Temora longicornis and Calanus finmarchicus were sortetd out immediately after capture. Twenty-four to 36 females of each species were placed individually in multi-well vials containing unfiltered surface seawater. The multi-well trays were kept for 24 h at 10 C in the dark. In 8 h intervals, eggs were counted and removed. 

The rest of the samples was preserved in 5% formalin buffered with borax for later gonad stage analysis. As known from previous GLOBEC studies, Centropages spp. and Temora longicornis are abundant on the shallow portions of Georges Bank while Calanus finmarchius is found in deeper water. Correspondingly, sufficient females for incubation and gonad analysis of Centropages spp. and T. longicornis were found at station 7, 11, 18 and 31. More than 70% of the females spawned at these stations. Experiments with C. finmarchicus were conducted at Station 7, 15, 18, 38 and 39. Only 10 to 30% of the females laid eggs within the 24h incubation, except at station 18 where all females spawned. In general, spawning activity and egg production rates were much lower than during February and April. At station 25, zooplankton were too sparce for experiments.

At station 38, approximately 550 female Calanus finmarchicus were sorted for experiments which will be conducted at WHOI. In addition, live Centropages spp. and T. longicornis females were collected at varius stations for histological analysis of the gonad tissue. 

Nutrients and Phytoplankton Studies. 

(Abigal Dietz and Joanne Lardie - for David W. Townsend University of Maine)

[see also: http://grampus.umeoce.maine.edu/globec/globec.html]

Overview:

We are collecting water samples on all six broad scale cruises in 1999 (January to June) to analyze for nutrients and phytoplankton biomass. During the June cruise, water samples were collected for analyses of:

dissolved inorganic nutrients (NO3+NO2, NH4, SiO4, PO4);

dissolved organic nitrogen and phosphorus;

particulate organic phosphorus; 

particulate carbon, hydrogen, and nitrogen;

phytoplankton chlorophyll a and phaeophytin;

phytoplankton species composition

Alexandrium spp. densities

Methods:

Water collections were made at various depths at all of the regular hydrographic stations (Stations 1 - 41) sampled during the June 1999 broad scale survey cruise aboard R/V ALBATROSS IV, using the 1.7 liter Niskin bottles mounted on the rosette sampler. Additional near-surface water samples were collected at positions between the regular stations (Stations numbered >41) using a surface bucket sampler.

Samples for dissolved inorganic nutrients (DIN) and chlorophyll were collected at all stations, 1-41, and at all the intermediate stations (near-surface). Water samples for DIN were filtered through 0.45 m Millipore cellulose acetate membrane filters, and frozen in 20ml polyethylene scintillation vials by first placing the vials in a seawater-ice bath for about 10 minutes. Samples will be analyzed following the cruise using a Technicon II AutoAnalyzer. Water samples (50 mLs) for dissolved organic nitrogen, and total dissolved phosphorus (both referred to as DON) were collected at 2 depths (2 and 20m) at each of the main stations and frozen as described above. These samples will be analyzed using a modification of the method of Valderrama (1981). Samples for particulate organic carbon, hydrogen, and nitrogen were collected by filtering 500 mLs onto pre-combusted, pre-ashed GF/F glass fiber filters from 2 depths (2 and 20m) at each of the main stations, wrapped in foil pouches and frozen. The filters will be fumed with HCl to remove inorganic carbon, and analyzed using a Control Equipment Model 240-XA CHN analyzer (Parsons et al., 1984). Samples for particulate phosphorus were collected as for CHN, filtering 200 mLs and freezing in glass petri dishes. Laboratory analyses will involve digesting the sample in acidic persulfate and then analyzing for dissolved orthophosphate.

Phytoplankton chlorophyll a and phaeopigments were measured in discrete water samples collected at all stations (see Appendix II). One hundred mLs of water was collected from each depth down to 100 meters, filtered onto a GF/F filter, and extracted in 10 mLs 90% acetone. The samples were allowed to extract for at least 6 hours, then analyzed at sea using a Turner Model 10AU fluorometer according to the method of Parsons et al., 1984.

Samples for phytoplankton species composition were collected from the surface at stations 1-41 by preserving a volume of 100 mls in Lugol=s solution. These samples will be available for analysis of the larger species using the Uttermohl inverted microscope method. 

Alexandrium spp. samples were collected from the surface at standard stations 1-41 and all intermediate stations >41, by preserving a volume of 10 mls with 1 ml 5% buffered formalin. These samples will be analyzed for Alexandrium spp. cell densities using an antibody/antigen fluorescent tag and enumerated under an epifluorescence microscope.

Preliminary Results:

The only data immediately available following the cruise is the chlorophyll data presented here (Appendix II). We have seen a number of interesting phenomenon happening with the water column this cruise. Anomalous surface temperatures and salinity readings have occurred frequently and the chlorophyll values have also reflected somewhat of an erratic pattern. The chlorophyll values ranged from 5.78 to 0.00ug/l. It was noted that the surface temperature throughout most of this survey was up about 12* C. The usual temperature on Georges Bank for this time of year, according to chief scientist Peter Wiebe, is 8 - 10 C. After days of rain some thick layers of fresh water were observed during CTD casts. Please note that a complete table that will correlate chlorophyll data with station number, latitude and longitude will be posted on the web site listed above at a later date.

References:

Parsons, T.R., Y. Maita and C.M. Lalli. 1984. A Manual of Chemical and Biological Methods for Seawater Analysis. Pergamon, Oxford. 173 pp.

Valderrama, J.C. 1981. The simultaneous analysis of total nitrogen and total phosphorus in natural waters. Marine Chemistry 10: 109-122.

Stable Isotope Sampling

(Karen Fisher)

The purpose of this sampling is to determine the extent of temporal and spatial variability in isotopic concentrations of carbon, hydrogen, and nitrogen in several biological compartments: particulates and phytoplankton filtered from water samples; surface plankton caught in 150 and 330 micron mesh nets of the 1-m2 MOCNESS; and macroscopically identifiable species/genera from the zooplankton community. 

Sampling occurred at 25 standard stations, averaging every second station. Seventy-five particulate samples were filtered onto GFF or GFD media and frozen from water obtained through CTD bottles, and the flow-through seawater system on the ship. Forty surface samples (whole community) of zooplankton were obtained from 20 stations (nets 4 and 9 at stations shallower than 100 meters). Where found, pteropods were decanted or picked from one of the buckets and frozen separately if time allowed. Shelled pteropods were qualitatively abundant at the first 3 stations (brown, size range averaged >400 microns and <2mm preserved separately at Stations 1, 3, 7, 9, 16, 36, shells only at 34), and on the north-east peak (size range averaged somewhere between 150-400 microns preserved separately at Stations 21, 22, 26, 29, 30, 32). However, adult Clione outnumbered total thecosomatous pteropods at many stations on the northern side of the Bank (preserved separately at Stations 3, 9, 21, 22, 39, 26, 29, 30, 34, 38 along with larvae) . Few of the larger Limacina were obtained after Station 9. 

High Frequency Acoustics 

(Peter Wiebe and Karen Fisher)

This is the last of three trips in 1999 to make high resolution volume backscattering measurements at 120 kHz and 420 kHz of plankton and nekton throughout the Georges Bank region on the GLOBEC broad-scale cruises. As on the previous broad-scale cruises, work on this cruise was designed to provide intensive continuous acoustic sampling along all the shipboard survey track lines in order to cover the entire Georges Bank region. The data are intended to provide acoustical estimates of the spatial distribution of animals which span the size range of the target species (cod, haddock, Calanus, and Pseudocalanus) and their predators. The spatial acoustical map and the along track temperature, salinity, and fluorescence data are also intended to provide a link between the physical oceanographic conditions on the Bank and the biological distributions of the species as determined from the net collections at the stations distributed throughout the Georges Bank region. Continuous acoustic data between stations can be used to identify continuity or discontinuity in water column structure which can in turn be used to qualify the interpretation of biological and physical data based on the point source sampling.

Methods.

On this cruise, a portion of the R/V Albatross IV chem lab was the operations center for the high frequency acoustics work. The Aacoustics system@ consisted of the AGreene Bomber@, a five-foot V-fin towed body, a Hydroacoustics Technology, Inc Digital Echo Sounder (HTI-DES), several computers for data acquisition, post processing, and logging of notes, plus some other gear. In the Greene Bomber, there were two down-looking transducers (120 and 420 kHz each with 3 degree beams), a multiplexor pressure case for multiplexing the data from the two transducers, and an Environmental Sensing System (ESS). The ESS was mounted inside the V-fin with temperature, conductivity, and fluorescence sensors attached to a stainless steel framework outside of the fiberglass housing. The fish was also carrying a transponder that would have proved useful in locating it if it had happened to break free of the towing cable.




In the lab (Figure 16), the data came in on a single 24 conductor cable with separate shielded groups of wires, one for each transducer and one for the ESS. The HTI-DES has its own computer (a PC104-80486 -100 MHz) and five digital Signal Processor boards (DSPs). It received the data from the transducers, did a series of complex processing steps, and then transferred the results to the Pentium PC over a local area network (LAN) where the data were logged to disk and displayed. The Araw@ unprocessed data were also written to a DAT tape (each tape holds two gigabytes of data) and we used 95 tapes during this cruise - Appendix II. Immense amounts of data were handled very quickly by this system. The environmental data came into a second PC and were processed, displayed, and logged to disk. Both systems required GPS navigation data and those data were being supplied by the ship=s P-code GPS receiver which were logged as part of the ESS data stream. Periodically, the data were transferred to a third computer for post-processing. It was at this stage that we could visualize the acoustic records and begin to see the acoustic patterns that were characteristic of the Bank.



The tow-body was deployed from the starboard quarter of ALBATROSS and collected data both during and between stations (Figure 17). A braided steel wire (~0.5") was used to tow the Greene Bomber and the electrical cable came from the interior of the body and paralleled the towing wire until a point about 2 meters above the sea surface. Plastic tubing was wrapped around the electrical cable at five points starting just about the towing point on towed-body and spaced about a meter apart. The bottom point was tie-wrapped and taped directly to the towing wire. The next three points had a carabineer tie-wrapped to the plastic tubing and snapped onto the towing wire. About a meter above the final carabineer attachment point, a line was attached to the electrical cable at the last point and it was used to put tension on the electrical cable while the Greene Bomber was in the water. When deploying or recovering the towed body, the line was released and the carabineers slide down the towing wire to the top of th e towed body. This provided the clearance needed to haul the fish up and over the rail of the vessel. A tag line about 15 m in length was attached to the back end of the towed body and was tied-up short when the ship was working on station to prevent the towed body from turning 360 degrees and thus tangling the towing and electrical cables. When steaming between stations, the line was slacked to maximal extent so that the towed body was not constrained. 



The general towing speed was about 6.5 to 7.0 kts. The echosounder collected data at two pings per second per frequency during the cruise. Conditions for conducting an echo sounder survey of the Bank were ideal during a good portion of this cruise. There was a period of moderate wind and the seas shortly after the start of the cruise, but most of the cruise had light winds and low seas. Overall, the data are of very good quality and they provide an excellent base from which to compare the changes in the acoustic field on the Bank as viewed on subsequent cruises in March and June. We were able to collect acoustics data along all of the cruise trackline. The length of trackline acoustically mapped was ~672 nm (1245 km - Figure 18).

Gear Problems

On Saturday, 19 June, Karen Fisher took a look at the Greene Bomber as it was towing along and realized that the electrical cable was looser than normal and that a carabineer that normally held the electrical conductor to the towing wire was loose. We decided that it had to come on board for a check out and replacement of the carabineer. Ken Rondeau worked the winch and J-frame while Tony Veira and Willy Amoro did the handling at the rail. P. Wiebe held the tail tag line and Karen loosened the line putting tension on the electrical cable and holding the carabineer. On board, it was evident that indeed, the carabineer had been sawed through by the action of rubbing up and down along the towing wire. In addition, one of the pins in a shackle holding the safety chain to an eye-bolt on top of the fish was missing (vibrated loose). These were fixed and within about 10 to 15 minutes the Greene Bomber was hoisted up and over the rail and then lowered down into the water to resume data acquisition. 

Some Results.

The volume backscattering levels on both the 120 and 420 kHz transducers were high throughout the water column from Station 1 until reaching the section marked by steaming southeast from Station 12. The pteropod, Limacina retroversa occurred in very large numbers on much of the Western portion of the Bank (especially in the Great South Channel) and may have been responsible for a large portion of the volume backscattering in this region ( Figure 19). Once out of the well-mixed region and into the stratified waters (Station 14 to 15 and beyond) on this section, the volume backscattering below the pcynocline became very low (especially on the 120 kHz echogram) and this pattern persisted throughout the northeast peak region. During the first half of the cruise, there were few echoes from what appeared to be fish. There was a patch of fish-like echoes in the vicinity of station 8 which the fisherman on board speculated might have been silver hake (also known as whiting - Figure 20). On the northe ast peak region, more targets with Afish@ characteristics were seen in the otherwise low backscattering field (Figure 21). The targets looked like stars on a moonless night sky on the color echogram. The targets were much more apparent on the 120 kHz echogram than the 420 kHz echogram.

A section of the broad-scale survey trackline that has been sampled most frequently during the broad-scale years is the one that runs from Standard Station 8 up to Station 11, over to Station 12 and then down toward Station 14 (Figure 21). The section is one of contrasts that essentially captures most of the acoustic features have been observed from one broad-scale cruise to the next. For a good portion of the year, the water column is stratified on the southern flank of the Bank, especially in the deeper portions characterized by Stations 8 and 9. The stratification abruptly ceases at the tidal-mixing front when crossing the 60 to 50 meter isobaths and the water column becomes well-mixed because of the strong tidal currents. This happens somewhere in the vicinity of stations 10 and 13. Stations 11 and 12 are always well mixed. The tidal mixing front is the primary subject of the process oriented GLOBEC work this year. The volume backscattering data are particularly good at providing a visual display of the position and structure of the front (Figure 21). The stratification is characterized in the acoustic imagery by strong scattering in both the 120 kHz and 420 kHz echograms in the surface mixed layer or in the pcynocline (where temperature and salinity change rapidly). The horizontal layering in the stratified waters is often vertically displaced, sometimes radically, by internal waves or solitons which are formed in the vicinity of the shelf/Slope Water break and propagate at 1 to 2 kts up to the tidal-mixing front (as illustrated below). 

However, within the well-mixed area, the acoustic structure on the echograms is completely different (Figure 22). There is no horizontal acoustic layering (except perhaps caused by storm induced bubbles right at the surface). Rather there is a vertical banding of higher and lower volume backscattering that usually runs from the surface to the bottom. This banding is now thought to be due to small-scale vertical circulation cells that are created by the swift tidal flow over a rough bottom. In some places, the water is moving up to the surface and in others it is moving down to the bottom. The distances between these upwelling and downwelling areas may only be 50 to 200 m apart. 

While it would be nice if the echoes coming back to the echosounder were only coming from animals in the water column, any kind of particle that is present will cause sound to backscatter. As the fine mesh net tows taken at Stations 11 and 12 dramatically showed on this cruise, sand can be present in the water column right up to the surface. The sand is collected best by the 1-m2 MOCNESS with the 150 m mesh nets; much less is caught by the 335 m mesh nets. Thus, the sand grains caught by the nets have a size that is around 200 m. From the acoustic point of view, an individual sand grain of this size is a fairly small target, smaller than what is easily detectable by the highest frequency on the Greene Bomber, namely the 420 kHz sound wave. It is almost invisible to the 120 kHz sound wave. If there were only a few grains in the water column, they would not be a significant contributor to the volume backscatter ing. But within the strong vertical upwelling plumes, the sand grains can occur in the millions per cubic meter. And numbers count. Blow-ups of the region around Stations 11 and 12 where the MOCNESS tows were being made show the plume like structures in some detail (Figure 23). In the highest resolution image (the total distance traveled during the tow was about 456 meters), the first leg of the double oblique towyo done by the 1-m2 MOCNESS cuts right across a very strong backscattering Aplume@ and all of the nets on this towyo-leg caught large amounts of sand. The relatively lower resolution image taken at Station 12 that has the trajectory of the 10-m2 MOCNESS (the distance traveled was about 2106 meters) has more Aplumes@. The very coarse mesh (3000 m) resulted in no sand being caught, but the nets with finer mesh did catch sand at this station. 

The importance of size in contributing to the volume backscattering can perhaps best be illustrated by subtracting the volume backscattering recorded at 120 kHz from that recorded at 420 kHz (Figure 24). If most of the particles in the water column are smaller than those readily visible on the 120 kHz echogram, then the signal at 420 kHz will be larger. If the particles are sized such that they are equally visible, then there should be little or no difference. Finally, if the particles have a gas inclusion or are in fact air bubbles which resonate when hit by a sound pulse, then it is likely that the 120 kHz backscattering will be larger. In a Adifference plot@, the top of the Bank in the vicinity of station 11 shows a very strong Ahot spot@ where the 420 kHz has a much stronger signal than does the 120 kHz frequ ency. In fact, the entire well-mixed zone had stronger backscattering at 420 kHz except for a few isolated areas near the surface which is where lots of white cap injected bubbles occurred. In the stratified region, very little difference in backscattering was observed giving rise to the idea that whatever size distribution of the particles (animals) in the water column, they were more equally visible to both frequencies.

As noted above, internal waves and internal solitary waves or Asolitons@ are characteristic of the stratified waters of the Bank. The solitons are formed each tidal cycle when the tide is flowing off the Bank and propagate onto the Bank when the tide turns. Right from the start of work in the Southeast Channel wave-like perturbations of the pycnocline were evident in waters that were stratified. For the most part these were waves of depression, that is, the density interface (pycnocline) separating the thinner surface mixed layer from the thicker lower layer moves downward from its equilibrium position as the wave passes. However, if there is a pycnocline closer to the bottom than the surface, waves of elevation can be created i.e. the lower layer is displaced upward towards the surface. While most of the stratified waters had the pycnocline closer to the surface, on the southern flank in the vicinity of stations 5 to 9 , a warm-core ring off shore in the Slope Water was strongly affecting the surface water structure and there was also an intrusion of Slope Water up onto the Bank. This set up a situation where there was a pycnocline near the surface and also one near the bottom. The acoustic records along the trackline in this region revealed a complex set of waves, some most intense near the surface and others more intense along the near bottom pycnocline (Figure 20). Another dramatic image of a pair of solitons was observed during the steam along the trackline between stations 14 and 15 (Figure 25). This feature was very unusual in that the soliton structure was very complex suggesting that the waves might have had different origins and we were observing them where they were close to crossing. Further, the volume backscattering in the near surface structure of the waves was much stronger at 120 kHz than 420 kHz indicating that a significant source of the backscattering may have been from micro-scale density contrasts i n the water column caused by turbulence rather than particles (animals) present in the water column. 




The spatial patterns illustrated by these acoustic images provide insight into the ecological factors that are important in shaping the distribution of plankton on the Bank. They also provide a means of evaluating the coherence of the spatial pattern which in turn should help determine the representativeness of the samples taken with nets at the broad-scale stations.

Greene Bomber Environmental Data AL9906

The completed Environmental Sensing System trackline obtained by Greene Bomber made 189,958 measurements of temperature, salinity, and fluorescence (Figure 26). In some regions, remarkable adherence to an inverse correlation between fluorescence and temperature is evident; in others, it just as clearly breaks down. Notable features of the plot include the now familiar sharpness of the surface fronts, the changes in variability of the fluorescence data, and the large range in temperature observed particularly on the Southern flank (approximately first half of the record) where an intrusion of anomalously warm water was observed. The position and steepness of this June=s Fluorescence front occurred principally at the tidal mixing front that separates stratified waters on the Bank flanks from well-mixed waters on top of the Bank (Figure 27).




Having a very complete record of surface fluorescence from June 1998 available for comparison to this year=s track, we plotted the fluorescence for both years, using linear color breaks (Figures 28 & 29). The overall impression is that the two years are quite similar, in contrast to March 1999/1998, which showed nearly a complete reversal in position of high and low values between the two years. Notable June departures include: the location of highest fluorescence (4-5 volts), Southern flank between stations 10 and 13 this year, Northern flank between 29 and 31 last year; lower fluorescence between Stations 17 and 20, 35 and 37 this year; and higher fluorescence between Stations 20 and 23 this year. Additional fluorometer data will be analyzed in the near future from the CTD casts, the ship=s flow through system, and a newly installed Fast Repetition Rate Fluorometer on the hurricane deck of the ALBATROSS IV.




 HYPERLINK "http://globec.whoi.edu/globec-dir/reports/al9906/Image42.gif" 
[image: image8.png]Latitade






 




Drifter Deployments.

As part of the physical oceanographic studies of the current structure and circulation on Georges Bank being conducted by R. Beardsley and R. Limeburner, GLOBEC Drifter Buoys are deployed at strategic locations periodically throughout the year to track the Lagrangian flow from the point of deployment. This drifter is constructed with a holey sock drogue (a Dacron cylinder 90 cm diameter by 3 m tall with 5 circular hoop stays) at the bottom. The drogue is connected by either a 10 m or a 40 m cable to a small float (18 cm diameter) which in turn is connected by about 2.6 m of cable to a larger spherical surface float (about 32 cm diameter - Figure 30). The surface float contains a sea surface temperature sensor, a GPS receiver, and an ARGOS satellite transmitter. Temperature, time, and position data are transmitted periodically to shore through the ARGOS telemetry system. On this cruise, three pairs of drifters and a single were deployed. One pair was deployed at Station 28 and the other two pairs were deployed several miles apart as we steamed towards Station 29. Each pair had one 1-m diameter holysock 10-m drogue and one 2-m diameter 40-m drogue. The single 1-m diameter drogue with a 10-m tether was deployed at the end of the work at Station 38. 

Shipboard ADCP (Acoustic Doppler Current Profiler) measurements.

No ADCP measurements were logged on this cruise.

CRUISE PARTICIPANTS

Scientific Personnel 

1. Peter H. Wiebe Woods Hole Oceanographic Institution
2. Barbara Niehoff Woods Hole Oceanographic Institution
3. Maureen Taylor National Marine Fisheries Service, Woods Hole
4. John Sibunka National Marine Fisheries Service, Sandy Hook
5. Stephen Brownell National Marine Fisheries Service, Narragansett
6. Josh Fredrickson University of Rhode Island
7. Ryan Campbell University of Rhode Island
8. James Pierson University of Rhode Island
9. Niele Motola University of Rhode Island
10. Charles B. Miller Oregon State University
11. Abigale Dietz University of Maine 
12. JoAnn Lardie Maine Department of Marine Resources
13. Karen Fisher Cornell University, New York
14. Benjamin Carr Cornell University, New York
Officers and Crew 

1. Derick Sutton Captain
2. Cecile Daniels Executive Officer (XO)
3. David Zezula Field Operations Officer (FOO)
4. Kevin Cruise Chief Mechanical Engineer.
5. John Hurder 1stAssistant Engineer
6. Robert. Wint Junior Engineer
7. Orlando Thompson Engine Utility
8. Theopolus Gibson Wiper
9. Kenneth Rondeau Chief Bosun
10. Tony Alvernaz Lead Fisherman
11. Williiam Amaro Skilled Fisherman
12. Tony Veira Skilled Fisherman
13. John Saunders Skilled Fisherman
14. Anthime Brunette Fisherman
15. Doug Roberts Fisherman
16. Richard Whitehead Chief Steward
17. Jerome Nelson 2nd Cook
18. Henry Jenkins Electronic Technician
APPENDIX IV. CTD profiles.

Appendix 2: Sample Event Log
[image: image10.jpg]



Appendix 3: Prototype Excel Event Log Spreadsheet 
[image: image11.jpg]8 L c b e L Flel Wil 9 1 & R SR R S & S B 2
ivﬂmm SampleEvenLog

2]

3 eventna Iostument _ staton_cast_sew monh day tme se laiude longtude | wate depth castdepth | nuestgaor tme_zone  comments
v

s |ewzoon oo o mw 1w wms sz mem w0 500 0. Smith 8 FrtCTO cast
o

7]

o hotes

o

101 Th cueniogenry i generated by th speadshet program and s made up of the Following

1| componens:shaddy 448 uhere

| sh shp abreviaton

o 4= day fthe year s anuary 1)

| st o digsof theyear

| 88 consecutie number uthin th da starting t oreach ew gk

®

17| 2.Many e wil ol e b il i ance daring thecniz since they s o ket
18| change. These nclude the tim zone and year. You anchange these vales whencuer
1 |naoeszan,

21| The tme 2on fieldcanbe completed using any standard sonuenton you wsh, a5 ong 35
22 | you dfinewhichconsention you e using. Forexample for the reanear San Francico,
23 |th timescn canbe entred 3 UTC-06, U, Uniform, .80 o PST.

25 |3, Th s_eor sar.end isgntesth sart (5,1 end () of  priur staio, s, o1
25 [ather s

25 |5 Postion nformationcanbe entred usingany consisten sonuention such 35
= 4414344 decimalderees and raston of degree
@ pr—

14means degieesand mmmmmm means minues and
E) [——

52| Forattude, postiveuslues mesn the nothen amisphers sndnegatve uslues iding

53| minus sign) mean the souther hemisphere.

34| Forlongitads, postve sl mean 52t fthe prime merdan sndnagative sl

55| maan Vestof th rime meriian.

37 |5, andtime o2 b n st s or GMT. Howue, gou mus et s ko
35 | ich conuenionyou r using Time s recorded using 324 hour lock
29 | i, s i th hoursndmm i the minute, Frstionsl minus

[y P —

W T\ Sheetl GSheeilliohaal].





Appendix 4: Thesaurus

The following field names, instrument names and protocols are used by BCO-DMO. This list will be updated as necessary. For further information contact the Data Management Office. 

The general guidelines used to define field names and data attributes are based on the US JGOFS Program. 

The Data Management Office is working to improve and upgrade the BCO-DMO Thesaurus. Changes made since 8 May 2006 are marked in red. Terms which are being eliminated from the Thesaurus because of redundancy, imprecision or inaccuracy are marked in green and after a few months will no longer appear. Please feel free to comment or critique the changes by contacting the Data Management Office. 

Field Names

· abundance = number of the specific taxa/group counted per meter3 

· abundance_total = total number of all taxa counted per meter3 

· ageclass = seal age class as estimated in field, (text i.e. adult), used in seals 

· age_by_len = age estimated by seal body length. From Laws et al., 2003, using calculated mass with APIS and GLOBEC data combined, (reported as age in years or text i.e. adult) 

· age_by_mass = age estimaed by seal body mass. From Laws et al., 2003, using calculated mass with APIS and GLOBEC data combined, (reported as age in years or text i.e. adult) 

· alpha = light limited photosynthesis, calculated from curve, used in conjunction with irradiance measurements, a Southern Ocean Globec term, (mgC/chla/h)/(uE/m2/s) 

· algamat = collections of diatom chains, number per liter 
· angle = angle of tow body relative to vertical (0-89 degrees), used in BIOMAPER-II and MOCNESS systems 

· argosid = ARGOS identification, used with drifter deployments 

· bact_abun = bacteria abundance, cells per meter3 

· bact_bio = bacteria carbon biomass, milligrams C/meter3 

· bact_biomass_C = bacteria carbon biomass, milligrams C/meter3 

· beam_c = beam attenuation coefficient, in units 1/m 

· behav_code = organism behavior code, may apply to one or more different code tables, codes are file dependent 

· beta = rate of photoinhibition, calculated from curve, used in conjunction with irradiance measurements, a Southern Ocean Globec term, (mgC/chla/h)/(uE/m2/s) 

· body_fat = seal body fat concentration, reported as a decimal fraction, (body_fat * 100 = percent fat) 

· biomass = wet weight of a specific taxa/group identified, in units milligrams per meter 3 

· biomass_C = carbon biomass per taxon, units = micrograms C/liter 

· biomass_total = total wet weight of all taxa collected, in units milligrams per meter3 

· biovolume = see displacement volume 

· blood_vol = seal blood volume, as liters 

· blood_vol_pct = seal blood volume as a percent by body mass 

· bottle = water bottle number, generally assigned to a position on a CTD rosette, identifies all samples drawn from a given bottle 

· blubber = seal blubber sample collected (true/false) 

· brief_desc = brief description, open ended, specific to the data set in which it appears 

· bvfq = Brunt-Vaisala Frequency, N squared, in units 1/seconds2 

· cast = cast number 

· cell_2to10um = number of cells in the range 2 to 10 microns in diameter 
· cell_gt10um = number of cells greater than 10 microns in diameter 

· cell_lt2um = number of cells less than 2 microns in diameter 

· chi_t = chi_theta, temperature variance dissipation, degrees C2/second 

· chl_a = total chlorophyll a pigment, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_a_ugm = total chlorophyll a pigment, in micrograms/meter3 

· chl_a_5u = chlorophyll a pigment, less than 5 micron size fraction, in micrograms per liter (µg/l) 

· chl_a_10u = chlorophyll a pigment, less than 10 micron size fraction, in micrograms per liter (µg/l) 

· chl_a_20u = chlorophyll a pigment, less than 20 micron size fraction, in micrograms per liter (µg/l) 

· chl_b = chlorophyll b pigment, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_c = sum of Chlorophyll c1 + chlorophyll c2 + Mg 3,8 divinyl pheoporphyrin a5, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_c1_c2 = chlorophylls c1 and c2, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_c3 = chlorophyll c3 pigment, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_c4 = phytolated chlorophyll c-like pigment, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· chl_tot = total chlorophyll pigments, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· cloud cover = area of sky covered by clouds, reported in 1/8ths 

· comments = free text comments, may only have meaning to submitting PI 

· cond = conductivity, from the CTD "primary sensor", in Siemens/meter. Depending on input source may have a variety of names. Change to DMO term cond. 

· cond2 = conductivity, from the CTD "secondary sensor", in Siemens/meter. Depending on input source may have a variety of names. Change to DMO term cond2. 

· cond_mS = conductivity, from primary sensor in milliSiemens/centimeter. Depending on input source may have a variety of names. Change to DMO term cond_mS. 

· cond_mS2 = conductivity, from the CTD "secondary sensor", in milliSiemens/centimeter. Depending on input source may have a variety of names. Change to DMO term cond_mS2. 

· cond_mM = conductivity, in milliMhos/centimeter 

· cond_ss = conductivity at the sea surface (hull intake & inline CTD unit) siemens/meter 

· core_no = core number/identification, to be used with ice, rock and sediment cores 

· course_mag = Magellan GPS course made good, in degrees 

· course_trim = Trimble GPS course made good, in degrees 

· cmg = course made good, in degrees 

· cruiseid = cruise identifier, e.g. en9402 R/V Endeavor cruise 9402 

· crypto = number of Cryptophytes counted 

· cyano = number of Cyanobacteria counted 

· curr_dir_abs = absolute current direction, in degrees 

· curr_dir_rel = relative current direction, in degrees 

· curr_speed_abs = absolute current speed, in cm/second 

· curr_speed_rel = relative current speed, in cm/second 

· datatype = sampling method - instrument type, e.g. MOCNESS-10, CTD, etc. 

· date_gmt = gmt month, day and year, usually as a text string, e.g. feb10_1995. It is better to use one of the other forms of presenting date and time data so that the data can be used in computations and for comparisons. Note, if the string begins with numbers but also includes letters, there may be problems using the field name for retrieval. 

· date_utc = UTC month, day and year, usually as a text string, e.g. feb10_1995. It is better to use one of the other forms of presenting date and time data so that the data can be used in computations and for comparisons. Note, if the string begins with numbers but also includes letters, there may be problems using the field name for retrieval. Use date_gmt for future data sets. 

· date_local = local month, day and year, usually as a text string, e.g. feb10_1995. It is better to use one of the other forms of presenting date and time data so that the data can be used in computations and for comparisons. Note, if the string begins with numbers but also includes letters, there may be problems using the field name for retrieval. 

· day_gmt = day, GMT time e.g. 22. 

· day_start = day at beginning of measurement period, use in conjuction with day_end and only when the duration of sampling is a critical element to the measurement. 

· day_end = day at ending of measurement period, see day_begin. 

· day_local = day, local time 

· day_utc = day, UTC time, Use the name day_gmt for future data sets. 

· delta_O_18 = isotope ratio H218O/H216O, reported in delta18O notation 

· density = density, kilograms/meter3 

· deployno = deployment number, equivalent to station or cast 

· depth = observation/sample depth, in meters 

· depth_cast = maximum depth of CTD cast, reported as either meters or decibars 

· depth_close = depth at which the net is closed, in meters (specific to MOCNESS tows) 

· depth_cs = chirp Sonar depth below transducer, in meters 

· depth_drifter = depth of drifer, meters, used with Argos tracked drifter measurements 

· depth_edo = Edo water depth, in meters 

· depth_interval = thickness of water layer sampled, meters, used with MOCNESS tows 

· depth_mid = depth in meters at the midpoint of the opened net, used with MOCNESS tows 

· depth_open = depth at which the net is opened, in meters (specific to MOCNESS tows) 

· depth_tow_max = max. depth of towed instrument, in meters 

· depth_w = water depth, in meters 

· diff_from_8C = deviation from 8 degree C. incubation temperature, in degrees centigrade 

· disp_vol = displacement volume (biovolume) of plankton net samples, units will vary 

· disp_vol_integ = integrated displacement volume for a single net sample over the depth sampled by that net, cubic centimeters per meter squared 

· drifterid = drifter identification, used with drifter deployments 

· dry_wgt = dry weight calculated as (dvol/(100.139))(1/1.003), milligrams per meter cubed 

· dry_wgt_integ = integrated dry weight for a single net sample over depth sampled by that net, milligram per meter squared 

· dry_wgt_total = total dry weight for the entire sampled water column. The sum of integrated dry weights for all nets for one tow, milligram per meter squared 

· dynh_0 = dynamic height, referenced to surface, in meters 

· ed_lw = downward long wave irradiance, in watts per square meter 

· ed_sw = downward short wave irradiance, in watts per square meter 

· eps = epsilon, turbulent kinetic energy dissipation, watts/kilogram 

· event = event or operation number 

· family = Family. One of the levels in the taxonomic system of classification; typically ends in 'ae'. 

· fish_len = length of fish measured in millimeters 

· fixtype = code specifies the type of fix, e.g. Magellan, Trimble, etc. 

· flight_dir = direction organism is traveling toward, in degrees, generally used with birds 

· flow = consecutive flow counts, used in MOCNESS system 

· fluor = fluorescence 

· flvolt = fluorometer voltage measurements, in volts 

· girth_ank = seal girth at the ankle, in cm 

· girth_ax = seal girth at the axilla, in cm 

· girth_ears = seal girth at the ears, in cm 

· girth_hip = seal girth at hips, in cm 

· girth_max = maximum seal body girth, in cm 

· girth_mid = seal girth at a point midway between the hips and the sternum, in cm 

· girth_neck = seal girth at the neck, in cm 

· girth_pel = seal girth at the pelvis, in cm 

· girth_stern = seal girth at the sternum, in cm 

· grid_line = standard grid line, a location term used by grid system in GLOBEC Southern Ocean 

· grid_sta = a grid location for a sampling obseration/station, used with the grid_line, GLOBEC Southern Ocean 

· gt10um = number of cells greater than 10 microns in diameter 

· haul_factor = haul factor, used to calculatue displacement volume, 100/volume filtered (m3) 

· haul_factor_std = standard haul factor, a numerical multiplier used to standardize catches 

· hb = hemoglobin. Measured using Sigma kit 525A, seal physiology 

· hct = packed cell volume, seal physiology 

· head = ship's heading, in degrees 

· head2 = aternate (secondary) ship's heading measurement, in degrees 

· heat_flux_lat = latent heat flux, reported as watts/m2 

· heat_flux_sens = sensible heat flux, reported as watts/m2 

· hem_lip = were blood samples hemolyzed (red cells broken) or lipemic (contained visible lipids) reported as text, seal physiology 

· hour_gmt = hours of time, GMT 

· humidity = relative humidity, in percent 

· hzvel = horizontal net velocity, reported as meters per minute, used in MOCNESS system 

· ice_conc = area of sea surface covered by ice, reported in 1/10ths 

· ice_cover_type = primary ice type covering sea surface based on the Antarctic Sea-Ice Process and Climatic classification system 

· Ik = light intensity where Pmax is reached, used in conjunction with irradiance measurements, a Southern Ocean Globec term, (uE/M2/s), see parameter Pmax 

· inst = instrument used to collect or process data, definition is specific to the data set in which it appears 

· inst_serial_numb = instrument serial number, definition specific to the data set in which it appears. 

· julian_day = Julian day as a decimal, for reference: Julian day 2440000 begins at 0000 hours, May 23, 1968 

· k_t = K_t, vertical diffusivity for heat, meters2/second 

· k_rho = K_rho, vertical diffusivity for density, meters2/second 

· lat = latitude (south in negative), in decimal degress 

· lat_end = latitude at end time of measurement (south in negative), in decimal degress 

· lat_start = latitude at starting time of measurement (west is negative), in degrees 

· lat2 = alternate (secondary) latitude (south in negative), in decimal degress 

· length_day = length of day (decimal hours) based on time between sunrise and sunset as indicated by sustained irradiance values above 0.0 uE/cm2/sec 

· len_to_ank = length of seal from tip of tail to ankle, along dorsal surface, in cm. 

· len_to_ax = length of seal from tip of tail to axilla (armpit), along dorsal surface, in cm. 

· len_curve = seal curved length, measured from tip of nose to tip of tail, measured following the curve of the animal's spine along the dorsal surface, in cm. 

· len_to_ears = seal length from tip of tail to ears, along dorsal surface, in cm. 

· len_to_mid = seal length from tip of tail to point midway between the hips and the sternum, along dorsal surface, in cm. 

· len_to_neck = seal length from tip of tail to neck, along dorsal surface, in cm. 

· len_to_pel = seal length from tip of tail to pelvis, along dorsal surface, in cm. 

· len_std = seal standard length, straight-line length from tip of nose to tip of tail, measured above the dorsal surface, animal lying on its belly, in cm. 

· len_to_stern = seal length from tip of tail to sternum, along dorsal surface, in cm. 

· light_trans = light transmission, using a transmissometer, in per cent 

· light_trans_v = light transmission, using a transmissometer, in volts 

· lon = longitude (west is negative), in decimal degrees 

· lon_start = longitude at starting time of measurement (west is negative), in decimal degrees 

· lon_end = longitude at end time of measurement (west is negative), in decimal degrees 

· lon2 = alternate (secondary) longitude (west is negative), in decimal degress 

· lt2um = number of cells less than 2 microns in diameter 

· mass = seal body mass, in kilograms 

· mass_calc = calculated seal body mass, in kilograms 

· mass_calc_err = calculated seal body mass error, in kilograms 

· mass_pred = predicted seal body mass (weight) determined from LG2 (standard Length x girth2) vs Mass regression, based on data from Antarctic Pack Ice Seals program (APIS) and GLOBEC cruises. in kilograms 

· mchc = Mean Corpuscular Hemoglobin Content, calculated by: hb/htc, seal physiology 

· minute_gmt = minutes of time, GMT 

· month_start = month at start of measurement period, use in conjunction with month_end and only when the duration of sampling is a critical element to the measurement. 

· month_end = month at end of measurement period, see month_start. 

· month_gmt = month of year, GMT time 

· month_local = month of year, local time 

· month_utc = month of year, utc time, Use month_gmt for future data sets. 

· mooring = mooring identification, definition is file dependent 

· muscle = muscle sample collected (true/false), found in seal data 

· nbin = reported with CTD data, refers to the Number of data cycles used to compile an average value for a given depth/BIN interval. 

· net = net number/identification 

· NH4 = Ammonium, µM (micromolar) or µg-at NH3-N/l 

· NO3_NO2 = Nitrate and Nitrite, µM (micromolar) or µg-at NO3-N and NO2-N/l 

· number = number of organisms counted/observed, a generic term, specific to the data set in which it appears 

· numb_obs = number of observations 

· num_caught = number of specific animal/group caught 

· num_class = total number of cells that were classified during a microscope slide transect 

· num_fish_len = number of specific fish/group within a given length range 

· num_measure = number of organisms measured, generally used in conjuction with length/weight measurements 

· num_smears = number of blood smears collected, found in seal data 

· o2 = dissolved oxygen in milliliter per liter 

· O2sat = oxygen saturation, in milliliters/liter 

· order = order, organism taxonomic level 

· par = downwell Photosynthetically Available Radiation, units = uE/cm2/sec 

· par_d = downwelled Photosynthetically Available Radiation (PAR), 400-700nm wave length, measured with cosine sensor response (EsPAR), reported with a corresponding water depth, units = uE/m2/sec. Sampling devices: profiling or towed, etc. 

· par_d_day = downwelled Photosynthetically Available Radiation, 400-700 nm wave length, measured with cosine sensor response (EsPAR), units = uE/cm2/day (per day, depending on source may be less then 24 hours or may refer to day light hours only), using a Biospherical Instruments GUV500 system 

· par_d_s = downwelled Photosynthetically Available Radiation, at or near sea surface, 400-700nm wave length, measured with cosine sensor response (EsPAR), units= uE/m2/sec, sampling locations: buoy, deck, mast, etc. sites 

· par_d_expt = downwelled Photosynthetically Available Radiation, 400-700 nm wave length, measured with cosine sensor response (EsPAR), units = uE/cm2/expt (expt = over the duration of an in situ experiment). Using a Biospherical Instruments GUV500 system 

· par_s_v = photosynthetically available radiation at the surface, as volts 

· par_scalar = downwelled Photosynthetically Available Radiation (PAR), 400-700nm wave length, scalar sensor response, reported with a corresponding water depth, units = uE/m2/sec, Possible sampling vehicles: profiling, towed, etc. Using a Biospherical Instruments QSR250 system. 

· par_scalar_day = downwelled Photosynthetically Available Radiation (PAR), 400-700 nm wave length, measured with scalar sensor response (PAR), units = uE/cm2/day (per day, depending on source may be less then 24 hours or may refer to day light hours only). Using a Biospherical Instruments QSR250 system. 

· par_scalar_s = downwelled Photosynthetically Available Radiation at or near sea surface, 400-700nm wave length, measured with scalar sensor response (PAR), units = uE/m2/sec, sampling sites: buoy, ship's deck or mast, etc. 

· par_scalar_v = photosynthetically available radiation, 400-700nm wave length, with scalar sensor response (PAR), units = volts, reported in conjunction with a water depth 

· par_u = upwelled Photosynthetically Available Radiation, 400-700nm wave length, with cosine sensor response (EsPAR), reported with a corresponding water depth, units= uE/m2/sec 

· par_v = photosynthetically available radiation, as volts 

· phaeo = total phaeopigment, in milligrams per meter cubed (mg/m³) or micrograms per liter (µg/l) 

· phaeo_10u = phaeopigments, less than 10 micron size fraction, in micrograms per liter (µg/l) 

· phaeo_20u = phaeopigments, less than 20 micron size fraction, in micrograms per liter (µg/l) 

· phylum = phylum, organism taxonomic level 

· pico_euks = number of PicoEukaryotes counted 
· plasma_vol = plasma volume, determined by Evans blue dye, found seal data, in liters 

· plasma_vol_pct = plasma volume by percent of mass, found in seal data 

· platform = name of the platform, buoy, tower, fixed site, etc (See also ship) 

· Pmax = maximum rate of photosynthesis, at given incubation temperature, under light-limiting conditions, (mgC/chla/h), used in conjunction with irradiance measurements, a Southern Ocean Globec term 

· POC = Particulate Organic Carbon, units = micrograms/liter 

· PON = Particulate Organic Nitrogen, units = micrograms/liter 

· potemp = potential temperature (International Practical Temperature Scale - 68 ,or 90. When known, the scale will be reported in the units field of the documentation file. 

· PO4 = Orthophosphate, (reactive phosphorus) µM (micromolar) or µg-at PO4-P/l 

· precip_level = pricipation level in gauge, in centimeters (cm). Note: if the gauge self-siphoned, then precipation is +50cm. 

· precip_type = precipation type, i.e. snow, rain etc. as a code; caution code may vary from source to source 

· press = depth of sample reported as pressure, in decibars 

· press_bar = barometric pressure, in millibars 

· production = carbon production, from simulated in situ experiments, (mgC/m2/hr) 

· prod_std_dev = standarad deviation, carbon production, (experimental variance), from simulated in situ experiments, (mgC/m2/hr) 

· pttno = ID of satellite tag. Not unique because ARGOS recycles them year to year. Used in seal tracking. Could be use on other organisms 

· q_code = originator assigned quality code 

· qual_mag = Magellan GPS quality indicator 

· qual_trim = Trimble GPS quality indicator 

· radiation_l = long wave radiation, 4 - 50 micrometers, in watts per square meter 

· radiation_s = short wave radiation, 285 - 2800 nanometers, in watts per square meter 

· range = range of sonobuoy 

· raw_vol = raw displacement volume of a plankton sample, cubic centimeters 

· rbc = Red Blood Count, counted using hemocytometer, seal physiology 

· region = geographical area of sampling 

· replicate = an identifier used to distinguish between one or more replicate samples 

· rms_err_cond = rms error for conductivity measurements, in siemans per meter 

· sal = salinity, calculated from the CTD "primary sensors" of conductivity and temperature, Practical Salinity Scale, dimensionless.1 Depending on the input source, salinity from the primary sensors can have a variety of names i.e. s0, s00, s1, sal0, sal00, sal1. Change to DMO term sal. 

· sal_bottle = bottle salinity, Practical Salinity Scale, dimensionless 1 

· sal2 = salinity, calculated from the CTD "secondary sensors" of conductivity and temperature, Practical Salinity Scale, dimensionless.1 Depending on the input source, salinity from the secondary sensors can have a variety of names i.e. s1, s2, s11, s22, sal2, sal22. Change to DMO term sal2. 

· sal_ss = sea surface salinity, hull intake & inline CTD unit 

· sal_ss3 = sea surface salinity nominally measured three (3) meters below the surface, Practical Salinity Scale, dimensionless1 

· sample = sample identifier or number 

· samp_fraction = size of split fraction, units are specific to the data set in which it appears 

· se_flag = sampling operation start (s) or end (e) flag 

· sealname = seal name or identification as text 

· season = season of year as text, i.e. Fall 

· seconds_gmt = seconds of time, GMT 

· sect_top_depth = top depth of core interval, applies to ice and sediment cores, units will vary 

· sect_bot_depth = bottom depth of core interval, applies to ice and sediment cores, units will vary 

· sex = classification by sex (male/female), reported in a varity of codes and free text, reporting is specific to the data set in which it appears 

· ship = name of the ship or vessel (See also platform.) 

· si = scientific investigator's name 

· sigma_0 = sigma-theta, potential density, in kg/m3 (See How do we measure the density of sea water?) 

· sigma_1000 = potental density at 1000 decibars 

· sigma_t = sigma-t density, in kg/m3 - 1000 (See How do we measure the density of sea water?) 

· SiOH_4 = Silicate (Orthosilicic Acid), Si(OH)4, µM (micromolar) or µg-at Si(OH)4-Si/l (colloquially known as 'silicate') [Note: this field name was redefined to remove the parentheses. Contact the DMO] 

· sldepth = speed log depth below transducer, in meters 

· sound vel = sound velocity in sea water, in meters/second 

· species = species of organisms 

· speed_f_b = forward speed with respect to the bottom, in m/s 

· speed_f_w = forward speed with respect to water, in m/s 

· speed_mag = Magellan GPS speed made good, in m/s 

· speed_s_b = starboard speed with respect to the bottom, in m/s 

· speed_s_w = starboard speed with respect to water, in m/s 

· speed_trim = Trimble GPS speed made good, in m/s 

· srdl_body = ID number for the Satellite tag unique to each instrument. found in seal data 

· srdl_tag = satellite relay data logger, instrument attached to seal. 

· stage = organism life history stage, reported as a code 

· stage_num = organism life stage number (number only) 

· station = consecutive station number 

· station_desc = station description, as defined in a grid system, plain text, etc. 

· station_std = standard broad-scale station number 

· status = state of the data, (e.g. new, pending, collected, raw) 

· tagid = seal tag identification, flipper tag 

· taux = taux eastward wind stress, Pascals 

· tauy = tauy northward wind stress, Pascals 

· taxon = taxonomic group or entity 

· taxon_code = taxonomic group or entity code, a ten digit number based on the NODC Taxonomic List, v. 8. 

· temp = temperature, as observed by a CTD unit, "primary sensor", ITS 68 or 90 scale. When known, the temperature scale is reported in the units field of the info doc in degrees C (see ref. 2 below). Depending on the input source the temperature from the primary sensor can have a variety of names i.e. t0, t1, temp0, temp1. Change to DMO term temp 

· temp2 = temperature, as observed by a CTD unit, "secondary sensor", ITS 68 or 90 scale When known, the temperature scale is reported in the units field of the doc file in degrees C. Depending on the input source the temperature from the secondary sensor can have a variety of names i.e. t1, t2, temp1, temp2. Change to DMO term temp2 

· temp_air = air temperature, in degrees C 

· temp_ss = sea surface temperature, depth of temp sensor unknown or variable, degrees C. 

· temp_ss1 = sea surface temperature nominally measured one (1) meter below the surface, in degrees C (see ref. 2 below) 

· temp_ss3 = sea surface temperature nominally measured three (3) meters below the surface, in degrees C (see ref. 2 below) 

· temp_ss5 = sea surface temperature nominally measured five (5) meters below the surface, in degrees C (see ref. 2 below) 

· time_capture = time of capture, found in seal data, local time, in HHmm 

· time_end = ending time of observation, GMT time , 24 hour clock 

· time_end_local = ending time of observation, local time , 24 hour clock 

· time_gmt = time of day, reported in GMT time, 24 hour clock 

· time_of_day = reference to day or night observations 

· time_local = time of day, local time, using 2400 clock format 

· time_release = time of release, found in seal data, local time, in HHmm 

· time_start = starting time of observation, GMT time , 24 hour clock 

· time_start_local = starting time of observation, local time , 24 hour clock 

· time_utc = UTC time, using 2400 clock format 

· timezone = per GLOBEC, a time zone in the Western Hemisphere is defined as the number of hours added to local time to convert to GMT 

· trans = light transmission, as precent 

· transect_code = specifies observational methods during transect, as a code 

· trans_v = light transmission, as volts 

· tow = tow number/identification, applies to all towed vehicles 

· turbid_v = turbidity, in volts (scatterometer) 

· twoto10um = number of cells in the range 2 to 10 microns in diameter 
· u = eastward component of current velocity, in cm/s. Eastward flow is positive. 

· u_m = eastward component of current velocity, in m/s. Eastward flow is positive. 

· ud_ax = seal dorsal blubber depth at the axilla, determined by ultra sound, in centimeters 

· ud_mid = seal dorsal blubber depth at a point midway between the hips and the sternum, determined by ultra sound, in centimeters 

· ud_neck = seal dorsal blubber depth at the neck, determined by ultra sound, in centimeters 

· ud_pelvis = seal dorsal blubber depth at the pelvis, determined by ultra sound, in centimeters 

· ud_stern = seal dorsal blubber depth at the sternum, determined by ultra sound, in centimeters 

· ul_ax = seal lateral blubber depth at the axilla, determined by ultra sound, in centimeters 

· ul_mid = seal lateral blubber depth at a point midway between the hips and the sternum, determined by ultra sound, in centimeters 

· ul_neck = seal lateral blubber depth at the neck, determined by ultra sound, in centimeters 

· ul_pelvis = seal lateral blubber depth at the pelvis, determined by ultra sound, in centimeters 

· ul_stern = seal lateral blubber depth at the sternum, determined by ultra sound, in centimeters 

· UTC = Coordinated Universal Time (UTC)is the international time standard. It is the current term for what was commonly referred to as Greenwich Meridian Time (GMT). Zero (0) hours UTC is midnight in Greenwich England, which lies on the zero longitudinal meridian. 

· uv_ax = seal ventral blubber depth at the axilla, determined by ultra sound, in centimeters 

· uv_mid = seal ventral blubber depth at a point midway between the hips and the sternum, determined by ultra sound, in centimeters 

· uv_neck = seal ventral blubber depth at the neck, determined by ultra sound, in centimeters 

· uv_pelvis = seal ventral blubber depth at the pelvis, determined by ultra sound, in centimeters 

· uv_stern = seal ventral blubber depth at the sternum, determined by ultra sound, in centimeters 

· v = northward component of current velocity, in cm/s. Northward flow is positive. 

· v_m = northward component of current velocity, in m/s. Northward flow is positive. 

· visib = visibility reported as a code, caution code may vary from source to source 

· vol_filt = volume of water filtered by the net, in meters3 

· vol_filt_km3 = volume of water filtered by the net, in cubic kilometers 

· vtvel = vertical tow velocity, meters/minute, used in BIOMAPER-II and MOCNESS systems 

· whisker = whisker sample collected (true/false), found in seal data 

· wind_dir = wind direction reports as compass degrees, using meteorologic convention of "from" not "to" 

· wind_dir_c = wind direction corrected for ship motion, in degrees, using meteorologic convention of "from" not "to" 

· wind_dir_e = wind direction in degrees with reference to East, reported in the meteorological convention (winds from), positive 0-180 degrees counter clockwise from East, negative 0-180 degrees clockwise from East. 

· wind_dir_r = relative wind direction, in degrees 

· wind_pawa = port apparent wind azimuth, in degrees 

· wind_paws = port apparent wind speed, in m/s 

· wind_sawa = starboard apparent wind azimuth, in degrees 

· wind_saws = starboard apparent wind speed, in m/s 

· wind_speed = wind speed, in m/s 

· wind_speed_kts = wind speed, in knots 

· wind_speed_c = wind speed corrected for ship motion, in m/s 

· wind_speed_r = relative wind speed, in m/s 

· wind_taux = see taux (eastward wind stress, Pascals) 

· wind_taux_n = east component of wind stress, Newtons/m2 

· wind_tauy = see tauy (northward wind stress, Pascals) 

· wind_tauy_n = north component of wind stress, Newtons/m2 

· wind_vel_u = east component of wind velocity (m/s) reported in the oceanographic convention (winds to). 

· wind_vel_v = north component of wind velocity (m/s) reported in the oceanographic convention (winds to). 

· year = year, e.g. 1995. 

· year_end = ending year of sampling/operation, GMT, used in conjunction with year_start 

· year_start = starting year of sampling/operation, GMT 

· yrday_gmt = GMT day and decimal time, as 326.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon). In the case of drifter data, year day may be continuous over a multi year period. 

· yrday0_gmt = GMT day and decimal time, as 325.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon). 

· yrday_utc = UTC day and decimal time, as 326.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon). Use yrday_gmt for future data sets. 

· yrday0_utc = UTC day and decimal time, as 325.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon). Use yrday0_gmt for future data sets. 

· yrday_local = local day and decimal time, as 326.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon) 

· yrday0_local = local day and decimal time, as 325.5 for the 326th day of 1995, or November 22, 1995 at 1200 hours (noon)

References

1. The Practical Salinity Scale 1978 and the International Equation of State of Seawater 1980. Tenth report of the Joint Panel on Oceanographic Tables and Standards (JPOTS), Sidney, B.C. Canada, 1-5 September 1980, sponsored by Unesco, ICES, SCOR, IAPSO. Unesco technical papers in marine science 36.
and
The International System of Units (SI) in Oceanography. Report of the IAPSCO Working Group on Symbols, Units and Nomenclature in Physical Oceanography (SUN). Unesco technical papers in marine science 45. 

2. ITS-9- Temperature Scale, Sea-Bird Electronics, Inc., Application Note No. 42. Revised - November 1996. The linear relationship between the ITS90 (T90) temperature standard and the IPTS68 (T68) standard is T68 = 1.00024 * T90. 

Instrument Names

· AC_9 = Wet Labs, Absorption and Attenuation Meter (ac-9) 

· ADCP = Acoustic Doppler Current Profiler, encompasses an array of band widths and frequencies 

· ADCP_bio = Acoustic Doppler Current Profiler used to scan for plankton concentrations 

· AWS = Automated Weather Station 

· BigEyes = Big eye binoculars generally used for mammal observations 

· Biomaper = BIO-optical Multi-frequency Acoustical and Physical Environmental Recorder 

· BiomaperII = BIO-optical Multi-frequency Acoustical and Physical Environmental Recorder version 2, see also ESS_BiomaperII 

· Bongo = 60 cm diameter Bongo nets (335 millimeter mesh) 

· BongoSB = Bongo net tow with a Sea Bird CTD 

· Bottle_go-flo = Go-flo bottle cast used to collect water samples for pigment, nutrient, plankton, etc. analysis 

· Bottle_Kimmerer = Kimmerer Bottle used in GLOBEC as a surface (2m) water sampler 

· Bottle_Nisken = Nisken bottle cast used to collect water samples for pigment, nutrient, plankton, etc. analysis 

· Bottom_grab = bottom grab, e.g. Van Veen bottom grab 

· CalVet = CalCOFI Vertical Egg Tow; vertical net tows, mesh sizes may vary 

· Chamber = Larval fish environmental chamber, a specially designed nitex mesh enclosed chamber tethered below a drifter 

· Cod_drifter = short-term drifter incubation deployment 

· COOL_float = subsurface isopycnal COastal Ocean Lagrangian (COOL) float, measures compass angle, pressure, and temperature 

· CTD = CTD measurements taken, CTD unit unidentified 

· CTD_Bongo = CTD measurements taken during a Bongo tow 

· CTD_FSI = CTD measurements taken by the Falmouth Scientific Instruments sensor 

· CTD_Pump = CTD equipped with a water pumping system for zooplankton sampling 

· CTD_MOCNESS = CTD measurements taken during MOCNESS tow 

· CTD_SBE19 = CTD measurements taken by a SBE19 (SeaBird) CTD package. 

· CTD_SBE25 = CTD measurements taken by a SBE25 (Seabird) CTD instrument package. 

· CTD_SBE911 = CTD measurements taken by a SBE911 (SeaBird) CTD instrument package 

· CTD_Seacat = CTD measurements taken by Seabird Seacat CTD instrument package. 

· CTD_SeaSoar = CTD measurements taken during a SeaSoar tow. 

· DPP = Diaphragm pump 

· Drifter = Drifter buoy to include the Beardsley Drifter (BDFT) 

· Dye = Dye injection and detection, using Fluorescein for example 

· EPSONDE = An instument to measure turbulence. (see Oakey, N.S., 1988: An instrument to measure turbulence in the deep ocean, IEEE Journal of Oceanic Engineering, 13, 124-128.) 

· ESS_BiomaperII = Environmental Sensing System (an expanded CTD package) attached to the BiomaperII towed vehicle 

· FLDFT = Drifter Grazing Experiment (grazing rates of cod larvae) 

· FLLGT = Drifter Grazing Experiment (grazing rates of cod larvae at various light levels) 

· FRRF = Chelsea Technologies, Fast Repetition Rate Fluorimeter (FRRF) 

· GreeneB = Greene Bomber 

· H.Binocs = Handheld binoculars, general used for bird observations 

· HTI = Hydroacoustic Technology Inc., 4-frequency bioacoustics towed instrument package 

· JelNet = Net system designed to quantify fragile zooplankton, used during the 1999 broad-scale cruises. Replaces the Reeve net. 

· JelNet2 = Net system designed to quantify fragile zooplankton, used during the 1999 broad-scale cruises. Replaces the JelNet net. It consists of a Bongo frame with a pair of 1mm mesh nets. 

· Kimmerer = Kimmerer Bottle, see Bottle_Kimmerer 

· LiCor = LiCor underwater spectrial quantum sensor (light profile) 

· LiveNet = net towed for collecting animals for live animal experiments, net diameter and mesh size will vary 

· MCM = Moored current meter 

· Meter_Net_Tow = one meter diameter opening plankton net, towed horizontally, Use ZPN 

· MicroSoar = measures turbulent microstructure using robust, fast-response temperature and conductivity probes. [See T. Dillon, et al., 1999: MicroSoar: A new instrument for measuring microscale turbulence from rapidly moving submerged platforms, J. Atmos. Ocean. Techn. (submitted)] 

· MkIIICTD = Mark III CTD 

· MkVCTD = Mark V CTD 

· MOC.25 = MOCNESS 1/4 meter square nets 

· MOC1 = MOCNESS 1 meter square nets (150 and 335 micrometer mesh) 

· MOC10 = MOCNESS 10 meter square nets (3 millimeter mesh) 

· Mooring = Mooring 

· MVPR = Moored Video Plankton Recorder 

· NBCTD = Neal Brown CTD 

· Nisken = Nisken bottle cast, use Bottle_Nisken 

· PAR = Photosynthetically Available Radiation Sensors 

· PDR = Precision Depth Recorder 

· PPN = Phytoplankton net haul 

· Pump = Gas-powered centrifugal water pump (may also be called ZPP or Zoo_Pump) 

· Pump2 = Air-powered, double diaphragm water pump 

· Pump3 = Gas-powered, single diaphragm water pump 

· Radiometer = A generic term for a range of instruments used to measure radiance and irradiance i.e. free-fall spectral radiometer (SPMR/SMSR System, Satlantic, Inc); profiling and deck cosine PAR units (PUV-500 and 510, Biospherical Instruments, Inc) 

· Reeve = Reeve Net system designed to collect fragile zooplankton 

· Ring Net = see ZPN 

· ROV = Remotely operated vehicle 

· SBcal - Sea Bird calibration cast consisting of a verticle cast with one 1.7l Niskin bottle above the profiler lowered to 20-30m where the bottle is then closed. 

· SBE_26 = Sea Bird bottom pressure recorder measuring temperature, pressure and conductivity (salinity) 

· Scanfish = towed vehicle provided by the University of Rhode Island 

· SeabirdCTD = Sea Bird CTD, no specific unit identified. See also other SeaBird instruments listed under CTD_ 

· SeaSoar = Towed, undulating vehicle usually equipped with a VPR, TAPS, PAR, CTD 

· Slow_Drop = Free fall profiler for C, T, depth, bio-optics 

· SurfSample = surface bucket water sample 

· TAPS = TRACOR acoustic profiling system, zooplankton sampler 

· Triaxus = Towed vehicle collecting: temp, salinity 

· TSRB = Tethered Spectral Radiometer Buoy with optics package 

· Tucker_Trawl = Tucker_Trawl, Net tow with one or more remotely controlled opening and closing nets. 

· UV = Ultra-violet light (narrow band channels 308, 320, 340, 380 nm), possible instrument used PUV-500 radiometer 

· VBS = Volume Backscattering 

· VPR = Video Plankton Recorder, a towed vehicle 

· VPT = Vertical Plankton Tow (diameter and mesh size will vary) 

· ESS_VPR = Environmental Sensing System (an expanded CTD package) attached to the VPR towed vehicle 

· Zoo_Pump = Water pumping system for zooplankton sampling 

· ZPN = Zooplankton net, also used for collecting live zooplankton for ship board experiments (aka "Ring net") 

· ZPP = Zooplankton gas powered centrifugal pump (may also be call "Pump") 

· ZPP/CTD/TAPS = Zooplankton pump on CTD with TAPS 

· ZPP/NBCTD = Zooplankton pump on the Neil Brown CTD 

Platform Names and Their Abbreviations

· Albatross IV - AL 

· Cape Hatteras - CH 

· Columbus Islin - CI 

· Delaware - DE 

· Edwin Link - EL 

· Endeavor - EN 

· Hudson - HUD 

· Knorr - KN 

· Oceanus - OC 

· Parizeau - PAR 

· Seward Johnson - SJ 

· Susan and Caitlin - SC 

Miscellaneous

· nd = no data 

· alongtrack = ship's navigation, together with other parameters collected by the ship's sensors such as meteorological data, surface water temperature and salinity and fluorescence data 

· Nutrients = Includes Nitrates, Nitrites, Silicates, Phosphates, Ammonia 

· Primary Prod = Primary Productivity to includes chlorophyll and other pigments, phytoplankton/bacteria counts (gross catagories or specific taxa) and carbon biomass 

Appendix 5: Adding Data to the BCO-DMO Data and Information System
Data Organization

There are some guidelines, based on the recommendations of the U.S. GLOBEC Data Policy report and suggestions from G. Flierl and others about how to organize your data for the data management system. However, the main strength of the JGOFS software system is that it can accommodate almost any kind of data with a suitably written method (program). But when several people collect similar data sets it will make it easier for people to retrieve the data for subsequent review and analysis if some guidelines are followed. 

These guidelines are as follows: 

· Data are stored by program type (broadscale, modeling, mooring, process and satellite). 

· Data, where appropriate, may be "stored" [accessible, really, since data need only be stored once] in more than one program type. 

· Data are organized by year of collection, within program type. 

· Data are structured hierarchically with the slowest changing variable first (e.g. cruiseid, leg, station, then cast number). 

· Use variable/parameter names as defined in the program's thesaurus. If your variable is missing, please contact the Data Management Office. 

For more information or when you are ready to add data, contact the Data Management Office. 

Nitty Gritty Details

To add data to the JGOFS/GLOBEC distributed data management system used by the BCO-DMO Program, take the following steps: 

1. Decide where data will reside, either on your own server or the BCO-DMO server. 

2. If you are going to serve the data from your own data server, and you want to provide direct access to these data from your own data server, create an entry for the .remoteobjects file as follows: 

· data_id_a=//server.computer.name/directory_path/data_id_b 

· - SI_name 

· - [URL] Brief description of the data 

where data_id_a and data_id_b are names identifying the specific data you are referencing. They need not be the same names, but can be. However, data_id_a does need to be unique with respect to other object names in the same directory. Note that in a future release of the jgofs software, it will be necessary to have data_id_a and data_id_b be the same to take advantage of new capabilities. 

"Server.computer.name" is the internet name of the computer system serving the data such as mycomputer.univ.edu. 

"Directory_path" is the path to the .objects file beginning from the "object root" (defined for each data server). (For example the "object root" might look like /data/objects/ and the "Directory_path" sits below this level.) 

SI_name is the name of the science investigator responsible for this data. Limit the "Brief description" of the object to less than about 40 characters, although an optional URL can be included if you want to have extended text, even images, referenced here. 

Note that the format of these lines is important, in particular the dash (-) must be the first character on the second and third lines and must be followed by a space in each line. 

(There can be qualifiers on the remote name as well but these are not discussed here.) 

3. Pass this information along to the BCO-DMO in order to update the central data directory and make the data available to everyone. Until you do this step, only those people that know the data exist and know its name (data_id_a) will be able to access the data. 

4. The .objects file contains an entry for each file (or dataobject) you will be serving from your machine to the user community. 

The .objects file resides only on the system which serves the data. This permits the data contributor to move the data to another location or change the data file name without affecting other users of the database. 

Create an entry for the .objects file as follows if you will be serving the data yourself. The form of this entry is as follows: 

· data_id_b=method_name(parameterlist[,optionalparameters]) 

where data_id_b is the same identifier as was used in the .remoteobjects file (see above), 

method_name is the method used to access the data (e.g. def, nm, lm, http...) 

parameterlist usually consist of at least the path and filename of where the data are stored on your system plus any other parameters needed by the method. This is dependent on the requirements of the method. 

Optionalparameters include such things as projection options which cause the method to return only specified field names, such as latitude, longitude, water depth and temperature even though the data file contains many more field names and values. The optionalparameters can also allow methods to restriction data values to specified values or ranges of values. 

Other formats for the .objects entries include: 

· objectname=reference--to--other--obj[(params)] 

or 

· objectname=methodname(parameters[,n1=v1,n2=v2 ...]) 

where the n1=v1, etc. optional strings are inserted into the environment before the method is executed. They can be used for selection (n1>v1) or projection (n1,n4). 

The parameters in the .objects file are merged with those in the request. 

Here are two examples of .objects entries. The first uses the default method def to access the mocness.dat file of Mocness data while the second example uses the nm method to access only pressure and salinity data from the file called station.dat restricted to pressure less than 450 and only for station 7. 

· mocness1=def(/data/smith/cruise1/mocness.dat) 

· ctd123=nm(/data/brown/ctd/station.dat,press,sal(press<450,station=7)) 

5. Provide the data management office with the information about the data collected including: the name of the responsible investigator; the data parameters collected; precdures used to collect and process the data; etc. The information should be sent via email or directly online [when available]

Appendix 6: Procedures and Protocols

Alcohol-preserved sub-samples from BSS MOC nets #2,3,4 (150 µm)

This protocol is included as a standard procedure on all Broad-scale cruises. The goal is to obtain portions of the stratified samples of Pseudocalanus spp. for the 1 m2 MOCNESS 150 µm nets for preservation in ethanol for molecular analysis. 

Protocol for Pseudocalanus spp. collection during Broad-scale cruises 

1. Stations to be sampled: 3, 4, 7, 9, 12, 13, 16, 17, 18, 20, 27, 29, 30, 36, and 38 (This list includes all 1st priority and some 2nd priority stations). Nets to be sampled: #2, #3, #4. 

PROTOCOL 

1. After sample is rinsed from cod end to bucket, collect on 150 µm screen and rinse into a 1 liter beaker bringing up volume to equal 1 liter (or 600 mls, or 800 mls depending on how concentrated the sample is); 

2. Swirl to homogenize the sample as much as possible; 

3. Remove subsample with scoop (90 mls) and pour into small diameter screen (150 µm mesh); 

4. Rinse the drained plankton with 95% ethanol into a 4 oz. glass jar; 

5. Add 95% ethanol - making sure that there is 3 to 4 times more alcohol than plankton volume; 

6. Change alcohol after 24 hours; 

7. Record volume removed on preservation sheet (i.e. 90 mls/1000 mls to Ann Bucklin); 

8. Preserve the remainder of the plankton in 10% formaldehyde using the standard protocol and record on preservation sheet if any other subsamples are removed;

JELNET Protocol for Broad-scale Cruises

Please Be Gentle. 
This Net System is Designed to Quantify 
Fragile Zooplankton

1. Tows to be made at all Priority 1 stations, weather permitting. At Priority 1 stations where a 10 m MOCNESS trawl is NOT made because of weather conditions, we would especially like the JelNet tow to be made, since it would then be the only sample for large jellies. 

2. Tows are vertical, made from the depth of the deepest MOC-10 net, (usually 0-15 m off the bottom) or to 100 m at the deeper stations. It is not necessary to use a flowmeter with these tows; we will calculate volume filtered from mouth diameter and depth. Suggest the winch operator zeros the wire out when the net is at the surface. The wire out, and not the target depth, is the distance value logged at sea and then used to compute the seawater volume filtered by the net. 

3. The net may be cast at 20 meters a minute, while it should be retrieved at no more than 5 m/min. Do not allow the net to rest at the surface when retrieving the net because the ship's roll may act to spill a portion of the catch. 

4. Getting the catch out of the net: Lean the frame on it's edge and gently rinse the catch down into the codend bucket. 

5. Carry the bucket into the wetlab, and place the catch in the transparent tray and view on the light table. Since much of the cast may be fragile (large ctenophores, etc.), it need be examined immediately, before preservation. We would like a count of the large jellies, particularly lobate ctenophores (i.e. Bolinopsis, Mnemiopsis), and an oral / aboral length measurement of all the animals of a given taxa, or a subsample of ten measurements if there is more than ten individuals within a given taxa. Measurements are made with a ruler from underneath the dish. The entire catch should then be preserved in a liter jar in 10% buffered formalin. 

6. Label jar and COMPLETE DATASHEET. Please keep these samples in a separate box. 

Microzooplankton Recording Protocol (1999) 

The Microzooplankton Recording System consists of a black and white video camera outfitted with a macro-lens, a microscope ring illuminator, and an SVHS video recorder. The camera, light-ring, and sample flask sit on a gimbaled platform inside a mini-refrigerator. The lamp, video recorder and monitor are mounted outside the unit. Samples are taken at priority stations, filmed, and preserved in Lugol's preservative for later identification. The objective of this study is to observe, record, and analyze motility patterns and size spectra of microzooplankton prey organisms from three locations in the water column (near bottom, pycnocline, and surface) at all broad-scale stations from January to June.

PROCEDURE:

The following illustrates an ideal situation taking typical samples. We will cover contingencies and trouble-shooting later and the entire sampling protocol will be demonstrated to you before disembarking.

Upon arrival at a Priority 1 station, take the plastic beaker with cord and dip out a surface sample (be sure to wear a vest outside!). Pour the sample into a tissue sample flask which was previously dipped in soapy water to prevent fogging. Place the sample in the holder and turn on the recorder, light, and monitor. Be sure that the video recorder is on channel A1 and that the lens is at an angle perpendicular to the flask.. An image should appear on the monitor. Adjust the f-stop and focus so that focal plane is approximately in the middle of the flask and there is enough light to illuminate microzooplankton, but not too much to shrink the depth of field.

If this is the beginning of a tape, it would be wise to calibrate the system by focusing on the calibration ruler in front of the flask and then placing it behind the flask and adjusting the focus. Record the field of view in millimeters both horizontally and vertically and dictate the position of the ruler (front or back) into the microphone. (F.O.V. = ~ 10 mm wide). Remove the ruler, readjust the focus, and film the surface sample. Recording is achieved by simply pressing the record button only. Fill out the data sheet in the notebook noting the f-stop used. Record each sample for about 5 minutes. Please record the calibration ruler every tape or so.

Once the CTD has been deployed and recovered, find out from the operator which bottles were tripped at each depth. We want samples from the bottom and the pycnocline if present. If the water is well mixed, sample approximately halfway down or at a feature such as a salinity discontinuity; use your own judgment. For example, a typical crest sampling might be 30 and 55 meters. If a surface beaker sample was not taken, simply film a CTD surface sample. Since protozoans are quite fragile, siphon them gently from the GO-FLO bottles. Use a clean tygon tube and either unscrew the teflon vent-cap completely, or open the top cap enough to get your siphon in. Siphon sample directly into a labeled tissue-culture flask ; don't use the bottom spigot please.

Back in the lab, film the samples in their flasks or if you find that there are scratches or sea water droplets which interfere with filming, carefully pour the sample into a reserved "filming flask". All flasks should periodically be dipped in soapy water and air dried to reduce fogging. Samples waiting to be videoed should be kept cool in the refrigerator (5 C).

Please film all samples for about 5 minutes recording the timecode at the beginning and end of each sample, the f-stop and the lighting level used, and all other relevant data in the binder with the data sheets. Generally the f-stop will remain fairly constant and the lamp should be on the 100% level Be sure the depth and CTD information (No. Cast, Lat., Lon., Time of cast, etc.) is correct for each station. If possible obtain a copy of the print-out of the cast. After filming, pour the sample into a preserving bottle and add enough Lugol's Preservative to turn the sample a dark "tea colour". Be sure to label the flask with depth, Station #, and date. Feel free to add comments concerning the number, size, and activity of the microzooplankton present in each sample. Please film the three depth samples for Priority 2 stations, but do not preserve the sample. Feel free to film Priority 3 and 4 samples if time allows, but do not jeopardize Priority 1 and 2 sampling.

To review:

· At Priority 1 and 2 Stations: 

· Carefully siphon samples and keep them cool. 

· Pour into a good filming flask and place in front of lens 

· Keeping light source constant, adjust f-stop if necessary to get a good image. 

· Record on Channel A-1 for 5 min. 

· Write down sample and CTD information in notebook and repeat into microphone. 

· Film the ruler every so often, at least once per tape. 

· Preserve Priority 1 samples in Lugol's; store in dark. 

· Get some sleep! 

TROUBLESHOOTING AND REMINDERS

Generally when the system is not working, a connection is probably loose or something was inadvertently turned off. If there is no image whatsoever, be sure to check the power cord which would allow the monitor, VCR, and the Horita time code generator to operate. Next, check that the VCR is on channel A1 and that the lamp for the light source is turned on. Since the video signal first goes to the time code generator, be sure that its power supply cord is plugged in. Lastly, be sure that the flask isn't just fogged up or that the camera lens is pointed away from the light source. If nothing works, try turning off all the power and restarting.

At the end of a recording session, you can turn off the monitor and the light source. By keeping the SVHS recorder on, the tape counter will not reset and you can avoid taping over a prerecorded tape (at the end of a tape, the recorder automatically rewinds). Tapes are 2-hours long. If the time code generator is turned off or a power outage occurs, reset the time by pressing the "gen" toggle switch to the "set" position until the hours display flashes. Advance to the appropriate hour by pressing the toggle. In a few seconds the minutes display will flash, and the correct time in minutes is obtained by advancing the clock with the toggle again. After a few seconds, press the toggle two or three times and the clock will begin running. To restart the clock in the event of a mistake, hold the toggle in the "set" position again.

If the lamp bulb burns out, you have a spare in the supplies box. Be sure to minimize touching the bulb with your fingers. A spare red gel filter is in the notebook as are copies of the various instrument manuals. If a flask becomes scratched or dirty, adjust the camera stand a bit to focus on a clear section, but make sure the lighting is optimal. Eventually replace the flask with a new one. Save the old flask as a potential preservation bottle. Fogging is often a problem. Dipping the flasks in a soapy solution works wonders! Sometimes the soap solution is too soapy: dilute and redip flasks.

Be sure to check that the microphone is recording, as this is the back-up for the written notes. Be sure that the SVHS switch on the recorder is on SVHS. Be aware that the recorder will automatically rewind and stop recording when it reaches the end of the recording tape (120 minutes). Be sure not to tape over a previously recorded session. The LED tape counter helps you to avoid this. 

MOCNESS 1-Meter2 Towing Procedure for GLOBEC Broad-scale Cruises 

1. The 1-meter2 MOCNESS (MOC-1) sampler is loaded with ten nets. Nets #1-4 are 150µm mesh, and nets #0,5-9 are 335µm mesh.

2. MOC-1 tows are double oblique from surface to ~5 meters off bottom. Maximum tow depth of nets #0 and #5 is 500 meters. Net #5 is brought up from maximum depth to 200 meters whereupon net #5 is closed and net #6 is opened.

A standard tow is as follows:

	NET
	MESH(µm)
	RATE(m/min)
	STRATA(m)

	
	
	
	

	0 
	335
	15m/min
	Down - from surf to maximum depth or 500 meters.

	1
	150
	15m/min
	Up - from max tow depth to 100m.

	2
	150
	15m/min
	Up - from 100m to 40m.

	3 
	150
	15m/min
	Up - from 40m to 15m.

	4
	150
	15m/min
	Up - from 15m to surface.

	5
	335
	15m/min
	Down - from surface to maximum depth or 500 meters, then up to 200 meters.

	6
	335
	10m/min
	Up - from max or 200m to 100m.

	7
	335
	10m/min
	Up - from 100m to 40m.

	8
	335
	10m/min
	Up - from 40m to 15m.

	9
	335
	10m/min
	Up - from 15m to surface. This net remains open at end of tow. 


3. Winch rates for nets #0-5 are 15 m/min and for nets #6-9 10m/min at depths 200m. For those nets fished >200m, the decent rate can be increased so the maximum vertical velocity of the MOCNESS(not the winch rate)is 25m/min. This is providing the net angle does not go below 25 and the net horizontal speed does not drop below 0.5 kts. After maximum depth is reached and the MOCNESS is hauled back, the assent rate should not exceed 10m/min vertical velocity. Note that from 200m to the surface, standard winch speed rates are to be used.

4. During the tow, nets are tripped "on the fly" and the computer command is initiated about two meters from the next designated depth stratum to be fished. For example, when a net fishing on the up haul within the 100 to 40-meter stratum reaches 42 meters, trip the next net.

5. At the end of the first oblique haul (#0-4), when the MOC-1 is at the surface, trip any remaining nets of 150 m mesh ( #4) so that net #5 (with 335 m mesh)is fished on the down cast of the second oblique cast.

6. On completion of the second oblique cast (nets #5-9), when the MOC-1 is again at the surface, close the net fished to both minimize surface sampling and to end data acquisition. The exception is if #9 net is the last net fished, it of course cannot be closed (just mouse click "end acquisition" in program) before the MOC-1 is retrieved back aboard.

7. At stations where water depth is such that subtraction of the ~5-meter off bottom safety factor results in only a few meters of depth to be sampled, the current protocol is to not fish a net for only one or two meters, but to fish a net for a 3-m or greater stratum. 

MOCNESS 10-Meter2 Towing Procedure for GLOBEC 
Broad-scale Cruises 

1. The 10-meter2 MOCNESS (MOC-10) sampler is loaded with five 3.0 mm mesh nets.

2. MOC-10 tows are oblique from surface to ~10 meters from bottom or a maximum tow depth of 500 meters. The winch rate for retrieval is ~5m/min. Try to filter at least 4,000-5,000m3 of water per depth stratum sampled (this includes net #0 - the "down net"). To achieve this a step-oblique tow profile during retrieval may be necessary. Try to space the various 'steps' equally within each depth stratum.

3. Nets are tripped "on the fly" and the computer command is initiated at ~3 meters from the next designated depth strata to be fished. Note that the computer program command to "Step Stbd Net" must be activated twice (allow steps 1-3 to occur then mouse click for steps 1-3 again) as the cam on the MOC-10 frame is set at six clicks. After the second command to step net is executed, watch for a large (several degrees) wire angle change on the monitor, then manually increment "NET #" displayed on screen.

4. At the completion of the tow, when the MOC-10 is at the surface, any nets not fished can be tripped and released before the sampler is brought aboard the vessel.

5. When entering station/tow information in the MOCNESS windows program before a cast is made, the format in designating a file name is similar to the following example

M01001.pro 


where: 

· M01 - identifies the gear to be fished; in the example, M01 represents the 1-meter2 MOCNESS; if the 10-meter2 MOCNESS is to be fished, enter M10. 

· 001 - is the consecutive haul number for the gear (either for MOC-1 or MOC-10) fished for the cruise. 

6. If a MOCNESS tow is aborted and a retow is made, delete the files ( *.pro, *.raw, *.tab). Use "FILE MANAGER" in Windows to accomplish this.

RNA, DNA and Protein Content Protocol

GLOBEC Georges Bank Program, Broadscale Survey Protocol for sampling larval cod (Gadus morhua) and haddock (Melannogrammus aeglefinus) at sea to be analyzed for RNA, DNA, and protein content. 



NOTE: The overriding consideration in all of the following steps is that the fish should be kept as cold as possible during all the steps, and the fish should be processed as quickly as possible at all times. The fish are shrinking and degrading from the time they are first captured in the net until they are frozen in liquid nitrogen, so the shorter the time between capture and freezing the better the quality of the samples. 

1. One oblique bongo net tow per station. 

2. Maintain boat speed at 1.0 - 2.0 knots (average 1.5 knots) trying to maintain 45 degree wire angle. 

3. Tow the bongo a minimum of 5 minutes to a maximum of 18-20 minutes, depending on the depth of the water at the station. See attached sheet for wire times. 

· At the deep stations, deploy the nets (wire out) at a maximum rate of 50 m/min and retrieve at a maximum rate of 20 m/min. The net fishes top 200m of water column only. 

· In shallow water (200m or less) the net fishes the entire water column and the retrieval rate should be slowed to fish the net a minimum of 5 minutes. (5 minutes provides the volume of water previously determined to be the minimum needed to be fished to obtain statistically valid data). 

4. Bongo is equipped with .333 mm mesh nets. 

· If .333 mm mesh clogs due to high abundance of phytoplankton at a particular station or area then switch to .505 mm mesh nets at those stations. 

5. When nets come on board rinse entire net gently but thoroughly with seawater using the deck hose. 

6. Remove cod end bucket and pour contents into white bucket labeled Buckley. 

7. Immediately bring the sample bucket into the dry-lab for sieving and sorting. 

8. Pour contents of bucket through a .333 mm mesh sieve using seawater to wash contents (or a .505 mm mesh sieve if that mesh net was used for that tow). 

· If volume in bucket is large, sieve and sort through one-half or one-third of contents of the bucket at a time. Put two freezer packs in a zip-lock bag in the bucket to keep the remainder of the sample cold. 

9. Sort through sieved contents using lighted magnifying glass or sorting trays and light table. 

10. Place cod and haddock in separate prelabeled petri dishes filled with seawater and placed on freezer packs. 

· Try to handle fish gently - forceps can cut and squish fish. 

11. Place fish of one species only on a microscope slide 

12. Record station location, tow number, mesh size, magnification, species, and dewar slot/shelf on data sheet. 

13. Assign next consecutive number from data sheet to each fish. 

14. Take video of fish, record fish number by voice. 

15. Immediately place each fish in an eppendorf tube previously labeled with the consecutive numbers and store in blue ice rack. When all fish from one tow are videotaped or the rack is full, place eppendorfs in liquid nitrogen dewar. 

16. Keep blue ice racks and freezer packs separated by watch so that they will have sufficient time to freeze before they are used again. 

17. Check level of liquid nitrogen in dewars daily. As needed, add liquid nitrogen from the 200 liter stock tank to maintain a 1-2 inch liquid level in the bottom of the dewar. 

Zooplankton Collections in Alcohol Protocol

Zooplankton samples preserved in 95% ethyl alcohol from Broad Scale Survey cruises are desired for molecular analysis. The protocol is given below: 

1. Drain excess seawater from the sample. In most cases, the sample for alcohol preservation will be the #5 Net of the 1m MOCNESS. Unstratified samples are acceptable, so a down-net with 333 um mesh is preferable. One sample from each "core" broad scale station (N = 38) is desired. 

2. Place up to 250 - 300 ml of the drained sample in a one-quart glass jar. Splitting the sample, draining, and placing in jars is also OK. Do not sort the sample. If the rest of the sample will be discarded, please include all euphausiids and large crustaceans in the sample to be preserved. Remember - the sample should not come into contact with formalin or with objects that have been in formalin. 

3. Fill the one quart jar with 95% ethyl alcohol. Note: there must be 3 to 4 times more alcohol than plankton volume. DENATURED ALCOHOL CANNOT BE USED FOR SAMPLE PRESERVATION. 

4. After 24 hours, drain off alcohol and replace with fresh alcohol. 

Zooplankton Counting Protocol 

In the laboratory, the MOCNESS 12m samples selected for analysis are split with a folsom splitter to provide a subsample of about 1000-1200 total zooplankton animals. Calanus finmarchicus and Pseudocalanus spp. copepodites are identified to stage. Adults of other copepods are identified to species while copepodites are grouped and identified to species where possible (e.g. Temora longicornis), or to genus where it is not possible to identify the younger copepodite stages of individual species (e.g. Centropages hamatus, C. typicus and C. bradyi). Other zooplankton taxa are identified to the lowest possible taxon and enumerated. Nauplii present in MOCNESS samples are not counted since, with the possible exception of the last two C. finmarchicus naupliar stages, they are not quantitatively sampled.
Zooplankton Pump Procedure for Broadscale and Process Cruises

General 

The target depths are >40, 15-40, and 0-15 m. The plankton pump hose is retrieved at a constant rate changing nets at the appropriate depths to provide integrated samples over each depth range. The goal is to filter a volume of 0.5 m3 over each 5 m depth range. Since the pump flow rate varies according to suction hose length (385 l min-1 with three 100 ft sections of suction hose and 530 l min-1 with two sections) the retrieval rate varies. For 2 sections of hose the retrieval rate is 5 m min-1, while for 3 sections of hose the retrieval rate is 3.8 m min-1. Also it is necessary to allow water to clear the hose before collecting a sample and the procedures below provide for this. 

Procedure 

Before starting, make sure that the starboard side of the ship is facing upwind so that the hose will drift away from the ship. 

1. Make sure the pump is full of gas 

2. Connect up the hoses, and prime the pump with seawater using the deck seawater hose. Make sure that the black suction hose is the one which goes over the side of the ship. Attach hose intake to the CTD. 

3. Lower CTD and hose to the bottom depth or to within 5m of the bottom. If depth is less than 60 m use only 2 sections of hose. If greater use three sections. Even at shallow depths make sure all the hose is out (it is much easier to prime the pump when there is only a short section of hose with air in it on the deck). When lowering hose with the CTD keep a little tension on it. Have suction hose tied off between where it goes over the side and the pump to take the strain off the pump. 

4. Start the pump and allow the hose to fill. Fill tank with water then open valve at base of manifold to divert the water over the side. Place net over tank. Note: Do not ever close both the valve which lets the water into the net and the one which diverts the water over the side. Doing this will deadhead the pump and the pressure will burst the hose. 


For two sections of intake hose. 

5. Start raising the hose at 5 m min-1 from the bottom depth. 

6. After 40 secs (the time taken for water to pass through the hose), take the flow meter reading and start filtering water by opening the valve leading to the net and then closing the diversion valve. 

7. When the hose intake is at 37.5 m switch nets and record the volume filtered. 

8. When the hose intake is at 12.5 m switch nets and record the volume 

9. When the hose intake reaches the surface continue to filter water for an extra 30 secs. Then stop and record the volume. Go to step 15. 


For three sections of hose 

10. Start raising the hose at 4 m min-1 from the bottom depth. 

11. After 60 secs (the time taken for water to pass through the hose), take the flow meter reading and start filtering water by opening the valve leading to the net and then closing the diversion valve. 

12. When the hose intake is at 36 m switch nets and record the volume filtered. 

13. When the hose intake is at 11 m switch nets and record the volume. 

14. When the hose intake reaches the surface continue to filter water for an extra 60 secs. Then stop and record the volume. 


After completing the sampling 

15. Raise the CTD out of the water and pump the suction hose dry (this makes retrieval of the hose easier. Slow pump engine down then turn off the motor. Turn off flow meter. 

16. Undo the hose from suction side of the pump to release vacuum and retrieve hose laying it out in long loops on the starboard rail. Bring CTD on board and secure. Remove intake hose from the CTD. Undo other hoses and put away with suction hose. Secure all hoses, cover pump and secure cover with strap. Drain tank holding nets. 

17. Rinse the nets into the cod ends. Open the cod ends in small numbered buckets (1=bottom net etc) and rinse the contents of the cod end into the bucket. Filter the samples onto a 40 um screen and then rinse the sample into 8 oz jars for preserving. Preserve with borate buffered formalin. 

�I’ve only begun this section since there are many points mentioned in the Executive Summary that should also be explained here or in the Best Practices section.


�Cyndy, I thought you could address this section best.


�There should/can be many more.





[image: image12.png]


[image: image13.png]


[image: image14.png]


[image: image15.png]


[image: image16.png]


[image: image17.png]


[image: image18.png]


[image: image19.png]


[image: image20.png]R/V ALBATROSS IV cruise 9960 - Acoustic Trackline - 14 to 24 June 1999
43

42

Latitude

41

Longitude



