ctd_JK_one_meter and ctd_JK_std_depth    John Klinck

All matter of things:

General 

Documention issues by parameter:

1..These parameters need to be added and defined in the documentation file

Event

Cast

Year

Yrday

time_utc

lat

lon

xgrid

ygrid

depth_w

depth  (depth here is depth of cast in pressure).   

2..temperature using the IPTS-68 scale? 

   Average of Temperature0 and Temperature1 channels? 

3..salinity PSS-78 scale?

   Average of salinity0 and salinity1 channels?

4..PotTemp computed using IPTS-68 scale?

5..Suggest changing PotDens(0dbar) to sigma-0  

6..Suggest changing PotDens(1Kdbar) to sigma-1000  

7..BuoyFreq (N) is this Brunt-Vaisala frequency?  In units of N.

8..Par is this scalar irradiance (PAR) or cosine irradiance (EsPAR) makes a difference?

Suggested changes to content of documentation file:

1..Move the reference to Klinck’s Matlab routines below the to support the paragraphs (Package) and Individual routines)
2..The next two lines of info could be placed in very doc file.  Suggest placing these statements immediately below the the table.

3..Delete reference to event logs.  One I can’t open them,  two we are serving “all” of them not just 3, and three what value do they add to this data set that is not already being served with the data?

